## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Brenda Walker | Annual Renewal | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720006809560 | 200N FIFTH ST | CROCKETT | 75835-1502 | 31.31947 / -95.45642 | 200 N Fifth St | Crockett | 75835 | Police |  |  | Yes | No | Yes | No | Customer |  | 45 | 0 | 0
Brenda Walker | Annual Renewal | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720007164851 | 2400 N PLANT RD | CROCKETT | 75835-0000 | 31.33385 / -95.47414 | 200 N Fifth St | Crockett | 75835 | Water/Wastewater Treatment Plants |  |  | Yes | No | Yes | No | Customer |  | 230 | 0 | 0
Brenda Walker | Annual Renewal | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002665914 | 2601 E CADDO LN | CROCKETT | 75835-0000 | 31.29687 / -95.44065 | 200 N Fifth St | Crockett | 75835 | Water/Wastewater Treatment Plants |  |  | Yes | No | Yes | No | Customer |  | 125 | 0 | 0
Brenda Walker | Annual Renewal | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002622886 | 1001 N 4TH ST | CROCKETT | 75835-4007 | 31.32867 / -95.46087 | 200 N Fifth St | Crockett | 75835 | Ground Storage |  |  | Yes | No | Yes | No | Customer |  | 400 | 0 | 0
Brenda Walker | New Critical Load Application | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002650972 | 200 N SIXTH ST | CROCKETT | 75835-0000 | 31.31950 / -95.45587 | 200 N Fifth St | Crockett | 75835 | Fire |  |  | Yes | No | Yes | No | Customer |  | 45 | 0 | 0
Brenda Walker | New Critical Load Application | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002724814 | 401 FM 3313 | CROCKETT | 75835-0000 | 31.34507 / -95.44790 | 200 N Fifth St | Crockett | 75835 | Major Lift Station |  |  | Yes | No | Yes | No | Customer |  | 50 | 0 | 0
Brenda Walker | New Critical Load Application | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002690931 | 2301 S FOURTH ST | CROCKETT | 75835-0000 | 31.29191 / -95.46339 | 200 N Fifth St | Crockett | 75835 | Major Lift Station |  |  | Yes | No | Yes | No | Customer |  | 150 | 0 | 0
Brenda Walker | New Critical Load Application | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002666720 | 108 E HOUSTON AVE | CROCKETT | 75835-0000 | 31.31848 / -95.46020 | 200 N Fifth St | Crockett | 75835 | Water/Wastewater - Other (provide details) |  | Water Well | Yes | No | Yes | No | Customer |  | 150 | 0 | 0
Brenda Walker | New Critical Load Application | CITY OF CROCKETT | John Angerstein | City Manager | 936-544-5156 | 936-222-1210 | angersteinj@crocketttexas.org | Jerrod Vickers | 936-544-5156 | 936-222-0401 | vickersj@crocketttexas.org | 10443720002665976 | 1153 E LOOP 304 | CROCKETT | 75835-0000 | 31.32192 / -95.43511 | 200 N Fifth St | Crockett | 75835 | Water Tower |  | Water Tower. Also houses City Radio Repeater | Yes | No | Yes | No | Customer |  | 13 | 0 | 0

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)