## CRITICAL LOAD APPLICATION
Application Type | Customer/Business Name | Critical Load Status | Denial Reason | Retail Electric Provider | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
New Critical Load Application | North Hopkins WSC | Approved Critical Load |  | 9682331681000 - SUMMER ENERGY LLC | Edgar Clements | Manager | 903-945-2619 | 903-348-0726 | nhwsc@hotmail.com | Paul Ferrell | 903-945-2619 | 903-348-8401 | s2sferrell@yahoo.com | 10443720004543857 | 400 County Road 4756 | Sulphur Springs | 75482 |  | 400 CR 4756 | Sul. Spgs. | 75482 | Ground Storage |  | Pump station to 300 meters | Yes | No | Yes | No | Customer | none | 50 | 24 hours | 5 minutes
New Critical Load Application | North Hopkins WSC | Approved Critical Load |  | 9682331681000 - SUMMER ENERGY LLC | Edgar Clements | Manger | 903-945-2619 | 903-348-0726 | nhwsc@hotmail.com | Paul Ferrell | 903-945-2619 | 903-348-8401 | s2sferrell@yahoo.com | 10443720008990404 | 9364 Tx Highway 19 N | Sulphur Springs | 75482 |  | 9364 Tx Hwy 19 N | Sul. Spgs. | 75482 | Ground Storage |  | Pump station to 800 meters | Yes | No | Yes | No | Customer | none | 200 | 24 hours | 5 minutes

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)