# Emergency Preparedness Plan Template

For All Affected Utilities Except Fort Bend and Harris Counties

# Assistance

If you need assistance with the EPP template, please fill out the EPP Help Form at www.tceq.texas.gov/goto/epp-help and TCEQ will contact you via email or phone to work with you.

# General Instructions

- On page 1 complete “General Information” table, circle the option(s) chosen, answer the questions, and sign the certification.

- Complete sections I, II, read section III, in section IV complete the option(s) chosen that apply to your affected utility, and complete Section V as applicable to your affected utility (county judge and sheriff’s office information are required).

- Attachments A explains the EPP submittal and distribution requirements, and attachments B - D do not have to be filled out but are supplemental information to assist you in the event of an emergency.

# General Information

| Water System Name: | Air Park Estates |
| --- | --- |
| PWS ID No. (if applicable): | 0430060 |
| District No. (if applicable): |  |
| County: | Collin |
| CCN No. (if applicable): | 12860 |
| Owner: | Air Park Homeowner's Association |
| Prepared by: | Susan Ross-Whitesell |
| Preparer’s Phone No.: | (972) 380-2976 |
| Preparer’s Email: | suewhitesell@sbcglobal.net |
| Preparer’s Mailing Address: | 6355 Stinson St. |
| Preparer Title: |  |
| Preparer’s Organization: |  |
| Expected Completion Date for EPP Plan Implementation: | June 1, 2022 |

# Option(s) Chosen:

- Refer to Section III-ALTERNATE POWER OPTIONS OVERVIEW.

Circle all Option(s) that will provide emergency operations during extended power outages lasting more than 24 hours for this affected utility.

1     2A     2B     3A     3B     4     5     6    7     8A     8B     9     10A     10B     11     12     13     14

- Short Explanation of Proposed Emergency Preparedness Plan: Reliance on the City of Plano to provide water

- Will this plan provide for 20 pounds per square inch (psi) of pressure to all your direct customers during a power outage lasting more than 24 hours caused by a natural disaster? Yes

- Is a timeline to implement the plan (TWC 13.1394(b)(2)(B)) provided as an attachment? No

I certify, under penalty of law, that all the information provided herein is true and accurate to the best of my knowledge.

Signature:                                    Title                           Date

# SECTION I – INTRODUCTION

## APPLICABILITY

This emergency preparedness plan template was developed for the operators and administrators of affected utilities to comply with the requirements for “affected utilities” in Texas Water Code, Section 13.1394 as required by Senate Bill 3 (SB 3) and to demonstrate the affected utility’s ability to provide emergency operations during extended power outages lasting more than 24 hours.

An affected utility is a retail public utility, exempt utility, or provider or conveyer of potable or raw water service that furnishes water service to more than one customer, provides overnight accommodations, and is not an affected utility under Texas Water Code, Section 13.1395. An extended power outage means a power outage lasting more than 24 hours.

If you believe that you are NOT an affected utility please email PDWEPP@tceq.texas.gov to ensure that the requirements do not apply to the water system.

Describe Your Water System. Check all that apply.

Residential	 Commercial	 Industrial	 Wholesale	 Institution

Is This EPP For An  Existing or  Proposed Water System?

## CONTACT INFORMATION

During any type of emergency, the following person(s) will be responsible for the water system (contact will be attempted in the order indicated):

| Name | Title in the Organization | E-mail | Office Phone Number | Cell Phone Number | Home Phone Number | Other Phone Number |
| --- | --- | --- | --- | --- | --- | --- |
| Paul Whitesell | Operator | Paul@TheOpticsPlace.com | 972 380-5976 | 214 455-5976 | 972 380-5976 |  |
| John Hammond | Treasurer | johnhayshammond@gmail.com | 214-380-9950 | 214-789-6939 | 214-380-9950 |  |
| Christina Hilton | President | Christina.r.hilton@gmail.com | 214-537-0851 | 214-537-0851 | 214-537-0851 |  |
| Chad Maisel | Secretary | chadm@rescuetech.net | 972-417-1234 | 972-417-1234 | 972-417-1234 |  |

## Location of Maps

The maps are not required to be submitted to TCEQ for review of the EPP but should be available in case of an emergency to enable staff to locate valves, lines, and meters.

Where are your distribution system(s) map(s) located?    Home office of Paul Whitesell

## Diagram of Water System

Submit a diagram of your drinking water system that shows all equipment (source(s), tank(s), pumps), treatment chemicals, and any open or closed interconnects with other water systems.

# Section II – DESCRIPTION OF THE WATER SYSTEM

IMPORTANT: Include only the equipment located at your water system, not the equipment located at another water system unless two or more systems rely on each other for emergency purposes and it is documented in a contract or written agreement.

## SOURCE INFORMATION

- Groundwater Systems - Does Your Water System Have A Ground Water Well(s)?

YES  NO  (If NO, go to 1.B)

| TCEQ Source ID | Owner’s Designation | Well Location | Used During an Emergency? | What plant name is this source associated with? | Pump Capacity |
| --- | --- | --- | --- | --- | --- |
|  |  |  | YES NO |  | gpm |
|  |  |  | YES NO |  | gpm |
|  |  |  | YES NO |  | gpm |

- Surface Water/GUI Systems: Does Your Water System Treat Surface Water or Ground Water Under the Influence of Surface Water Sources(s) (raw water intake pump information)?

YES  NO  (If NO, go to 1.C)

| TCEQ Source ID | Owner’s Designation | Intake Location | Used During an Emergency? | Number of Pumps | What plant name is this source associated with? | Total Pump Capacity at Intake |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | YES NO |  |  | gpm |
|  |  |  | YES NO |  |  | gpm |
|  |  |  | YES NO |  |  | gpm |

- Does Your Water System Purchase (or Receive) Water? 			        YES  NO  (If NO, go to 2.A)

    - Is this affected utility a direct pressure system? (Does the provider’s water flow directly into your distribution system, not into a tank? Direct pressure systems generally have no tanks or pumps.)

YES  NO

    - Does this affected utility re-pressurize the water received from the provider? (Does the water from the provider flow into a tank which is then pumped out into the distribution system by your own pumps?)									YES  NO

| Provider Name | PWS ID | Pressure Plane (if more than 1 plane) | Will You Rely on This Provider for Water During an Emergency? | Will You Rely on This Provider for Pressure at Your Customer’s Connections During an Emergency? | Capacity | Normally Open or Closed Interconnect? |
| --- | --- | --- | --- | --- | --- | --- |
| City of Plano | 0430007 |  | YES NO | YES NO | 78281 gpm | Open |

## TREATMENT INFORMATION

- Does Your Water System Disinfect the Water?					       YES   NO  (If NO, go to 2.B)

| Disinfectant (Disinfectant Name) | Location (Plant Name) | Disinfectant Used During an Emergency? | Type of Disinfectant (Liquid/Gas) | Volume Stored (gals or lbs.) | Days of Storage (Emergency Demand) | Electricity Required to Feed Disinfectant? |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | YES NO |  |  |  | YES NO |
|  |  | YES NO |  |  |  | YES NO |
|  |  | YES NO |  |  |  | YES NO |

- Does Your Water System Provide Treatment Other Than Disinfection (example: polyphosphate, caustic etc.)? 						YES   NO  (If NO, go to 2.C)

| Chemical Feed Pump (Chemical Feed Name) | Location (Plant Name) | Chemical Used During an Emergency? | Type of Chemical (Liquid/Gas) | Volume Stored (gals or lbs.) | Days of Storage (Emergency Demand) | Electricity Required to Feed Chemical |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | YES NO |  |  |  | YES NO |
|  |  | YES NO |  |  |  | YES NO |
|  |  | YES NO |  |  |  | YES NO |

Does Your Water System Have Transfer Pump(s) Between Treatment Units? These are the pumps located within the treatment processes of your treatment Plant(s).

- (Do not include well or intake pumps)

YES  NO  (If NO, go to 3.A)

| In-Plant Transfer Pump Name | Location (Plant Name) | Pump Used During an Emergency? | Pump Capacity |
| --- | --- | --- | --- |
|  |  | YES NO | gpm |
|  |  | YES NO | gpm |
|  |  | YES NO | gpm |

## DISTRIBUTION SYSTEM INFORMATION

- Does Your Water System Have Booster and/or Service Pumps in the Distribution system?

- YES  NO  (If NO, go to 3.B)

| Booster/Service Pump Name | Location (include pressure plane) | Pump Used During an Emergency? | Pump Capacity |
| --- | --- | --- | --- |
|  |  | YES NO | gpm |
|  |  | YES NO | gpm |
|  |  | YES NO | gpm |

Does Your Water System Have Any Finished Water Storage/Pressurization Tanks?

YES  NO  (If NO, go to 4.A)

| Tank Type (Elevated, Hydropneumatic, Ground or Standpipe) | Location (include pressure plane) | Tank Used During an Emergency? | Tank Capacity |
| --- | --- | --- | --- |
|  |  | YES NO | gal |
|  |  | YES NO | gal |
|  |  | YES NO | gal |

## PRESSURE PLANES

Does Your Water System Have More Than One Pressure Plane?			YES   NO  (If NO, go to 5)

| Pressure Plane | TCEQ Source ID(s) or Provider PWS ID(s) | Plant Names(s) (If Applicable) | Pump Names(s) (If Applicable) |
| --- | --- | --- | --- |

## SYSTEM DEMAND

Emergency Operation means the demand in MGD from the highest emergency usage day (not normal daily usage) occurring during a natural disaster within the last 3 years, excluding fire events and large water main breaks.

No events have occurred.

| Demand Information | Normal Operation | Emergency Operation |
| --- | --- | --- |
| Average Daily Demand: | MGD | MGD |
| Maximum Daily Demand: | MGD | MGD |
| System Capacity: | MGD | MGD |

## SYSTEM SIZE

- Does Your Water System Sell/Provide Water to Other Water Systems?

YES  NO  (If NO, go to 6.B)

| Receiver/Buyer Name | PWS ID (if applicable) | Normally Open or Normally Closed Interconnect? | Will You Provide 20 psi Throughout the Receiver’s Distribution System During an Emergency? | Number of Connections in the Receiver’s Water System | Population of the Receiver’s Water System |
| --- | --- | --- | --- | --- | --- |
|  |  |  | YES NO |  |  |
|  |  |  | YES NO |  |  |
|  |  |  | YES NO |  |  |

Number of Connections and Population in Each Pressure Plane in Your Water System?

(If applicable, include any connections from other water systems you may serve in the table in 6.A)

| Pressure Plane (if applicable) | Number of Connections | Population |
| --- | --- | --- |
| 1 | 31 | 96 |

## POWER PROVIDER(s)

| Electric Utility or Retail Electrical Provider(s) | None |
| --- | --- |

## ELECTRICAL SCHEMATIC

- Provide an electrical schematic or diagram of your water system’s emergency power facilities and the equipment (treatment(s), supply, pressure maintenance, etc.) that is powered.

## OTHER PERTINENT SYSTEM INFORMATION

Other information about the system that could be useful during an emergency (This can include plant equipment not used or any other circumstances that would clarify how the affected utility will meet the EPP requirements):

None

## OPTION 2A: YOUR SYSTEM WILL RELY ON YOUR PROVIDER DURING AN EXTENDED POWER OUTAGE

Choose only if you will rely on purchased water during an extended power outage. Your current contract and or provider agree to provide you with water during an extended water outage at a pressure of 20 psi in distribution.

| Provider Name | PWS ID | PRESSURE PLANE | Will you rely on this provider for water to a tank during an emergency? | Will you rely on this provider for pressure at YOUR customer’s connections during an emergency? |
| --- | --- | --- | --- | --- |
| City of Plano | 0430007 |  | YES NO | YES NO |
|  |  |  | YES NO | YES NO |
|  |  |  | YES NO | YES NO |

- Is your water system solely relying on a provider(s) for emergency operations? (This means, the provider’s water flows directly into your distribution system, and not into a tank, and you have no tanks or pumps)

YES (If yes, you must submit documentation under 2A.i. listed below.)

NO (Please fill out the pages for the alternative power option that will power the equipment)

- Please provide one or more of the following:

A copy of the contract(s) with your provider(s) that includes language guaranteeing 20 psi throughout your distribution system or specific pressure plane. Please tab the page and highlight the section in the contract guaranteeing pressure.

A letter from the provider(s) including language guaranteeing 20 psi throughout your distribution system or specific pressure plane.

Page(s) from the provider’s EPP which includes the connection count for your system (or pressure plane) in the provider’s connection count.

An engineering study (hydraulic analysis) sealed by a Texas Licensed Professional Engineer demonstrating that the provider is capable, of providing your entire distribution system with water services at a minimum of 20 psi.

- Does your water system operate any equipment such as booster disinfection that will need power during an emergency?

YES (Please fill out the pages for the alternative power option that will power the equipment)

NO

Does your water system re-pressurize the water received from the provider? (Does the water from the provider flow into a tank which is then pumped out into the distribution system by your own pumps?)

YES (Please fill out the pages for the alternative power option that will power the equipment)

NO

# Section V – Emergency Communications

Emergency Communications are an essential part of an emergency response event. Knowing who to notify before an emergency event occurs is the best way to ensure that you, your system, and your customers receive needed emergency assistance. Many numbers have been provided to assist you with completing this portion of the plan. Please feel free to make copies of the pages in Section IV to post at your facility and/or to train your employees.

If the Organization is not applicable to your utility, please enter N/A. You are required to provide phone numbers for your County Judge and County Sheriff’s Office.

If you are a member of another mutual aid organization other than TXWARN please include them on this list.

- Emergency Contacts

| Organization | Phone Numbers (include area code) |  | E-Mail or Website |
| --- | --- | --- | --- |
|  | Day | Evening |  |
| Fire Department | 911 | 911 |  |
| Sherriff's Department | 911 | 911 |  |
| Emergency Medical Service | 911 | 911 |  |
| TCEQ Water Homeland Security | 888/777-3186 | 888/777-3186 |  |
| Texas PUC | 512/936-7405 |  | http://www.puc.texas.gov/industry/water/utilities/fmt.aspx Email: water@puc.texas.gov |
| National Response Center | 800/424-8802 | 800/424-8802 | http://nrc.uscg.mil/Default.aspx |
| State Spill Hotline | 800/832-8224 | 800/832-8224 | https://www.tceq.texas.gov/response/spills |
| Poison Control | 800/222-1222 | 800/222-1222 | http://poisoncontrol.org/home/ |
| CHLOREP (Chlorine Emergency Plan) | 800/424-9300 | 800/424-9300 | https://www.chlorineinstitute.org/emergency-preparedness/chlorep/ |
| TCEQ Regional Office | 24-hour cell phone 512/965-2717 |  | Website: https://www.tceq.texas.gov/agency/directory/region/reglist.html |
| County Judge | 972-548-4623 | 972-548-4623 | Email: chill@collincountytx.gov Website:https://www.collincountytx.gov/government/pages/elected_officials.aspx |
| County Office of Emergency Management | 972-548-4623 | 972-548-5576 | Email:fmadmin@collincountytx.gov Website:https://www.collincountytx.gov/fire_marshal/lepc/Pages/default.aspx |
| County Sheriff’s Office | 972-547-5100 | 972-547-5100 | Email:cfontana@collincountytx.gov Website:https://www.collincountytx.gov/sheriff/Pages/default.aspx |
| County Public Health & Environmental Services | 972-548-5503 | 972-548-5503 | Email:phep@collincountytx.gov Website:https://www.collincountytx.gov/public_health/Pages/default.aspx |
| City Mayor’s Office | N/A |  | Email: Website: |
| Local Public Health & Environmental Services | County |  | Email: Website: |
| Local Office of Emergency Management | County |  | Email: Website: |
| TX Division of Emergency Management (TDEM) | Provides list of State and District Coordinators which assist local officials with state assistance requests. Requests must start at local level first. |  | https://tdem.texas.gov/field-response/ |
| TXWARN | 866/9-TXWARN (866/989-9276) |  | Email: info@txwarn.org https://www.txwarn.org |
| Other Mutual Aid Provider |  |  | Email: Website: |

Local Contact Notification List

Identify those entities that should be notified in the event of an extended power outage requiring emergency operations. These are people who you provide water to that you may need to contact during an emergency.

| Organization | Contact Name | Title | Phone Numbers (include area code) |  |  | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Day | Evening | Cellular/Pager |  |
| Other Local Government Officials |  |  |  |  |  |  |
| Hospitals served by the Affected Utility |  |  |  |  |  |  |
| Nursing Homes served by the Affected Utility |  |  |  |  |  |  |
| Pharmacies |  |  |  |  |  |  |
| Priority Water Users (Those that are critically dependent upon water including schools, dialysis centers, institutions, individuals with special needs, businesses, and other interconnected water systems, etc.) | none |  |  |  |  |  |
|  | No special needs |  |  |  |  |  |
| Others | All Residents |  |  |  |  |  |

Chemical Supplier Information

Identify your Chemical Suppliers. You may need to contact them for more chemicals during an emergency

| Chemical | Supplier | Contact Name | Phone Number Day | Phone Number Evening | Cell Phone | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |

Certified Laboratory Information

Identify your laboratory and a backup laboratory. You may need a backup laboratory if your lab is nonfunctional.

|  |  |  | Phone Numbers (include area code) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Organization | Contact Name | Title | Day | Evening | Cellular/Pager | E-Mail |
| LCRA | LCRA |  | 512-578-3200 |  |  |  |
| Pace Analytical |  |  | 972-727-1123 |  |  |  |

Fuel Supplier Contact Information (if applicable)

Identify your Fuel Suppliers. You may need to contact them for fuel during an emergency

| Fuel Type | Supplier | Contact Name | Phone Number Day | Phone Number Evening | Cell Phone | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |

Utilities Contact Information

Identify your Utilities Contacts. You may need to contact them during an emergency and use N/A if a listed organization does not apply to your water system.

|  |  |  |  | Phone Numbers (include area code) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Organization | N/A | Contact Name | Title | Day | Evening | Cellular/Pager | E-Mail |
| Electric Utility Company | N/A |  |  |  |  |  |  |
| Gas Utility Company | N/A |  |  |  |  |  |  |
| Sewer Utility Company | N/A |  |  |  |  |  |  |
| Telephone Utility Company | N/A |  |  |  |  |  |  |
| Wholesale Water Provider |  | John Muns | Admin, Plano | 972-941-7107 |  |  |  |
| Wholesale Water Provider |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |

Bulk Water Suppliers

Identify any bulk or bottled water suppliers that you might utilize in an emergency.

|  |  |  | Phone Numbers (include area code) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Organization | Contact Name | Title | Day | Evening | Cellular/Pager | E-Mail |
| Bulk Water Haulers |  |  |  |  |  |  |
| Bottle Water Sources |  |  |  |  |  |  |

Media Notification List

Identify the media organizations that you might need to contact to provide information to your customers. Also identify who is your media spokesperson. If you have a different method to communicate to your customers, please list under Other.

| Organization | Contact Name | Title | Day | Evening | Cellular/Pager | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Designated Water System Spokesperson |  |  |  |  |  |  |
| Newspaper - Local |  |  |  |  |  |  |
| Newspaper – Regional State |  |  |  |  |  |  |
| Radio |  |  |  |  |  |  |
| Television |  |  |  |  |  |  |
| Each household is notified by email, text and phone calls | Sue Whitesell, Paul Whitesell, John Hammond |  | 972-380-5976 972-380-5976 214-380-9950 | 972-380-5976 972-380-5976 214-380-9950 | 214-869-7500 214-455-5976 214-789-6939 | suewhitesell@sbcglobal.net paul@theopticsplace.com johnhayshammond@gmail.com |

# ATTACHMENT A – SUBMITTING COMPLETED EPP

Upon completing your EPP please email or mail (not both) the completed form and additional documentation needed to the Texas Commission on Environmental Quality for review and approval to:

Choose One

PDWEPP@tceq.texas.gov

OR

Water Supply Division, Emergency Preparedness and Response Section, MC-155

P.O. Box 13087

Austin, TX 78711-3087

## Assistance

If you need assistance with the EPP template please fill out the EPP Help Form at www.tceq.texas.gov/goto/epp-help and TCEQ will contact you via email or phone to work with you.

## Approved Plan Distribution

Completer this section after the approval letter is received from TCEQ. Please maintain appropriate documentation of compliance with plan distribution requirements. In addition, a copy of the approved plan must be maintained by the “affected utility”, so that it can be easily accessed in the event of an emergency. All employees must receive annual training on implementation of the plan.

Copies of the approved Emergency Preparedness Plan and the TCEQ Approval Letter must be distributed to the following entities:

| Distributed To | Method of Distribution | Date |
| --- | --- | --- |
| County Judge |  |  |
| County Office of Emergency Management |  |  |
| Public Utility Commission Filing | Use the weblinks provided: For Confidential filing procedures for the PUC use Docket No. 52272 - http://puc.texas.gov/industry/filings/Confidential.aspx For PUC Procedural Rules for Filing of Pleadings, Documents, and Other Materials - http://puc.texas.gov/agency/rulesnlaws/procrules/pr-e/22.71/22.71.pdf Address: Public Utility Commission of Texas Central Records 1701 N Congress PO Box 13326 Austin, Texas 78711-3326 For additional questions contact the PUC Central Records office at (512)-936-7180. |  |
| Texas Division of Emergency Management (TDEM) | Submit to TDEM via email at: TechHaz@tdem.texas.gov Address: Texas Division of Emergency Management 1033 La Posada, Ste 300 Austin, Texas 78752 For additional questions contact the TDEM (512)-424-2208 |  |