## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities) | Meter #
Buddy Bridges (Holly Raeder) | Remove from Critical Load List | CITY OF MANSFIELD | [9 empty] | 10443720001988543 | 210 SMITH ST DEPT FIRE | MANSFIELD | 76063-1732 |  | 1200 E Broad ST | Mansfield | 76063
Buddy Bridges (Holly Raeder) | Remove from Critical Load List | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720001988760 | 707 PLEASANT RIDGE CT | MANSFIELD | 76063-0000 | 32.57345380774173, -97.13672603443983 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater Treatment Plants |  | Transformer has been removed
Buddy Bridges (Holly Raeder) | Annual Renewal | CITY OF MANSFIELD/Fire | Michael Ross | Fire Chief | (817) 276-4777 | (817) 225-6453 | mike.ross@mansfieldtexas.gov | Jeff Smith | (817) 276-4772 | (817) 688-3649 | jeff.smith@mansfieldtexas.gov | 10443720006338150 | 202 S MAIN ST DEPT FIRE | MANSFIELD | 76063-3103 | 32.562539235765335, -97.14277418799479 | 1200 E Broad ST | Mansfield | 76063 | Fire |  | Fire Station #1 | Yes | No | Yes | No | Customer | na | 125 | NG feed | automatic
Buddy Bridges (Holly Raeder) | Annual Renewal | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720001988078 | 900 S WISTERIA ST | MANSFIELD | 76063-0000 | 32.558180565336215, -97.12267224188794 | 1200 E Broad ST | Mansfield | 76063 | Pump Station |  | Drinking water tanks and pump station | No | No | No | No |  | na | na | 0 | na
Buddy Bridges (Holly Raeder) | Annual Renewal | CITY OF MANSFIELD/Police | Tracy Aaron | Chief of Police | (817) 804-5782 | (817) 991-3212 | tracy.aaron@mansfieldtexas.gov | Gary Fowler | (817) 276-4723 | (817) 999-9617 | gary.fowler@mansfieldtexas.gov | 10443720001740575 | 1601 HERITAGE PKWY DEPT POLICE | MANSFIELD | 76063-8308 | 32.55466051778462, -97.1170167912074 | 1200 E Broad ST | Mansfield | 76063 | Police |  | Jail | Yes | No | Yes | No | Customer | na | 125 & 100 & 30 | NG feed | automatic
Buddy Bridges (Holly Raeder) | Annual Renewal | CITY OF MANSFIELD/Police & Fire | Tracy Aaron | Chief of Police | (817) 804-5782 | (817) 991-3212 | tracy.aaron@mansfieldtexas.gov | Gary Fowler | (817) 276-4723 | (817) 999-9617 | gary.fowler@mansfieldtexas.gov | 10443720007877393 | 1305 E BROAD ST UNIT 2 | MANSFIELD | 76063-1804 | 32.566561001084324, -97.12516710266802 | 1200 E Broad ST | Mansfield | 76063 | Police |  | Police Station | Yes | No | Yes | No | Customer | na | 125 | NG feed | automatic
Buddy Bridges (Holly Raeder) | Annual Renewal | CITY OF MANSFIELD/Fire | Michael Ross | Fire Chief | (817) 276-4777 | (817) 932-3961 | mike.ross@mansfieldtexas.gov | Jeff Smith | (817) 276-4772 | (817) 688-3649 | jeff.smith@mansfieldtexas.gov | 10443720001988574 | 1711 COUNTRY CLUB DR DEPT FIRE | MANSFIELD | 76063-2620 | 32.593835335070885, -97.10954775198277 | 1200 E Broad ST | Mansfield | 76063 | Fire |  | Fire Station #2 | Yes | No | Yes | No | Customer | na | 125 | 30 hours | automatic
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720007456537 | 707 Pleasant Ridge CT | MANSFIELD | 76063 | 32.57345532195977, -97.13672544355856 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater Treatment Plants |  | Bud Ervin Water Treatment Plant | Yes | No | Yes | No | Customer | na | 1250 | 24 hours | 1 hour |  | 118433725LG | UPP
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720009628308 | 707 Pleasant Ridge CT (Building #1) | MANSFIELD | 76063 | 32.57413202247389, -97.13715228977114 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater Treatment Plants |  | Bud Ervin Water Treatment Plant | Yes | No | Yes | No | Customer | na | 400 | 24 hours | 1 hour |  | 104298226LG | membrane
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720009628339 | 707 Pleasant Ridge CT (Building #2) | MANSFIELD | 76063 | 32.574113262619875, -97.1371954308128 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater Treatment Plants |  | Bud Ervin Water Treatment Plant | No | No | No | No |  | na | na | 0 | na |  | 162289514LG | membrane
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720006695092 | 707 Pleasant Ridge CT (Building #3) | MANSFIELD | 76063 | 32.573731199172784, -97.1361974920957 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater Treatment Plants |  | Bud Ervin Water Treatment Plant | Yes | No | Yes | No | Customer | na | 1250 | 24 hours | 1 hour |  | 160047366LG | new-LPP
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720001988822 | 1315 Cardinal Oaks | MANSFIELD | 76063 | 32.58501792414196, -97.16421639377786 | 1200 E Broad ST | Mansfield | 76063 | Pump Station |  | Cardinal Oaks Ground Storage Tank & Pump Station | No | No | No | No |  | na | na | 0 | na |  | 115 186 277
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720000249413 | 1220 E. Debbie LN | MANSFIELD | 76063 | 32.60509189630176, -97.11832214651167 | 1200 E Broad ST | Mansfield | 76063 | Water Tower |  | Debbie Elevated Storage Tank | No | No | No | No |  | na | na | 0 | na |  | 153 170 994
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720009443920 | 3060 E. Broad ST | MANSFIELD | 76063 | 32.57215817354717, -97.08826447925803 | 1200 E Broad ST | Mansfield | 76063 | Water Tower |  | Broad Elevated Storage Tank | No | No | No | No |  | na | na | 0 | na |  | 162 611 898
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | David Hinshaw | (817) 728-3674 | (817) 304-9201 | david.hinshaw@mansfieldtexas.gov | 10443720008054217 | 1952 N. Main ST | MANSFIELD | 76063 | 32.59355293069189, -97.16391817104694 | 1200 E Broad ST | Mansfield | 76063 | Water Tower |  | Northwest Elevated Storage Tank | No | No | No | No |  | na | na | 0 | na |  | 143 993 335
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720007738296 | 430 Country Meadows Dr | MANSFIELD | 76063 | 32.59117973621719, -97.18344171313197 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Country Meadows Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 116 108 245
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720009430373 | 1520 Copper Cove Cir. | MANSFIELD | 76063 | 32.557548258545246, -97.05360049135173 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Copper Cove Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 112 570 427
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720008155804 | 1801 N. Day Miar RD | MANSFIELD | 76063 | 32.589027478696686, -97.06407310091171 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Day Miar Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 112 570 426
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720000028071 | 520 Seeton RD | MANSFIELD | 76063 | 32.54879404962673, -97.0590985778196 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Garden Heights Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 112 897 740
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720006372250 | 3275 Heritage Parkway | MANSFIELD | 76063 | 32.569074975681744, -97.08636292862735 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Heritage Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 103 211 567
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720000240361 | 2 South Holland RD | MANSFIELD | 76063 | 32.56484337235857, -97.06644104668692 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Holland Wastewater Lift Station | Yes | No | Yes | No | Customer | na | 515 | 24 | automatic |  | 120-449-991
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720009266135 | 1000 Lakeview DR | MANSFIELD | 76063 | 32.547903221621205, -97.06472005259754 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Lakeview Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 112 570 428
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720007251472 | 1 Manordale CT | MANSFIELD | 76063 | 32.56291767492731, -97.05617009450911 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Manordale Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 102 019 579
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720001988698 | 1601 Moody DR | MANSFIELD | 76063 | 32.56122268581423, -97.17040874075761 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Retta Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 110 575 413
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720007125798 | 4860 Seeton RD | MANSFIELD | 76063 | 32.548787, -97.059034 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Seeton Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 162 445 977
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720006164023 | 101 Turner Way | MANSFIELD | 76063 | 32.61609077732016, -97.14224179908325 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Turner Way Wastewater Lift Station | No | No | No | No |  | na | na | 0 | na |  | 115 188 848
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720007299863 | 1602 SH 360 | MANSFIELD | 76063 | 32.5879684, -97.0742716 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | 360 Wastewater Lift Station | Yes | No | Yes | No | Customer | na | 130 | 24 | automatic |  | 158 708 053
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720009410451 | 2611 Rileigh LN | MANSFIELD | 76063 | 32.5983941, -97.1856461 | 1200 E Broad ST | Mansfield | 76063 | Major Lift Station |  | Triple Diamond Wastewater Lift Station | Yes | No | Yes | No | Customer | na | 125 | 30 | automatic |  | 161 245 510
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720007408053 | 909 Manchester DR | MANSFIELD | 76063 | 32.61141020117726, -97.1258328694552 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater - Other (provide details) |  | Wastewater meter station Manchester | No | No | No | No |  | na | na | 0 | na |  | 102 019 352
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Adam Stark | (817) 728-3658 | (817) 933-5786 | adam.stark@mansfieldtexas.gov | 10443720009482360 | 1840 Mansfield Webb RD | MANSFIELD | 76063 | 32.6119655, -97.1049273 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater - Other (provide details) |  | Wastewater meter station Mansfield Webb | No | No | No | No |  | na | na | 0 | na |  | 134 432 080
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Water Utilities | Jeff Price | Water Utilities Director | (817) 728-3602 | (817) 932-3961 | jeff.price@mansfieldtexas.gov | Alex Whiteway | (817) 728-3615 | (817) 819-0096 | alex.whiteway@mansfieldtexas.gov | 10443720000084150 | 620 S Wisteria ST | MANSFIELD | 76063 | 32.55600517183807, -97.12212980842946 | 1200 E Broad ST | Mansfield | 76063 | Water/Wastewater - Other (provide details) |  | Water/Wastewater Service Center | Yes | No | Yes | No | Customer | na | 500 | 11 | automatic
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Fire | Michael Ross | Fire Chief | (817) 276-4777 | (817) 225-6453 | mike.ross@mansfieldtexas.gov | Jeff Smith | (817) 276-4772 | (817) 688-3649 | jeff.smith@mansfieldtexas.gov | 10443720007966332 | 3100 E. Broad St. | MANSFIELD | 76063 | 32.57261467735775, -97.0884146613354 | 1200 E Broad ST | Mansfield | 76063 | Fire |  | Fire Station No. 3 | Yes | No | Yes | No | Customer | na | 300 | 6 hours | automatic
Buddy Bridges (Holly Raeder) | New Critical Load Application | CITY OF MANSFIELD/Fire | Michael Ross | Fire Chief | (817) 276-4777 | (817) 225-6453 | mike.ross@mansfieldtexas.gov | Jeff Smith | (817) 276-4772 | (817) 688-3649 | jeff.smith@mansfieldtexas.gov | 10443720009503905 | 1954 N. Main St. | MANSFIELD | 76063 | 32.59378975426053, -97.16443575730398 | 1200 E Broad ST | Mansfield | 76063 | Fire |  | Fire Station No. 4 | Yes | No | Yes | No | Customer | na | 60 | NG feed | automatic

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)