## CRITICAL LOAD APPLICATION
Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720008898333 | @ALMA PUMP STATION | ALMA | 75119 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | No | No | No | No
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720004659207 | 3809 KNIGHTHURST PUMP | ENNIS | 75119 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | No | No | No | No
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720004657409 | 112 N OLD ALMA RD | ENNIS | 75519 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | No | No | No | No
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720004684503 | 99 NOVY RD | ENNIS | 75119 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | No | No | No | No
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720007946772 | 365 S OLD ALMA RD | ALMA | 75119 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | no | No | No | No |  |  | 1000w | 24 Hours | 30 minutes
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720008860279 | 470 SECTION HOUSE RD | ENNIS | 75119 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | no | No | no | No |  |  | 1000w | 24 Hous | 30 minutes
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720004746999 | HILLCREST LIFT STATION | RICE | 75155 |  | PO BOX 137 | Rice | 75155 | Major Lift Station |  |  | no | No | no | No |  |  | 1000w | 24 Hours | 30 minutes
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720006453580 | 700 SE MCKINNEY ST. LIFT | RICE | 75155 |  | PO BOX 137 | Rice | 75155 | Major Lift Station |  |  | no | No | No | No |  |  | 1000w | 24 Hours | 30 minutes
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720006453487 | 610 SE MCKINNEY ST. SEWER | RICE | 75155 |  | PO BOX 137 | Rice | 75155 | Ground Storage |  |  | no | No | no | no
New Critical Load Application | RICE WATER SUPPLY | JOEY SMITH | GENERAL MANAGER | 903-326-5551 | 903-641-9326 | jsmithricewatersupply@gmail.com | n/a |  |  |  | 10443720004749634 | 100 SUNRISE CIR. SEWR | RICE | 75155 |  | PO BOX 137 | Rice | 75155 | Major Lift Station

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Oncor | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Customer | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)