## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720004211789 | 196 HOFFMEYER LN | ROBINSON | 76706-5581 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Water Well | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720006848370 | 930 E TINSLEY | ROBINSON | 76706-0000 |  | 111 W Lyndale | Robinson | 76706 | Water/Wastewater Treatment Plants |  | Water Plant | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720006220651 | 1091 TREATMENT PLANT RD | WACO | 76706-0000 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Pumping Station | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720003852344 | 701 E SHAMROCK | ROBINSON | 76706-0000 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Water Well | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720003788639 | 920 W ELIZABETH DR | ROBINSON | 76706-4917 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Water Well | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Reese Knight | Fire Chief | 254-662-3801 | 254-709-3186 | chief@robinsonfire.org | Dick Lewis | 254-662-3801 | 254-981-6425 | admin@robinsonfire.org |  | 4601 S. Loop 340 | ROBINSON | 76706-0000 |  | 204 S. Strauss | Robinson | 76706 | Fire |  | Fire Station | No | No | No | No |  | None |  | 1 Hour | 1 hour
Michael L Baldwin |  | CITY OF ROBINSON | Reese Knight | Fire Chief | 254-662-3801 | 254-709-3186 | chief@robinsonfire.org | Dick Lewis | 254-662-3801 | 254-981-6425 | admin@robinsonfire.org | 10443720000335404 | 204 S STRAUSS DR DEPT FIRE | ROBINSON | 76706-5637 |  | 204 S. Strauss | Robinson | 76706 | Fire |  | Fire Station | No | No | No | No |  | None |  | 1 Hour | 1 hour
Michael L Baldwin |  | CITY OF ROBINSON | Rich Andreucci | Police Chief | 254-662-0525 | 254-300-3597 | r.andreucci@robinsontexas.org | Matt Troup | 254-662-0525 | 254-744-3474 | m.troup@robinsontexas.org | 10443720003842548 | 111 W LYNDALE AVE DEPT POLIC | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | 911 Center
Michael L Baldwin |  | CITY OF ROBINSON | Rich Andreucci | Police Chief | 254-662-0525 | 254-300-3597 | r.andreucci@robinsontexas.org | Matt Troup | 254-662-0525 | 254-744-3474 | m.troup@robinsontexas.org | 10443720003842548 | 111 W LYNDALE AVE DEPT POLIC | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Police
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720003801690 | 801 N HILLVIEW ST | ROBINSON | 76706-0000 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Water Well | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
Michael L Baldwin |  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 10443720004031772 | 221 W GREENBRIAR ST | ROBINSON | 76706-6113 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Water Well | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Chris Land | 254-662-1415 | 254-749-8353 | c.land@robinsontexas.org | 7696468 | 3047 Greig Drive | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Water Tower |  | Elevated Water Storage | Yes | Yes | Yes | Yes | Customer | None | 100 | 1 Day | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Chris Land | 254-662-1415 | 254-749-8353 | c.land@robinsontexas.org | 2348208 | 1396 Greig Drive | ROBINSON | 76706-3737 |  | 111 W Lyndale | Robinson | 76706 | Water/Wastewater - Other (provide details) |  | Water Pressure Plane Control Valve | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Chris Land | 254-662-1415 | 254-749-8353 | c.land@robinsontexas.org | 7673612 | 5801 S IH 35 | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Water Tower |  | Elevated Water Storage | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Chris Land | 254-662-1415 | 254-749-8353 | c.land@robinsontexas.org | 6853485 | Newland Dr off FM 3400 | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Pump Station |  | Raw Water Pump Station | No | No | No | No |  | None |  | If only site down a few hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 3809130 | Dayton (Lift Station) | ROBINSON | 76706-4938 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 3847105 | Ward (Lift Station) | ROBINSON | 76706-5737 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 4201001 | Conine (Lift Station) | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 7533284 | 700 W Roy (Lift Station) | ROBINSON | 76706-6159 |  | 111 W Lyndale | Robinson | 76706 | Major Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 3-4 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 7744425 | 1805 Sun Valley (Lift Station) | ROBINSON | 76706-5619 |  | 111 W Lyndale | Robinson | 76706 | Major Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 3-4 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 7750656 | 825 Remington Park (Lift Station) | ROBINSON | 76706-7270 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 7753167 | 648 E Moonlight (Lift Station) | ROBINSON | 76706-7168 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 8219128 | 8150 Scholastic Way (Lift Station) | ROBINSON | 76706-7114 |  | 111 W Lyndale | Robinson | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 9129970 | 2465 Greig Drive Harris Village (Lift Station) | ROBINSON | 76706-5555 |  | 111 W Lyndale | Robinson | 76706 | Major Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 3-4 Hours | 1 Hour
|  | CITY OF ROBINSON | Greg Hobbs | Utility Systems Director | 254-662-1415 | 254-717-2144 | g.hobba@robinsontexas.org | Thomas Case | 254-662-1415 | 254-722-6825 | t.case@robinsontexas.org | 9192032 | 454 Cedar Ridge (Lift Station) | ROBINSON | 76706-5680 |  | 111 W Lyndale | R76 | 76706 | Minor Lift Station |  | Sewer Lift Station | No | No | No | No |  | None |  | 4-6 Hours | 1 Hour
[12 empty] | 10443720003418282 | 4505 CONCORD RD UNIT W TWR | BELLMEAD | 76705-2608 |  |  |  | 76705
[12 empty] | 10443720003354329 | PARRISH HOGAN LN | BELLMEAD | 76705-0000 |  |  |  | 76705
[12 empty] | 10443720009393170 | 601 RESEARCH AVE | BELLMEAD | 76705-0000 |  |  |  | 76705
[12 empty] | 10443720007072655 | 700 KANE ST DEPT FIRE | BELLMEAD | 76705-3049 |  |  |  | 76705
[12 empty] | 10443720003418251 | 4505 CONCORD RD UNIT W TWS | BELLMEAD | 76705-2608 |  |  |  | 76705
[12 empty] | 10443720009837948 | 701 MAXFIELD ST DEPT POLIC | BELLMEAD | 76705-3062 |  |  |  | 76705
[12 empty] | 10443720003395683 | 3418 MEMORIAL DR DEPT POLIC | BEVERLY HILLS | 76711-1514 |  |  |  | 76711
[12 empty] | 10443720008270123 | 750 RITCHIE RD | HEWITT | 76643-0000 |  |  |  | 76643
[12 empty] | 10443720009503582 | 225 COVENTRY DR | HEWITT | 76643-4212 |  |  |  | 76643
[12 empty] | 10443720004797131 | 816 W WARREN ST | HEWITT | 76643-3203 |  |  |  | 76643
[12 empty] | 10443720000389034 | 100 PATRIOT CT DEPT FIRE | HEWITT | 76643-4117 |  |  |  | 76643
[12 empty] | 10443720004056417 | 702 MCLEMORE CIR | HEWITT | 76643-3551 |  |  |  | 76643
[12 empty] | 10443720006225549 | 505 E CRAVEN AVE DEPT FIRE | LACY LAKEVIEW | 76705-1952 |  |  |  | 76705
[12 empty] | 10443720003193532 | 503 E CRAVEN AVE DEPT POLIC | LACY LAKEVIEW | 76705-1952 |  |  |  | 76705
[12 empty] | 10443720003289880 | @MEYERS LN & 7781 | LACY LAKEVIEW | 76705-0000 |  |  |  | 76705
[12 empty] | 10176990006873401 | 1587 PAVELKA | MART | 76664-0000 |  |  |  | 76664
[12 empty] | 10176990006880872 | 112 N COMMERCE ST DEPT POLIC | MART | 76664-4104 |  |  |  | 76664
[12 empty] | 10176990006879260 | @SEWER PLANT DEAD END RD | MART | 76664-0000 |  |  |  | 76664
[12 empty] | 10176990006879384 | 306 E MCLENNAN AVE DEPT FIRE | MART | 76664-1182 |  |  |  | 76664
[12 empty] | 10443720003130850 | 104 W 9TH ST | MCGREGOR | 76657-1620 |  |  |  | 76657
[12 empty] | 10443720002984592 | 2829 S MAIN | MCGREGOR | 76657-0000 |  |  |  | 76657
[12 empty] | 10443720003093154 | 101 N MAIN ST OFC | MCGREGOR | 76657-1222 |  |  |  | 76657
[12 empty] | 10443720003095634 | 302 S MADISON ST DEPT FIRE | MCGREGOR | 76657-2331 |  |  |  | 76657
[12 empty] | 10443720002966426 | 211 8TH ST | MOODY | 76557-3867 |  |  |  | 76557
[12 empty] | 10443720006099472 | AVE E DEPT FIRE | MOODY | 76557-0000 |  |  |  | 76557
[12 empty] | 10443720002974486 | 606 AVENUE E | MOODY | 76557-3772 |  |  |  | 76557
[12 empty] | 10443720002973649 | 501 5Th ST | MOODY | 76557-0000 |  |  |  | 76557
[12 empty] | 10176990006488567 | 104 N HEDWIG ST DEPT FIRE | RIESEL | 76682-3039 |  |  |  | 76682
[12 empty] | 10443720004211789 | 196 HOFFMEYER LN | ROBINSON | 76706-5581 |  |  |  | 76706
[12 empty] | 10443720006848370 | 930 E TINSLEY | ROBINSON | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720006220651 | 1091 TREATMENT PLANT RD | WACO | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720003852344 | 701 E SHAMROCK | ROBINSON | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720003788639 | 920 W ELIZABETH DR | ROBINSON | 76706-4917 |  |  |  | 76706
[12 empty] | 10443720003842517 | 106 W LYNDALE AVE DEPT FIRE2 | ROBINSON | 76706-5620 |  |  |  | 76706
[12 empty] | 10443720000335404 | 204 S STRAUSS DR DEPT FIRE | ROBINSON | 76706-5637 |  |  |  | 76706
[12 empty] | 10443720003842548 | 111 W LYNDALE AVE DEPT POLIC | ROBINSON | 76706-5619 |  |  |  | 76706
[12 empty] | 10443720003842548 | 111 W LYNDALE AVE DEPT POLIC | ROBINSON | 76706-5619 |  |  |  | 76706
[12 empty] | 10443720003842486 | 106 W LYNDALE AVE DEPT FIRE | ROBINSON | 76706-5620 |  |  |  | 76706
[12 empty] | 10443720003801690 | 8011 N HILLVIEW ST | ROBINSON | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720004031772 | 221 W GREENBRIAR ST | ROBINSON | 76706-6113 |  |  |  | 76706
[12 empty] | 10443720003622572 | 5031 RIDGEVIEW DR | WACO | 76710-1726 |  |  |  | 76710
[12 empty] | 10443720006785037 | 1147 TREATMENT PLANT RD | WACO | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720004770533 | 1610 W HIGHWAY 6 | WACO | 76712-0000 |  |  |  | 76712
[12 empty] | 10443720003632058 | 33 GURLEY LN UNIT DAM | WACO | 76708-0000 |  |  |  | 76708
[12 empty] | 10443720003662469 | 5701 LAKE SHORE DR #1 | WACO | 76710-0000 |  |  |  | 76710
[12 empty] | 10443720003666034 | 4720 COBBS DR DEPT FIRE | WACO | 76710-3009 |  |  |  | 76710
[12 empty] | 10443720008936974 | 111 9TH ST DEPT FIRE | LACY LAKEVIEW | 76705-4005 |  |  |  | 76705
[12 empty] | 10443720003824258 | 1016 COLUMBUS AVE DEPT FIRE | WACO | 76701-1243 |  |  |  | 76701
[12 empty] | 10443720004526873 | 4609 SANGER AVE | WACO | 76710-4806 |  |  |  | 76710
[12 empty] | 10443720007877198 | 7600 IMPERIAL DR DEPT FIRE | WACO | 76712-6609 |  |  |  | 76712
[12 empty] | 10443720004557284 | 7911 KARL MAY DR BLDG | WACO | 76708-5540 |  |  |  | 76708
[12 empty] | 10443720009147175 | 3300 FLAT ROCK RD DEPT FIRE | WACO | 76708-9604 |  |  |  | 76708
[12 empty] | 10443720009163646 | 100 PEACH ST DEPT FIRE | WACO | 76704-2521 |  |  |  | 76704
[12 empty] | 10443720004637605 | 200 COLCORD AVE BLDG | WACO | 76707-2476 |  |  |  | 76707
[12 empty] | 10443720004735627 | 721 N 4TH ST BLDG POLIC | WACO | 76701-1413 |  |  |  | 76701
[12 empty] | 10443720004735627 | 721 N 4TH ST BLDG POLIC | WACO | 76701-1413 |  |  |  | 76701
[12 empty] | 10443720007897813 | 2625 PARK LAKE DR DEPT FIRE | WACO | 76708-1566 |  |  |  | 76708
[12 empty] | 10443720003537322 | 1147 TREATMENT PLANT RD | WACO | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720004467415 | 1211 WASHINGTON AVE DEPT POLIC | WACO | 76701-1126 |  |  |  | 76701
[12 empty] | 10443720009035327 | 5703 LAKE SHORE DR | WACO | 76710-0000 |  |  |  | 76710
[12 empty] | 10443720008698977 | 5701 LAKE SHORE DR #5 | WACO | 76710-0000 |  |  |  | 76710
[12 empty] | 10443720008351405 | 200 COLCORD AVE UNIT POLE | WACO | 76707-2476 |  |  |  | 76707
[12 empty] | 10443720009007871 | 4620 AIRPORT RD | WACO | 76708-5448 |  |  |  | 76708
[12 empty] | 10443720007543886 | 7909 CARL MAY | WACO | 76708-0000 |  |  |  | 76708
[12 empty] | 10443720009130817 | 4620 AIRPORT RD | WACO | 76708-5448 |  |  |  | 76708
[12 empty] | 10443720003662531 | 5701 LAKE SHORE DR | WACO | 76701-0000 |  |  |  | 76701
[12 empty] | 10443720004921627 | 2618 N 20TH ST DEPT POLIC | WACO | 76708-2808 |  |  |  | 76708
[12 empty] | 10443720004165506 | 1002 SPEIGHT AVE DEPT FIRE | WACO | 76706-2227 |  |  |  | 76706
[12 empty] | 10443720009529312 | 7915 KARL MAY DR DEPT FIRE | WACO | 76708-5540 |  |  |  | 76708
[12 empty] | 10443720004635249 | 501 WASHINGTON AVE | WACO | 76701-1300 |  |  |  | 76701
[12 empty] | 10443720004958951 | 1523 HERRING AVE DEPT FIRE | WACO | 76708-2960 |  |  |  | 76708
[12 empty] | 10443720004557253 | 7913 KARL MAY DR BLDG RUNWY | WACO | 76708-5540 |  |  |  | 76708
[12 empty] | 10443720004637636 | 200 COLCORD AVE | WACO | 76707-2476 |  |  |  | 76707
[12 empty] | 10443720009007840 | 4620 AIRPORT RD | WACO | 76708-5448 |  |  |  | 76708
[12 empty] | 10443720008815258 | 3310 GHOLSON RD | WACO | 76705-0000 |  |  |  | 76705
[12 empty] | 10443720000282115 | 1325 N 5TH ST DEPT FIRE | WACO | 76707-0000 |  |  |  | 76707
[12 empty] | 10443720003581032 | 2800 BOSQUE BLVD DEPT FIRE | WACO | 76707-2639 |  |  |  | 76707
[12 empty] | 10443720004421256 | LAKE WACO OUTLET WKS UNIT OUTLT | WACO | 76708-0000 |  |  |  | 76708
[12 empty] | 10443720003662562 | 5701 LAKE SHORE DR #2 | WACO | 76710-0000 |  |  |  | 76710
[12 empty] | 10443720004637574 | 200 COLCORD AVE TANK | WACO | 76707-2476 |  |  |  | 76707
[12 empty] | 10443720005076658 | 9120 OLD MCGREGOR RD | WACO | 76712-6436 |  |  |  | 76712
[12 empty] | 10443720003537291 | 50 GURLEY LN | WACO | 76706-0000 |  |  |  | 76706
[12 empty] | 10443720009033901 | 4112 COLCORD AVE DEPT POLIC | WACO | 76707-1669 |  |  |  | 76707
[12 empty] | 10443720009832647 | 7909 KARL MAY DR | WACO | 76708-5572 |  |  |  | 76708
[12 empty] | 10443720003754818 | 4609 SANGER AVE | WACO | 76710-4806 |  |  |  | 76710
[12 empty] | 10443720009896207 | 1001 LAKE SHORE DR | WACO | 76708-3756 |  |  |  | 76708
[12 empty] | 10443720008288878 | 192 E HILLTOP RD | WACO | 76640-3668 |  |  |  | 76640
[12 empty] | 10443720004637667 | 200 COLCORD CHEMICAL BLDG | WACO | 76701-0000 |  |  |  | 76701
[12 empty] | 10443720000005357 | 7724 KARL MAY DR UNIT B | WACO | 76708-0000 |  |  |  | 76708
[12 empty] | 10443720003662593 | 5701 LAKE SHORE DR #6 | WACO | 76710-0000 |  |  |  | 76710
[12 empty] | 10443720004630816 | 300 AUSTIN AVE | WACO | 76701-2209 |  |  |  | 76701
[12 empty] | 10443720009710238 | 3115 PINE AVE UNIT TOWR1 | WACO | 76708-3247 |  |  |  | 76708
[12 empty] | 10443720009710238 | 3115 PINE AVE UNIT TOWR1 | WACO | 76708-3247 |  |  |  | 76708
[12 empty] | 10443720009710238 | 3115 PINE AVE UNIT TOWR1 | WACO | 76708-3247 |  |  |  | 76708
[12 empty] | 10443720007052709 | 3110 HERRING AVE UNIT B | WACO | 76708-3246 |  |  |  | 76708
[12 empty] | 10443720004557687 | 7724 KARL MAY DR UNIT A | WACO | 76708-5535 |  |  |  | 76708
[12 empty] | 10443720005106573 | 315 N NEW RD DEPT FIRE | WACO | 76710-7031 |  |  |  | 76710
[12 empty] | 10443720005106573 | 315 N NEW RD DEPT FIRE | WACO | 76710-7031 |  |  |  | 76710
[12 empty] | 10443720001332633 | @S REAGAN & TOKIO RD(WELL #5 | WEST | 76691-0000 |  |  |  | 76691
[12 empty] | 10443720008524168 | 111 S REAGAN ST DEPT FIRE | WEST | 76691-1468 |  |  |  | 76691
[12 empty] | 10443720008006902 | 110 N REAGAN ST DEPT POLIC | WEST | 76691-1463 |  |  |  | 76691
[12 empty] | 10443720006979066 | W WTR SWGE | WEST | 76691-0000 |  |  |  | 76691
[12 empty] | 10443720007891644 | 410 S HAVEN ST | WEST | 76691-0000 |  |  |  | 76691
[12 empty] | 10443720004980093 | 10000 ACORN DR | WOODWAY | 76712-0000 |  |  |  | 76712
[12 empty] | 10443720009731721 | 6809 CACTUS DR BLDG WELLR | WOODWAY | 76712-6742 |  |  |  | 76712
[12 empty] | 10443720005021323 | 300 MERRIFIELD DR | WOODWAY | 76712-0000 |  |  |  | 76712
[12 empty] | 10443720005021292 | 300 MERRIFIELD DR | WOODWAY | 76712-0000 |  |  |  | 76712
[12 empty] | 10443720005031305 | 205 M B INDUSTRIAL | WOODWAY | 76712-6461 |  |  |  | 76712
[12 empty] | 10443720005092406 | 8514 BOSQUE BLVD | WOODWAY | 76712-3424 |  |  |  | 76712
[12 empty] | 10443720005092406 | 8514 BOSQUE BLVD | WOODWAY | 76712-3424 |  |  |  | 76712
[12 empty] | 10443720006523738 | 920 ESTATES DR DEPT FIRE | WOODWAY | 76712-3432 |  |  |  | 76712

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)