Critical Water System Infrastructure

Name of Facilities Owner:	City of Shavano Park - Water System

711 Residential and 2 Commercial connections

Company Information:  	City of Shavano Park – Public Works/Water Department

900 Saddletree Ct

Shavano Park, TX 78231

Phone: 210-492-2841

Emergency Point of Contact(s):

Primary:	Brandon Peterson – Public Works/Water Director

pwdirector@shavanopark.org

210-492-2841 office (M-F 8am - 5pm)

210-416-0465 cell (after hours/emergencies)

Secondary:	Jesse Serna – Public Works/Water Superintendent

jserna@shavanopark.org

210-492-2841 office (M-F 8am – 5pm)

210-454-9818 cell (after hours/emergencies)

Secondary:	Frank Urbaneck – Water Crew Leader

furbaneck@shavanopark.org

210-492-2841 office (M-F 8am – 5pm)

210-789-1893 cell (after hours/emergencies)

Critical Locations:

Well Site #1 – 108B Shavano Drive

150K Elevated Storage Tank

110K Ground Storage Tank

2 – 20 HP Booster Pumps w/ Yaskawa iQ1000 FVD

Huebner Plant – 13500 Huebner Road

500K Ground Storage Tank

125 HP booster pump – has a Mechanical Drive Shaft (manual operation)

2 – 60 HP booster pumps

Well Site #7 – 2969 Hunters Stream

250 HP Motor – Turbine

Well Site #8 – 2969 Hunters Stream

250 HP Motor – Turbine w/ Yaskawa P1000 VFD  (Mechanical Drive Shaft)