806-253-2558

Ralls, Texas 79357

City of Ralls

October 26, 2021

Public Utility Commission of Texas

P.O. Box 13326

Austin TX 78711-3326

RE: Project 52299

To Whom It May Concern:

In response to the Public Utility Commission of Texas (PUCT) Project 5229, Senate Bill 3 87th Legislature, Regular session Compliance Guidance, and Texas Water Code (TWC) §13.1396.

The City of Ralls has not identified any Potable Water Critical Load facilities due to being a purchased Water System from White River MWD.

The City of Ralls identified the follow Waste Water Facilities as an Affected Utility Critical Load:

| WWTF Lift Station Name | Latitude (Decimal Degrees) | Longitude (Decimal Degrees) | Pressure or Vacuum Sewer System Yes/No | WASTEWATER LIFT STATIONS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Permanent Generator on Site Yes/No | Wired for Portable Generator? Yes/No | Kilowatts | Voltage | Phase | *Fuel Type | Additional Fuel Supply Onsite? Yes/No | Hours of Operation on Fuel Supply |
| LS #1 | 33.678509 | -101.382470 | No | Yes | No | 100 | 125 | 3 | Diesel | No | 20 |
| LS #2 | 33.674763 | -101.380157 | No | Yes | No | 100 | 125 | 3 | Diesel | Yes | 24 |
| LS #3 | 33.671853 | -101.392034 | No | No | Yes | 100 | 125 | 3 | Diesel | No | 12 |
| LS #4 | 33.683997 | -101.391527 | No | No | No |  | 125 | 3 |  | No |  |
| LS #5 | 33.686489 | -101.375176 | No | Yes | No | 100 | 125 | 3 | Diesel | Yes | 24 |

Emergency Point of Contact:

Aunie Sellers Director of Public Works

Office - 806-253-2558

Cell - 806-543-9481

Kim Perez City Manager

Office – 806-253-2558

Cell – 806-543-9634

Alternative POC

Shawn Solis

Office – 806-253-2558

Cell 501-538-9131