## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Terri Shatter | Annual Renewal | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720007955905 | 12500 ELAM RD DEPT FIRE | BALCH SPRINGS | 75180-3038 | 32.7184655,-96.6116862,437 | 12500 Elam | Balch Springs | 75180 | Fire |  | Fire/911 operations | No | No | Yes | No | Customer |  | 40kw | 12 hours | 15 minutes
Terri Shatter | Annual Renewal | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720008032357 | 12500 ELAM RD STE B | BALCH SPRINGS | 75180-3038 | 32.7184655,-96.6116862,437 | 12501 Elam | Balch Springs | 75180 | Police |  | Police/911 operations/Jail | No | No | Yes | No | Customer |  | 40kw | 12 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 104437200037503352 | 3824 Pioneer Rd | BALCH SPRINGS | 75180 | 32.7179831,-96.6065712,254 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Water Tower | No | No | Yes | No | Customer |  | 24kw | 8 hours | immediate start-up
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720007494820 | 3825 Pioneer Rd | BALCH SPRINGS | 75180 | 32.7179831,-96.6065712,254 | 13504 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | 911/ Police/ Fire Communications | No | No | Yes | No | Customer |  | 24kw | 8 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720004008799 | 1766 Julie Crt | BALCH SPRINGS | 75180 | 32.740866,-96.608585,304 | 13505 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Water Tower | No | No | No | No |  |  |  | 0 hours | immediate start-up
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720009054864 | 4420B Shepherd | BALCH SPRINGS | 75180 | 32.7106865,-96.6136934,523 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Water Pump Station | No | No | Yes | No | Customer |  | 250kw | 12 hours | immediate start-up
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720000538595 | 2930 Hickory Tree | BALCH SPRINGS | 75180 | 32.7291675,-96.6221405 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Water Pump Station | No | No | No | No |  |  |  | 0 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720007289135 | 13503 Alexander Rd | BALCH SPRINGS | 75181 | 32.7076631,-96.5861778,554 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | City Hall/ Scada Operations/ Emergency Operations Center | No | No | Yes | No | Customer |  | 200kw | 12 hours | 30 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 10443720008633851 | 11960 Ravenview | BALCH SPRINGS | 75253 | 32.6900552,-96.618054,795 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Main outgoing wastewater liftstation | No | No | Yes | No | Customer |  | 505kw | 10 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 1044372000 | 13511 Alexander | BALCH SPRINGS | 75181 | 32.706625,-96.5848277,795 | 13503 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Wastewater liftstation | No | No | No | No |  |  |  | 0 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 1044372000 | 4609 Edgeworth | BALCH SPRINGS | 75180 | 32.7063027,-96.635661,131 | 13504 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Wastewater liftstation | No | No | No | No |  |  |  | 0 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 1044372000 | 2105 Beltline | BALCH SPRINGS | 75180 | 32.736472,-96.6023008,225 | 13505 Alexander Rd | Balch Springs | 75181 | Water/Wastewater - Other (provide details) |  | Wastewater liftstation | No | No | No | No |  |  |  | 0 hours | 15 minutes
Terri Shatter | New Critical Load Application | CITY OF BALCH SPRINGS | Brad Harris | Emergency Management Coordinator | (972)286-4477 x 232 | (214)886-2672 | bharris@cityofbalchsprings.com | William Freeman | (972)286-4477 x 207 | (469)417-8183 | wfreeman@cityofbalchsprings.com | 1044372000 | 4372 Shepherd Ln | BALCH SPRINGS | 75180 | 32.7105071,-96.6154875,795 | 4372 Shepherd Ln | Balch Springs | 75180 |  |  | Dallas County Designated Congregate Shelter location | No | No | No | No |  |  |  | 0 hours | 15 minutes
Note on Z2: Brad Harris: Partial Backup power availible only
Note on Z3: Brad Harris: Partial Backup power availible only

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)