CITY OF ASPERMONT

P.O. BOX 277 ~ 411 SOUTH BROADWAY ~ ASPERMONT, TEXAS 79502 ~ STONEWALL COUNTY

Phone 940-989-3585 ~ Fax 940-989-2692

October 26, 2021

To Whom it may Concern with the Public Utility Commission of Texas,

Project 52299

Senate Bill3, 87 TH Legislature, Regular Session

Compliance Guidance-Texas Water Code 13.1396

City Of Aspermont’s Affected Utilities:

PWS: #2170001

Description:

Serving approximately 591 meter connections in the City of Aspermont and Stonewall County.

We have one 500,000 gallon ground storage tank and pump station located in Haskell County

located in Haskell Tx. We also have one 500,000 gallon ground storage tank and pump station along with 4 water wells located also in Haskell County just west of Rule Tx. We have two ground storage tanks a 400,000 gallon and a 500,000 gallon located in Aspermont in Stonewall County where we chlorinate our water there again. Just west of those GST we have our pump house and here we pump water to town and fill our 100,000 gallon elevated storage tank in the middle of Aspermont.

Location:

Ground Storage Tank, Pump Station Haskell Tx. Haskell County

251 County Road 210

Lat. 33.188901    Long. -99.720801

Ground Storage Tank, Pump Station, Chlorination Rule Tx. Haskell County

2149 County Road 141

Lat. 33.209305    Long. -99.924027

4 Water Wells, Rule Tx. Haskell County

2149 County Road 141

Well A:

Lat. 33.208082   Long.-99.919057

Well B:

Lat. 33.208835   Long.-99.922860

Well C:

Lat. 33.208273   Long.-99.917795

Well D:

Lat. 33.208295   Long.-99.920802

Aspermont Storage Tanks and Chlorination Room

900 South FM 3457

Lat. 33.135939   Long.-100.217142

Aspermont Pump House

Corner S Monroe and East 9th

Lat. 33.136220   Long.-100.224285

Aspermont Water Tower

South Washington West 4th Street

Lat. 33.140715   Long.-100.228454

Emergency Contacts:

Lorenzo Calamaco- City Administrator

Office: 940-989-3586 Cell: 940-200-0879

Juan Flores Jr.- Water Superintendent

Office: 940-989-3585   Cell: 940-200-3250

Mailing Address:

City of Aspermont

P. O. Box 277

Aspermont, Tx 79502

Sincerely,

Juan Flores Jr, Water Superintendent

City of Aspermont