## Sheet1
Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | Critical Load Status | Address | Service City | Service Zip Code | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Danny Rowell | 903-784-2464 | 903-732-7871 | drowell@paristexas.gov | GROUND STORAGE PUMPING FACILITY | 1805 7TH N.W. | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Ground Storage | Drinking water | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Danny Rowell | 903-784-2464 | 903-732-7871 | drowell@paristexas.gov | WATER TREATMENT PLANT | 3700 LAKE CROOK | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Drinking water | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Tim Bright | 903-785-6376 | 903-715-7701 | tbright@paristexas.gov | WASTEWATER TREATMENT PLANT | 4250 HWY. 271 NORTH | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater treatment | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Danny Rowell | 903-784-2464 | 903-732-7871 | drowell@paristexas.gov | LAKE CROOK PUMPING FACILITY | 3700 LAKE CROOK | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Drinking water | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | SE LIFT STA | 4255 S.E. LOOP 286 | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Minor Lift Station | Wastewater collection/treatment | No | No | Yes | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Tim Bright | 903-785-6376 | 903-715-7701 | tbright@paristexas.gov | MASTER LIFT STATION | 4176 HWY. 271 NORTH | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Major Lift Station | Wastewater collection/treatment | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Tim Bright | 903-785-6376 | 903-715-7701 | tbright@paristexas.gov | WW TREATMENT PLANT | 4250 HWY 271 NORTH | PARIS | 75460-0000 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater treatment | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | TOCO LIFT STATION | 6500 HWY 82 WEST | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | CITY LOT LIFT STATION | 70 WEST HICKORY | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | FLOW EQ BASIN PUMP STATION | 970 COUNTY ROAD 42200 | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | CAMPBELL SOUP LIFT STATION | 1500 N.W. LOOP 286 | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | BATTLES LIFT STATION | 3320 N.W. LOOP 286 | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | SOUTHEAST LIFT STATION | 4255 S.E. LOOP 286 | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | Yes | No | Yes | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | CHISUM LIFT STATION | 905 S.W. LOOP 286 | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | WOODARD LIFT STATION | 1480 4TH S.W. | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | KIMBERLY CLARK LIFT STATION | 1955 19TH S.W. | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | OLD BONHAM ROAD LIFT STATION | 2405 OLD BONHAM ROAD | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | JEFFERSON HEIGHTS LIFT STATION | 3879 JEFFERSON ROAD | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | BROWNWOOD LIFT STATION | 1965 38TH N.E. | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | OAK CREEK LIFT STATION | 2000 31ST N.E. | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | STONERIDGE LIFT STATION | 3805 48TH N.E. | PARIS | 75460 | PO Box 9037 | Paris | 75461-9037 | Water/Waste Water Treatment Plant | Wastewater collection | No | No | No | No | No | N/A | N/A | 4 hours | N/A
CITY OF PARIS | Doug Harris | Director of Utilities | 903-784-2464 | 903-249-5160 | dharris@paristexas.gov | Kyle Sitz | 903-784-2464 | 903-732-7918 | ksitz@paristexas.gov | AMHERST LIFT STATION | 4003 AMHERST ROAD

## Sheet2
Annual Renewal
New Critical Load Application
Removal from Critical Load List
911 Center
Emergency Alert Sytem Primary or Secondary Transmitter
Fire
Flood Control
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Waste Water Treatment Plant
Water/Waste Water Treatment Plant - Other (provide details)
Yes
No