## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Shawn Reddie |  | CITY OF LAKE WORTH | Ryan Arthur | Fire Chief | 817-255-7951 | 817-320-6791 | rarthur@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009501950 | 4004 MERRETT DR UNIT B | LAKE WORTH | 76135-2906 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Fire |  | Fire Station | Yes | No | Yes | No | Customer |  | 40 |  | 5 seconds
Shawn Reddie |  | CITY OF LAKE WORTH | JT Mannoushagian | Police Chief | 817-255-7931 | 817-372-4495 | jmanoushagian@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009038035 | 6705 CHARBONNEAU RD UNIT A | LAKE WORTH | 76135-3508 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie |  | CITY OF LAKE WORTH | Ryan Arthur | Fire Chief | 817-255-7951 | 817-320-6791 | rarthur@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873129 | 4004 MERRETT DR DEPT FIRE | LAKE WORTH | 76135-2906 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | James Sullivan | PW Superintendent | 817-255-7928 | 817-718-3061 | jsullivan@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720000937788 | 4204FEWELL | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720000970371 | LAKE WORTH STLG-C LED 0-55 | LAKE WORTH | 76135-1006 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873191 | 3601 MOHAWK TRL | LAKE WORTH | 76135-3466 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Ground Storage |  | Pressure Relief Station | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873222 | 6001 AZLE AVE | LAKE WORTH | 76135-2601 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Ground Storage |  | Well Site and Booster Station | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873284 | 7033 NAVAJO TRL | LAKE WORTH | 76135-3944 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Minor Lift Station |  | Poartable Generator Hookup w/1 generator | No | No | Yes | Yes | Customer |  | 194
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873377 | 4512 CLARKE DR | LAKE WORTH | 76135-1602 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Minor Lift Station |  | Poartable Generator Hookup | No | No | No | Yes | Customer
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873408 | 3800 MARINA DR | LAKE WORTH | 76135-2835 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Major Lift Station |  | Major Lift Station | No | No | No | Yes | Customer
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873439 | 4150 LAKEWOOD DR | LAKE WORTH | 76135-2721 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Minor Lift Station |  | Poartable Generator Hookup | No | No | No | Yes | Customer
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873501 | 3501 ROBERTS CUT OFF RD CONC | LAKE WORTH | 76114-1048 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873532 | 3501 ROBERTS CUT OFF RD | LAKE WORTH | 76114-1048 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720001873563 | 3501 ROBERTS CUT OFF RD PARK | LAKE WORTH | 76114-1048 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Barry Barber | Dir of Building Development | 817-255-7923 | 817-913-4834 | bbarber@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720002060535 | 3805 ADAM GRUBB STE A | LAKE WORTH | 76135-3509 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | James Sullivan | PW Superintendent | 817-255-7928 | 817-718-3061 | jsullivan@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720003256380 | 7001 CHARBONNEAU RD | LAKE WORTH | 76135-3427 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720003265401 | 3402 PUEBLO TRL | LAKE WORTH | 76135-3443 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720004429725 | TOWN OF LAKE WORTH STLG 1 | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720004429756 | TOWN OF LAKE WORTH STLG 2 | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720005520985 | 3501 ROBERTS CUT OFF RD GRDL 2 | LAKE WORTH | 76114 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720005521016 | 3501 ROBERTS CUT OFF RD GRDL 1 | LAKE WORTH | 76114 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720005531493 | 3801 ADAM GRUBB GRDL | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Police |  | Police Dept and City Hall | Yes | Yes | Yes | No | Customer |  | 212 |  | 5 seconds
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720005592208 | LAKE WORTH STLG-C LED 101-140 | LAKE WORTH | 76135-1006 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Barry Barber | Dir of Building Development | 817-255-7923 | 817-913-4834 | bbarber@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720006371262 | 3801 ADAM GRUBB | LAKE WORTH | 76135-3509 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720006584509 | 7031 GREENBRIAR CRESCENT ST | LAKE WORTH | 76135-2106 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720006631133 | 3503 ROBERTS CUT OFF RD | LAKE WORTH | 76114-1048 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720007232720 | 6398 AZLE AVE | LAKE WORTH | 76135-2442 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720007360625 | 4500 WOODLAKE DR | LAKE WORTH | 76135-2431 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 |  |  | City Of Ft Worth Interconnect Meter Site | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720007737027 | 4200 FEWELL MTNC | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Barry Barber | Dir of Building Development | 817-255-7923 | 817-913-4834 | bbarber@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008016089 | 3805 ADAM GRUBB | LAKE WORTH | 76135-3509 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | James Sullivan | PW Superintendent | 817-255-7928 | 817-718-3061 | jsullivan@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008115198 | 4200 FEWELL | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008305010 | 4098 PAUL MEADOR DR | LAKE WORTH | 76135-3005 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008604523 | 7209 COMANCHE TRL | LAKE WORTH | 76135-3408 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008666873 | 4180 BOAT CLUB RD UNIT TOWER | LAKE WORTH | 76135-2604 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Ground Storage |  | Well Site and Boster Station | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Kelly McDonald | Purchasing/Risk Manager | 817-255-7950 | 817-471-7465 | kmcdonald@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008724596 | 4200 BOAT CLUB RD GRDL 4, | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008729210 | STREETLIGHT STLG | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008906685 | 3217 DAKOTA TRL TEMP | LAKE WORTH | 76135-4002 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720008918434 | 7029 EDGEMERE PL SEWR | LAKE WORTH | 76135-2713 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Major Lift Station |  | Major Lift Station | No | No | No | Yes | Customer
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009076353 | 4200 BOAT CLUB RD UNIT TOWER | LAKE WORTH | 76135-2606 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Ground Storage |  | Elevated Water Tower | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009478422 | 4200 HODGKINS RD PKNG | LAKE WORTH | 76135-2133 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009478453 | 03691 NW CENTER DR PUMP | LAKE WORTH | 76135 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 |  |  | City Of Ft Worth Interconnect Meter Site | No | No | No | No
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009581403 | 6801 CHARBONNEAU RD | LAKE WORTH | 76135-3446 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135 | Major Lift Station |  | Major Lift Station | No | No | Yes | Yes | Customer |  | 400
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | James Sullivan | PW Superintendent | 817-255-7928 | 817-718-3061 | jsullivan@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009909752 | 7005 CHARBONNEAU RD | LAKE WORTH | 76135-3427 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135
Shawn Reddie | NEW CRITICAL LOAD APPLICATION | CITY OF LAKE WORTH | Mike Shelley | PW Superintendent | 817-255-7929 | 817-247-3577 | mshelley@lakeworthtx.org | Mike Christenson | 817-255-7921 | 817-682-8033 | mchristenson@lakeworthtx.org | 10443720009987814 | 6300 LAKESIDE DR | LAKE WORTH | 76135-2349 |  | 3805 ADAM GRUBB | LAKE WORTH | 76135

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)