## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 1044372000444518 | 7550 Lynnwood Dr. | GRAND PRAIRIE | 75054- |  |  | GRAND PRAIRIE |  | Major Lift Station |  | Lakeway LS | Yes | No | Yes | No | Customer |  | 35 | 24hrs | Instant |  | 480 Three Phase
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 1443720002119950 | 1802 Avenue A - Reservoir | GRAND PRAIRIE | 75051- |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Reservoir | Yes | No | Yes | No | Customer |  | 100 | 24Hrs | Instant |  | 277/480/3 Phase
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10403720002120325 | 903 W Hunter Ferrell @ N Belt Line | GRAND PRAIRIE | 75050 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Hunter Ferrell Well | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720000007146 | 7302 Neblina Dr | GRAND PRAIRIE | 75054 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Neblina LS | No | No | No | no
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720000027451 | 1502 Duncan Perry Rd | GRAND PRAIRIE | 75050-2723 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water Flow Vault | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720001593094 | 1825 Straus Rd. | GRAND PRAIRIE | 75104 |  |  | CEDAR HILL |  | Ground Storage |  | Terminal Storage | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002118465 | 138 NE 14th St @ Small Hill | GRAND PRAIRIE | 75050-5233 |  |  | GRAND PRAIRIE |  | Water Tower |  | Elevated Water Tower | No | No | No | No
Buddy Bridges | Annual Renewal | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002118961 | 5206 MATTHEW RD OLD DEPT FIRE | GRAND PRAIRIE | 75052-2217 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water | Yes | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119581 | 2201 109th Street | GRAND PRAIRIE | 75050 |  |  | GRAND PRAIRIE |  | Water Tower |  | Elevated Water Tower | No | No | No | No
Buddy Bridges | Annual Renewal | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119612 | 319 N BELT LINE RD | GRAND PRAIRIE | 75050-5802 |  |  | GRAND PRAIRIE |  | Water/Wastewater Treatment Plants |  | Water/Wastewater Treatment Plants | Yes | No | Yes | No | Customer |  | 500
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119674 | 620 Small Hill St | GRAND PRAIRIE | 75050-5797 |  |  | GRAND PRAIRIE |  | Pump Station |  | Water Pumphouse | Yes | No | Yes | Yes | Customer |  | 500 | 24hrs | Instant |  | Triple feed from Small Hill St, 318 N. Beltline, Generator 480 Three Phase
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119767 | 1802 Ave A @ E Marshall | GRAND PRAIRIE | 75051- |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Ave A Well | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119798 | 1802 Avenue A - Reservoir | GRAND PRAIRIE | 75051- |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Reservoir | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119736 | 1702 Robinson Rd @ W Marshall | GRAND PRAIRIE | 75051-2848 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Robinson Rd EST/Well | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119705 | 1702 Robinson Rd. - Booster Station | GRAND PRAIRIE | 75051-2848 |  |  | GRAND PRAIRIE |  | Pump Station |  | Booster Station | No | No | No | No
Buddy Bridges | Annual Renewal | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119953 | 5210 MATTHEW RD | GRAND PRAIRIE | 75052-2217 |  |  | GRAND PRAIRIE |  | Pump Station |  | Water Pump Station | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002119922 | 2650 Astor Ln | GRAND PRAIRIE | 75051 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water Well | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720002120325 | 2005 Performance | GRAND PRAIRIE | 75050 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Performance LS | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720004013092 | 5700 Lake Ridge Pkwy | GRAND PRAIRIE | 75052-5714 |  |  | GRAND PRAIRIE |  | Major Lift Station |  | Lynn Creek Oasis LS15 | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720005570181 | 570 E Camp Wisdom @ FM 1382 | GRAND PRAIRIE | 75052 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water Flow Vault | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720005581163 | 13900 Trinity Blvd, Ft Worth | GRAND PRAIRIE | 76040 |  |  | FT WORTH |  | Ground Storage |  | Water Supply Vault | No | No | no | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006106614 | 1005 Cove Meadow (@ 840 Bentwater | GRAND PRAIRIE | 75052 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Cove Meadow LS | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006202001 | 318 1/2 N Beltline R | GRAND PRAIRIE | 75050 |  |  | GRAND PRAIRIE |  | Pump Station |  | Waterpumphouse Chlorine Pump | Yes | No | Yes | No | Customer |  | 500 | 24Hrs | Instant |  | 480 Three Phase
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006271410 | 2850 Safran @ Forum Dr | GRAND PRAIRIE | 75052-8187 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Traders's Village EST/Well | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006350305 | 760 Bardin Rd | GRAND PRAIRIE |  |  |  | GRAND PRAIRIE |  |  |  | Cooling/Warming #1 Warmack | No | No | No | No
Buddy Bridges | New Critical Load Application | cITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006365712 | 1102 MacArthur | GRAND PRAIRIE | 75050-7944 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Landfill LS | No | No | No | No
Buddy Bridges | Annual Renewal | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006453008 | 7201 LAKE RIDGE PKWY | GRAND PRAIRIE | 75052-0000 |  |  | GRAND PRAIRIE |  | Major Lift Station |  | Major Lift Station | Yes | No | Yes | No | Customer |  | 600
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006526837 | 624 S. Beltline Rd, Irving | GRAND PRAIRIE | 75050 |  |  | IRVING |  | Water/Wastewater - Other (provide details) |  | Water Supply Vault | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006550101 | 3895 S Carrier Pkwy | GRAND PRAIRIE | 75052- |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water Flow Vault | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006567491 | 5927 Waterford | GRAND PRAIRIE | 75052-8524 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Waterford Rd LS | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720006593314 | 2700 Graham | GRAND PRAIRIE | 75050 |  |  | GRAND PRAIRIE |  | Water Tower |  | Elevated Water Tower | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720009120651 | 6720 S. Hwy 360 | GRAND PRAIRIE | 76063 |  |  | GRAND PRAIRIE |  | Water Tower |  | Elevated Water Tower | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720009494909 | 2001 Robinson (Behind Brick Wall) | GRAND PRAIRIE | 75051 |  |  | GRAND PRAIRIE |  | Water/Wastewater - Other (provide details) |  | Water Flow Vault | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 10443720009587715 | 1525 Straus Rd | GRAND PRAIRIE | 75104 |  |  | CEDAR HILL |  | Ground Storage |  | Storage Tank | No | No | No | No
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 83588012 (Hilco co-op uses meter numbers only) | 3212 Koscher Dr ( Hilco Customer service # 1800-238-6425) | GRAND PRAIRIE | 75104 |  |  | GRAND PRAIRIE |  | Minor Lift Station |  | Koscher Rd LS | Yes | No | Yes | No | Customer |  | 40 | 24hrs | Instant |  | 230 Single Phase
Buddy Bridges | New Critical Load Application | CITY OF GRAND PRAIRIE | Water Dispatch |  | 9722378400 |  | waterdispatch@gptx.org | Daniel Camehl | 9722378424 | 4695046434 | dcamehl@gptx.org | 98930056(Hilco co-op uses meter numbers only) | 4351 Gifco Rd, Midlothian (Hilco Customer service # 1-800-238-6425) | GRAND PRAIRIE | 76065 |  |  | MIDLOTHIAN |  | Major Lift Station |  | Gifco LS | Yes | No | Yes | No | Customer |  | 600 | 24hrs | Instant |  | 480 Three Phase

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)