Santo Special Utility District

P.O. Box 248

Santo, Texas 76472

Ph # (940)769-4594

October 29, 2021

Our system is Santo Special Utility District. It was once called Santo Water Supply Corporation. Here is a list of pump station locations with service addresses:

- Live Oak Pump Station (18,000 gallon storage tank & 35,000 gallon storage tank) - 2740 Live Oak Rd

- Bugle Mountain (200,000 gallon storage tank, 2,000 gallon pressure tank)- 81550 I-20 (on Carter Ranch)

- Chesnut Mountain #1 (18,000 gallon storage tank)- 395 Chesnut Mtn Rd

- Double Mountain (200,000 gallon storage tank)- 550 Russell Rd

- 2201 Pump- 1250 Fm 2201

- Sparks Booster- 392 Live Oak Rd

- Chesnut Mountain #2 (200,000 gallon storage tank & 3,000 gallon pressure tank)- 900 Chesnut Mtn Rd

I am attaching a map that pin points where these are located in our service area. We currently service 1022 connections and are an affected utility.

Donnie Lewis is our Operations Manager. His contact number is 940-659-8033.

Misty Mills is our office contact. The office number is 940-769-4594.

Our mailing address is at the top of this letter.