## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Site Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 1 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | FB116107080LG | 3911 S. Broadway Avenue | Flower Mound | 75028 |  | 3911 South Broadway Ave | Flower Mound | 75028 | Fire |  | Main fire station, EOC, Critical to residents. | Yes | No | Yes | No | Customer | 0 | 225 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 2 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | ZLA115246277FM16E | 4401 Shiloh Road | Flower Mound | 75022 |  | 4401 Shiloh Road | Flower Mound | 75022 | Fire |  | Fire station, critical to Flower Mound residents | Yes | No | Yes | No | Customer | 0 | 350 | 16 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 3 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | FB115187128LG | 2020 Woodhill Drive | Flower Mound | 75022 |  | 2020 Woodhill Drive | Flower Mound | 75022 | Fire |  | Fire station, critical to Flower Mound residents | Yes | No | Yes | No | Customer | 0 | 125 | 12 hrs | 5 seconds
Steve Elk | New Critical Load Application | town of Flower Mound | Fire Station 4 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | ZLA118714800FM16E | 4601 Bridlewood Boulevard | Flower Mound | 75028 |  | 4601 Bridlewood Blvd | Flower Mound | 75028 | Fire |  | Fire station, critical to Flower Mound residents | Yes | No | Yes | No | Customer | 0 | 300 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 5 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | KZA116997042FM9S | 800 Spinks Road | Flower Mound | 75028 |  | 800 Spinks Road | Flower Mound | 75028 | Fire |  | Fire station, critical to Flower Mound residents | Yes | No | Yes | No | Customer | 0 | 300 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 6 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | TEA116997593FM16S | 6566 Stonecrest Road | Flower Mound | 76226 |  | 6566 Stonecrest Road | Flower Mound | 76226 | Fire |  | Fire station, critical to Flower Mound residents | No | No | No | No
Steve Elk | New Critical Load Application | Town of Flower Mound | Fire Station 7 | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Brandon Barth | 972-874-6203 | 770-883-6245 | brandon.barth@flower-mound.com | 158707023 | 2777 Skillern Road | Flower Mound | 75022 |  | 2777 Skillern Road | Flower Mound | 75022 | Fire |  | Fire station, critical to Flower Mound residents | Yes | Yes | Yes | No | Customer | 2 | 350 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Fueling Station | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 817-300-8574 | chuck.dunn@flower-mound.com | 9000273652-397908 | 1101 Duncan Lane | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Police |  | Fleet Services, support Town vehicles & emergency response | Yes | No | Yes | No | Customer | 0 | 350 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Town Hall | Jeff Garner | Facilities Director | 972-874-6438 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 817-300-8574 | chuck.dunn@flower-mound.com | 10443720003409090-134293270LG | 2121 Cross Timbers | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | 911 Center |  | Town executive staff location, Shelter location | Yes | Yes | Yes | No | Customer | 100 | 400 | 40 | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Animal Adoption Center | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 817-300-8574 | chuck.dunn@flower-mound.com | 9000273614-359739 | 3950 Justin Rd | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | 911 Center |  | Required Animal Control, Disaster shelter location | No | No | No | No
Steve Elk | New Critical Load Application | Town of Flower Mound | Community Activity Center | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6064 | 817-300-8574 | chuck.dunn@flower-mound.com | 9000273644-397843 | 1200 Gerault Road | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | 911 Center |  | Disaster shelter location | No | No | No | No
Steve Elk | New Critical Load Application | Town of Flower Mound | Flower Mound Senior Center | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | Jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 817-300-8574 | chuck.dunn@flower-mound.com | 9000273705-513512 | 2701 West Windsor Drive | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | 911 Center |  | Disaster shelter location | No | No | No | No
Steve Elk | New Critical Load Application | Town of Flower Mound | Police & Courts Building | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 817-300-8574 | chuck.dunn@flower-mound.com | 10443720006389039-134573423LG | 4150 Kirkpatrick | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Police |  | Police, Municipal Court, 911 Dispatch, Jail | Yes | Yes | Yes | No | Customer | 100 | 300 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Public Library | Jeff Garner | Facilities Director | 972-874-6064 | 214-679-3866 | jeff.garner@flower-mound.com | Chuck Dunn | 972-874-6063 | 871-300-8574 | chuck.dunn@flower-mound.com | 10443720008068216-147646917LG | 3030 Broadmoor Lane | Flower Mound | 75022 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | 911 Center |  | Disaster shelter location | No | No | No | No
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Bella Lago | Ronnie Bates | Assistant Director of Public Works | 972-874-6415 | 214-649-9597 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 940-368-0665 | Clayton.Riggs@flower-mound.com | 9000273632-611396 | 3104 Bella Lago Drive | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 4.6 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Water Tower - Bruton Orand | Ronnie Bates | Assistant Director of Public Works | 972-874-6416 | 214-649-9598 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 940-368-0666 | Clayton.Riggs@flower-mound.com | 9000273489-394994 | 3810 Bruton Orand | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Water Tower |  | Critical to supply water and water system pressure | No | No | No | no | Customer | 3 | 0 | 1hr | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Emerald Bay | Ronnie Bates | Assistant Director of Public Works | 972-874-6417 | 214-649-9599 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 940-368-0667 | Clayton.Riggs@flower-mound.com | 9000273559-607171 | 2104 Paradise Lane | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 4.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Water Tower - Freeman | Ronnie Bates | Assistant Director of Public Works | 972-874-6418 | 214-649-9600 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 940-368-0668 | Clayton.Riggs@flower-mound.com | 10443720008931728-114704174LG | 4400 Freeman Road | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Water Tower |  | Critical to supply water and water system pressure | No | No | No | No | Customer | 0.9 | 0 | 2 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Garden Ridge | Ronnie Bates | Assistant Director of Public Works | 972-874-6420 | 214-649-9602 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9601 | Clayton.Riggs@flower-mound.com | 9000273437-398501 | 2218 Garden Ridge | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 4.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Glen Chester | Ronnie Bates | Assistant Director of Public Works | 972-874-6422 | 214-649-9604 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9603 | Clayton.Riggs@flower-mound.com | 10443720006583564-116107079LG | 1000 Glen Chester | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 30 | 5.7 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Justin Rd | Ronnie Bates | Assistant Director of Public Works | 972-874-6423 | 214-649-9605 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9604 | Clayton.Riggs@flower-mound.com | 9000273502-359002 | 2091 Justin Rd | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 100 | 20.75 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Kipling | Ronnie Bates | Assistant Director of Public Works | 972-874-6424 | 214-649-9606 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9605 | Clayton.Riggs@flower-mound.com | 10443720006460122-119587633LG | 1721 Kipling Dr. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 40 | 11.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Kirkpatrick | Ronnie Bates | Assistant Director of Public Works | 972-874-6425 | 214-649-9607 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9606 | Clayton.Riggs@flower-mound.com | 9000273609-398550 | 5201 Kirkpatrick | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 100 | 20.75 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - La Salle | Ronnie Bates | Assistant Director of Public Works | 972-874-6426 | 214-649-9608 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9607 | Clayton.Riggs@flower-mound.com | 9000273642-360003 | 2009 La Salle | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 4.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | O & M Building - Public Works | Ronnie Bates | Assistant Director of Public Works | 972-874-6428 | 214-649-9610 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9609 | Clayton.Riggs@flower-mound.com | 9000273702-582126 | 201 Spinks Rd. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Water/Wastewater - Other (provide details) |  | Water & Wastewater control center, Public Works, Critical to disaster response. | Yes | Yes | Yes | No | Customer | 100 | 400 | 24 hrs | 5 seconds
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Oak Street | Ronnie Bates | Assistant Director of Public Works | 972-874-6429 | 214-649-9611 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9610 | Clayton.Riggs@flower-mound.com | 9000273390-397588 9000273391-397587 | 851 Oak Dr. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | Yes | Customer | 0 | 563 | 20.75 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Park Bend | Ronnie Bates | Assistant Director of Public Works | 972-874-6430 | 214-649-9612 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9611 | Clayton.Riggs@flower-mound.com | 10443720006924192-115187127LG | 3817 Park Bend Dr. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 4.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Pump Station - Pintail Water Storage | Ronnie Bates | Assistant Director of Public Works | 972-874-6431 | 214-649-9613 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9612 | Clayton.Riggs@flower-mound.com | 9000273527-398035 | 515 Pintail | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Pump Station |  | Critical to supply water and water system pressure | Yes | No | Yes | No | Oncor | 0 | 1020 | 24 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Point Noble | Ronnie Bates | Assistant Director of Public Works | 972-874-6432 | 214-649-9614 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9613 | Clayton.Riggs@flower-mound.com | 9000273494-359225 | 5203 Prince Dr. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 30 | 5.65 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Sanctuary | Ronnie Bates | Assistant Director of Public Works | 972-874-6433 | 214-649-9615 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9614 | Clayton.Riggs@flower-mound.com | 10443720009647200-116106907LG | 2144 Simmons Rd | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 50 | 11.5 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Service Center - Public Works | Ronnie Bates | Assistant Director of Public Works | 972-874-6434 | 214-649-9616 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9615 | Clayton.Riggs@flower-mound.com | 9000273615-553294 | 1105 Duncan Lane | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 |  |  | Warehouse and equipment storage | No | No | No | No | Customer | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - South Side | Ronnie Bates | Assistant Director of Public Works | 972-874-6436 | 214-649-9618 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9617 | Clayton.Riggs@flower-mound.com | 10443720008296717-134571710LG | 101 International Pkwy | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 300 | 8.8 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Pump Station - Stone Hill | Ronnie Bates | Assistant Director of Public Works | 972-874-6437 | 214-649-9619 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9618 | Clayton.Riggs@flower-mound.com | 9000273597 just acct # | 6200 Stone Hill Farms Pkwy | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Pump Station |  | Critical to supply water and water system pressure | No | No | No | Yes | Customer | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Twin Coves RV Park | Ronnie Bates | Assistant Director of Public Works | 972-874-6439 | 214-649-9621 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9620 | Clayton.Riggs@flower-mound.com | 10443720009647200-122657910LG | 5001 Wichita Trl | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | No | No | No | No | Customer | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Water Storage - Waketon | Ronnie Bates | Assistant Director of Public Works | 972-874-6440 | 214-649-9622 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9621 | Clayton.Riggs@flower-mound.com | 9000273531-379171 | 2130 Waketon | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Water Tower |  | Critical to supply water and water system pressure | No | No | No | No | Customer | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Wastewater Treatment Plant - | Ronnie Bates | Assistant Director of Public Works | 972-874-6441 | 214-649-9623 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9622 | Clayton.Riggs@flower-mound.com | 9000273388 Just acct # 553294 | 1101 Duncan Lane | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Water/Wastewater Treatment Plants |  | Water & Wastewater control center Critical to water, sewer operations, and environmental protection | No | No | No | Yes | Customer | 0 | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Pump Station - Western | Ronnie Bates | Assistant Director of Public Works | 972-874-6442 | 214-649-9624 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9623 | Clayton.Riggs@flower-mound.com | 9000273709-360643 | 6600 Stonecrest | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Pump Station |  | Critical to supply water and water system pressure | No | No | No | No | Customer | 0 | 0 | 0
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Wichita 1 | Ronnie Bates | Assistant Director of Public Works | 972-874-6443 | 214-649-9625 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9624 | Clayton.Riggs@flower-mound.com | 10443720006741819-116105393LG | 5100 Wichita Trail | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 100 | 20.75 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Wichita 2 | Ronnie Bates | Assistant Director of Public Works | 972-874-6444 | 214-649-9626 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9625 | Clayton.Riggs@flower-mound.com | 10443720007678019-103211767LG | 4500 Wichita Trail | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 125 | 24.79 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Chinn Chapel | Ronnie Bates | Assistant Director of Public Works | 972-874-6445 | 214-649-9627 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9626 | Clayton.Riggs@flower-mound.com | 9000273681-359035 | 6711 Chinn Chaple Rd. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 37 | 5.7 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Wickersham | Ronnie Bates | Assistant Director of Public Works | 972-874-6446 | 214-649-9628 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9627 | Clayton.Riggs@flower-mound.com | 10443720007747242-116109194LG | 3301 Wickersham Dr. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Major Lift Station |  | Critical to maintain sewer collection system, public health, and environment | Yes | No | Yes | No | Customer | 0 | 27 | 5.7 hrs | instant
Steve Elk | New Critical Load Application | Town of Flower Mound | Lift Station - Yucca | Ronnie Bates | Assistant Director of Public Works | 972-874-6447 | 214-649-9629 | Ronnie.Bates@flower-mound.com | Clay Riggs | 972-874-6411 | 214-649-9628 | Clayton.Riggs@flower-mound.com | 10443720001238570-147647415LG | 2601 Cross Timbers Rd. | Flower Mound | 75028 |  | 2121 Cross Timbers Road | Flower Mound | 75028 | Minor Lift Station |  | Critical to maintain sewer collection system, public health, and environment | No | No | No | No | Customer | 0 | 0

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)