## CRITICAL FACILITES_PUCT
Attachment - City of Stephenville Critical Load Status Facilities
Critical Facility | Service Address |  |  |  |  | Designation Support Details | Description of Backup Power | Generator Capacity
| Street | City | Zip | ESI# | Facility Type
ELECTRIC PROVIDER: ONCOR
LILLIAN PS | 1420 S LILLIAN | STEPHENVILLE | 76401 | #10443720006647593 | WATER TREATMENT PLANT | PROVIDES POTABLE WATER TO CRITICAL CUSTOMERS AND TO CITY | GENERATOR ONSITE | 400 kW
AIRPORT PS | 835 AIRPORT RD | STEPHENVILLE | 76401 | #10443720002734944 | WATER TREATMENT PLANT | PROVIDES POTABLE WATER TO CRITICAL CUSTOMERS AND TO CITY | GENERATOR ONSITE | 180 kW
GARFIELD PS | 800 N GARFIELD | STEPHENVILLE | 76401 | #10443720008255021 | WATER TREATMENT PLANT | PROVIDES POTABLE WATER TO CRITICAL CUSTOMERS AND TO CITY | GENERATOR ONSITE | 20 kW
GARFIELD RADIO ROOM | 800 N GARFIELD | STEPHENVILLE | 76401 | #10443720002634752 | PUMP STATION/WATER TOWER | CONTROLS THE WATER SYSTEM OPERATIONS | GENERATOR ONSITE | 20 kW
377 PS | 401 CR 257 | STEPHENVILLE | 76401 | #10443720002810460 | PUMP STATION/WATER TOWER | PROVIDES POTABLE WATER TO CRITICAL CUSTOMERS AND TO CITY | GENERATOR ONSITE | 220 kW
DUBLIN PS | 601 W DOUGLAS | DUBLIN | 76446 | #10443720008757204 | PUMP STATION/WATER SUPPLY | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | GENERATOR ONSITE | 150 kW
SAFEWAY WATER WELL | 732 LINGLEVILLE | STEPHENVILLE | 76401 | #10443720002686646 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
HARBIN WATER WELL | 2100 LINGLEVILLE | STEPHENVILLE | 76401 | #10443720002720281 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
DALE WATER WELL | 2274 W TARLETON | STEPHENVILLE | 76401 | #10443720002765975 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
RAILROAD WATER WELL | 432 S LILLIAN | STEPHENVILLE | 76401 | #10443720002623654 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
WASTEWATER TREATMENT PLANT | 900 CR 454 | STEPHENVILLE | 76401 | #10443720007232827 | WWTP | PROVIDES TREATMENT FOR SANITATION/HEATLTH REQUIREMENTS | GENERATOR ONSITE | N/A
WWTP LIFT STATION | 900 CR 454 | STEPHENVILLE | 76401 | #10443720007232796 | WWTP | CRITIAL FACILITY TO PREVENT WASTEWATER OVERFLOWS | GENERATOR ONSITE | 100 kW
WWTP MAINTENANCE | 900 CR 454 | STEPHENVILLE | 76401 | #10443720002639433 | WWTP | PROVIDES TREATMENT FOR SANITATION/HEATLTH REQUIREMENTS | GENERATOR ONSITE | 250 kW
WWTP PUMP STATION | 900 CR 454 | STEPHENVILLE | 76401 | #10443720009305914 | WWTP | CRITIAL FACILITY TO PREVENT WASTEWATER OVERFLOWS | GENERATOR ONSITE | N/A
FIRE STATION* | 1301 PECAN HILL | STEPHENVILLE | 76401 | #10443720009597490 | FIRE STATION | FIRE STATION | GENERATOR ONSITE | 100 kW
FIRE/POLICE STATION* | 356 N BELKNAP | STEPHENVILLE | 76401 | #10443720002712562 | FIRE/POLICE STATION | FIRE AND POLICE STATION | GENERATOR ONSITE | 220 kW
ELECTRIC PROVIDER: UNITED COOPERATIVE SERVICES (INCLUDES METER NUMBER IN PLACE OF ESI NUMBER)
BROWN WATER WELL | 4112 US 67 | STEPHENVILLE | 76401 | 001-600-227 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
YOUNG WATER WELL | 1332 CR 490 | STEPHENVILLE | 76401 | 097-641-219 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
DUNSON I WATER WELL | 227 CR 488 | STEPHENVILLE | 76401 | 079-641-219 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
DUNSON II WATER WELL | 1084 CR 488 | STEPHENVILLE | 76401 | 021-492-214 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
STACY WATER WELL | 7065 US 67 | STEPHENVILLE | 76401 | 078-341-471 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
LINCOLN WATER WELL | 1339 CR 182 | STEPHENVILLE | 76401 | 078-340-394 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
LINDLEY WATER WELL | 2581 CR 182 | STEPHENVILLE | 76401 | 021-492-179 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
HUEY I WATER WELL | 4233 CR 182 | STEPHENVILLE | 76401 | 020-716-477 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
HUEY II WATER WELL | 368 PR 701 | STEPHENVILLE | 76401 | 078-340-771 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
MCINROE WATER WELL | 5100 FM 914 | STEPHENVILLE | 76401 | 078-340-364 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
ALLBRITTON WATER WELL | 6452 FM 914 | STEPHENVILLE | 76401 | 149-480-438 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
PACK WATER WELL | 7688 FM 914 | STEPHENVILLE | 76401 | 078-340-848 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
TAYLOR NORTH WATER WELL | 8680 FM 914 | STEPHENVILLE | 76401 | 018-678-763 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
TAYLOR SOUTH WATER WELL | 9792 FM 914 | STEPHENVILLE | 76401 | 078-340-845 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
MCALLISTER WATER WELL | 10656 FM 914 | STEPHENVILLE | 76401 | 018-457-400 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
MCCOY WATER WELL | 11438 FM 914 | STEPHENVILLE | 76401 | 018-572-484 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
SHARP WATER WELL | 12444 FM 914 | STEPHENVILLE | 76401 | 093-532-828 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
LILLJEDAHL WATER WELL | 4675 CR 253 | STEPHENVILLE | 76401 | 079-641-220 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
FARRAR WATER WELL | 575 CR 278 | STEPHENVILLE | 76401 | 074-684-335 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
PACK II WATER WELL | 1086 CR 273 | STEPHENVILLE | 76401 | 078-341-177 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
G GREENWAY WATER WELL | 3570 CR 522 | STEPHENVILLE | 76401 | 078-340-493 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
B1 GREENWAY WATER WELL | 3517 CR 522 | STEPHENVILLE | 76401 | 021-492-225 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
B2 GREENWAY WATER WELL | 2465 CR 522 | STEPHENVILLE | 76401 | 021-492-228 | WATER WELL | WATER SOURCE TO SUPPLY WATER TO TREATMENT PLANT | NONE | N/A
SIREN | 528 CR 386 | STEPHENVILLE | 76401 | 093-532-828 | SIREN | WARNING SIREN | NONE | N/A
377 EST |  | STEPHENVILLE | 76401 | 078-340-414 | ELEVATED STORAGE TANK | SUPPLIES REQUIRED WATER PRESSURE TO CUSTOMERS/WARNING SIREN | NONE | N/A
* Emergency and Alternate Contacts for these facilities are as follows:
Fire: |  |  |  |  | Police:
Emergency Contact:
Nick Williams
Public Works Director
254.918.1223
nwilliams@stephenvilletx.gov
Alternate Contact:
Jeremy Jennings
Utilities Superintendent
254.977.3088
jjennings@stephenvilletx.gov
Cusotmer Information:
City of Stephenville
298 W Washington
Stephenville, Texas 76401
Emergency Contact:
Robert Isbell
Fire Chief
254.918.1236
risbell@stephenvilletx.gov
Alternate Contact:
Scott Brinkley
254.918.1249
sbrinkley@stephenvilletx.gov
Emergency Contact:
Dan Harris
Police Chief
254.918.1273
dharris@stephenvilletx.gov
Alternate Contact:
Jeff Walker
254.918.1283
jwalker@stephenvilletx.gov