## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 10443720004212776 | 103 W 3RD DEPT POLIC | VENUS | 76084-0000 |  | 700 W. US HWY 67 | Venus | 76084 | Police |  | Vacant Building - No critical Load | No | No | No | No | Customer |  |  | No demand | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 10443720004212962 | 103 W 3RD ST UNIT VLFD | VENUS | 76084-0000 |  | 700 W. US HWY 67 | Venus | 76084 | Fire |  | Radio and communication equipment for FD and PD | No | No | No | No | Customer |  |  | None | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 10443720007812108 | 116 N HIGHWAY 157 | VENUS | 76084-0000 | 32.26'17.88 N - 97.06'29.93 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | Main LS for Old part of town. Cannot withstand extended power outage | No | No | No | No | Customer |  |  | 90 minutes | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 143923072 |  | VENUS | 76084-0000 | 32.25'30.68 N - 97.05'56.89 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | LS for all Venus ISD school buildings | No | No | No | No | Customer |  |  | 90 minutes | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 162806428 |  | VENUS | 76084-0000 | 32.24'35.42 N - 97.05'42.89 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | LS for Prison Facility | No | No | No | No | Customer |  |  | 30 minutes | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 162806389 |  | VENUS | 76084-0000 | 32.24'35.42 N - 97.05'42.89 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | LS for Prison Facility | No | No | No | No | Customer |  |  | 30 minutes | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 159449140 |  | VENUS | 76084-0000 | 32.24'04.59 N - 97.06'12.85 W | 700 W. US HWY 67 | Venus | 76084 | Minor Lift Station |  | Minor LS for few homes | No | No | No | No | Customer |  |  | 12 hours | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 159449141 |  | VENUS | 76084-0000 | 97.06'38.61 N - 97.06'38.61 W | 700 W. US HWY 67 | Venus | 76084 | Minor Lift Station |  | Minor LS for few homes | No | No | No | No | Customer |  |  | 8 hours | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 149480038 |  | VENUS | 76084-0000 | 32.25'02.08 N - 97.07'11.51 W | 700 W. US HWY 67 | Venus | 76084 | Minor Lift Station |  | Minor LS for few homes | No | No | No | No | Customer |  |  | 8 hours | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 10443720006620329 | At Savanh, Venus Tx | VENUS | 76084-0000 | 32.25'01.61 N - 97.06'38.37 W | 700 W. US HWY 67 | Venus | 76084 | Minor Lift Station |  | Minor LS for few homes | No | No | No | No | Customer |  |  | 12 hours | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 160047394 |  | VENUS | 76084-0000 | 32.26'36.18 N - 97.04'59.95 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | LS for approximately 1500 homes | Yes | No | No | No | Customer |  | 150 | 90 minutes | No
| Annual Renewal | CITY OF VENUS | Troy Hopkins | Public Works Director | (972)366-3435 | (817)401-8210 | thopkins@cityofvenus.org | Tonya Roberts | (972)366-3438 | (469)853-3026 | troberts@cityofvenus.org | 10443720006733556 | 600 E. County Road 109 | VENUS | 76084-0000 | 32.25'52.86 N - 97.05'40.81 W | 700 W. US HWY 67 | Venus | 76084 | Major Lift Station |  | LS for approximately 300 homes | No | No | No | No | Customer |  |  | 3 hours | No

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)