| NPRR Number | 1105 | NPRR Title | Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) |
| --- | --- | --- | --- |
| Impact Analysis Date |  | November 22, 2021 |  |
| Estimated Cost/Budgetary Impact |  | Between $80k and $120k |  |
| Estimated Time Requirements |  | Phase 1: No project required. This Nodal Protocol Revision Request (NPRR) can take effect upon Public Utility Commission of Texas (PUCT) prioritization and approval. Phase 2: The timeline for implementing this Nodal Protocol Revision Request (NPRR) is dependent upon Public Utility Commission of Texas (PUCT) prioritization and approval. Estimated project duration: 6 to 9 months See Comments |  |
| ERCOT Staffing Impacts (across all areas) |  | Implementation Labor: 73% ERCOT; 27% Vendor Ongoing Requirements: No impacts to ERCOT staffing. |  |
| ERCOT Computer System Impacts |  | The following ERCOT systems would be impacted: - Market Operation Systems 55% - Data Management & Analytic Systems 32% - Energy Management Systems 14% |  |
| ERCOT Business Function Impacts |  | ERCOT will update its business processes to implement this NPRR. |  |
| Grid Operations & Practices Impacts |  | ERCOT will update its grid operations and practices to implement this NPRR. |  |

Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation

None offered.

Comments

Phase 1 will implement changes to the following Nodal Protocol sections: - 6.5.9.4.1, General Procedures Prior to EEA Operations - 6.5.9.4.2, EEA Levels Phase 2 will implement changes to the following Nodal Protocol section: - 6.5.7.3.1, Determination of Real-Time On-Line Reliability Deployment Price Adder