TO:		Chairman Peter Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

FROM:	Rebecca Zerwas, Market Analysis

DATE:		December 15, 2021

RE:	December 16, 2021 Open Meeting – Item No. 26

Project No. 52307 – Review of Rules Adopted by the Independent Organization in Calendar Year 2021 (Discussion and possible action)

Senate Bill (SB) 2 (87th Legislature, Regular Session) requires both the Commission and the Electric Reliability Council of Texas (ERCOT) to establish processes for Commission approval of any rules or protocols adopted under authority delegated from the Commission to the independent organization.  Commission Staff will utilize Project No. 52307, Review of Rules Adopted by the Independent Organization in Calendar Year 2021, to facilitate this review and approval.  Staff continues to work with ERCOT on amendments to the revision request approval process in anticipation of Project No. 52301, ERCOT Governance and Related Issues, and a full implementation of SB2.

Since the Commission adopted an order approving the last set of ERCOT rules at the October 28, 2021 Open Meeting, the Technical Advisory Committee (TAC) and Board of Directors (Board) have each met and passed nineteen additional rules through the stakeholder process.  These include ten Nodal Protocol Revision Requests (NPRRs), one Planning Guide Revision Request (PGRR), two Resource Registration Glossary Revision Requests (RRGRRs), four Nodal Operating Guide Revision Requests (NOGRRs) and two Other Binding Document Revision Requests (OBDRRs). These matters are now pending at the Commission prior to ERCOT implementation.

First, Staff requests consideration of two rules approved by TAC at its November 29, 2021 meeting:

- NOGRR231, Remove ERCOT Regional Map.  Staff recommends approval to remove any confusion regarding the boundaries or definition of the ERCOT Region from the Nodal Operating Guide.

- RRGRR030, Allow New Voltage Levels in Resource Registration Information.  Staff recommends approval to remove the hard coding of voltage levels for certain Resource Registration information to eliminate validation errors when data is submitted that uses a voltage level not on the list.

Included for your review are the TAC Report and ERCOT Impact Analysis.  These documents are intended to provide a comprehensive overview describing the revisions, including ERCOT’s market impact statement.

Next, Staff requests consideration of the following seventeen rules as approved by Board at its December 10, 2021 meeting:

- NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs.  Staff recommends approval in support of the extension of the self-limiting facility to SOGs, including addressing requirements for facilities that are connected at distribution voltage, and the greater visibility of SOG performance provided to ERCOT operations and planning personnel.

- NPRR1091, Changes to Address Market Impacts of Additional Non-Spin Procurement.  Staff recommends approval to address energy price suppression and liquidity issues created by recent changes to ancillary service procurement and deployments.

- NPRR1094, Allow Under Frequency Relay Load to be Manually Shed During EEA3.  Staff recommends approval in support of the improved efficiency and reliability provided by removing restrictions on manually shedding under frequency relay load shed feeder-connected load during an EEA Level 3.

- NPRR1101, Create Non-Spin Deployment Groups made up of Generation Resources Providing Off-Line Non-Spinning Reserve and Load Resources that are Not Controllable Load Resources Providing Non-Spinning Reserve.  Staff recommends approval in support of the continued efforts to increase the procurement of ancillary services  and deploy Non-Spin in a technology agnostic manner.

- NPRR1103, Securitization – PURA Subchapter M Default Charges. Staff recommends approval to establish at ERCOT processes for assessment and collection of default charges and default escrow as reflected in the Debt Obligation Order issued in PUCT Docket No. 52321, Subchapter M, of PURA.

- NPRR1104, As-Built Definition of Real Time Liability Extrapolated (RTLE). Staff recommends approval in support of ERCOT’s attempt to align the definition of RTLE with current credit system and risk assessments by including market activity for entities that have no load or generation but have real-time exposure.

- NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA).  Staff recommends approval to implement in the ERCOT Protocols the direction provided by the Commission and enhance grid operations by providing ERCOT the additional tool of voltage reduction measures before declaration of an EEA.

- NPRR1106, Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA).  Staff recommends approval to implement in the ERCOT Protocols the direction provided by the Commission and enhance ERCOT’s operational tools to address potential reliability outcomes.

- NPRR1107, Addition of Weatherization Inspection Fees to the ERCOT Fee Schedule and Clarification of Generation Interconnection Request Fees. Staff recommends approval to recover costs relating to new regulatory requirements separately from the System Administration Fee and clarify that existing generation interconnection request fees apply to all generation interconnection projects.

- NPRR1109, 	Process for Reinstating Decommissioned Generation Resources. Staff recommends approval to balance the ability for generation resources that have been recently decommissioned and retired to return to service while granting ERCOT and the interconnecting utility the authority to require any studies, testing, metering, or upgrades deemed necessary, and address any operational concerns.

- NOGRR233, Related to NPRR1094, Allow Under Frequency Relay Load to be Manually Shed During EEA3.  Staff recommends approval in support of the improved efficiency and reliability provided by NPRR1094.

- NOGRR236, Related to NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA).  Staff recommends approval in support of implementation in the ERCOT Nodal Operating Guide the direction provided by the Commission related to voltage reduction measures before declaration of an EEA.

- NOGRR237, Related to NPRR1106, Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA). Staff recommends approval to implement in the ERCOT Nodal Operating Guide the direction provided by the Commission and enhance ERCOT’s operational tools to address potential reliability outcomes as provided by NPRR 1106.

- OBDRR035, Related to NPRR1101, Create Non-Spin Deployment Groups made up of Generation Resources Providing Off-Line Non-Spinning Reserve and Load Resources that are Not Controllable Load Resources Providing Non-Spinning Reserve.  Staff recommends approval in support of the continued efforts to increase the procurement of ancillary services and deploy Non-Spin in a technology agnostic manner.

- OBDRR036, Related to NPRR1106, Deployment of Emergency Response Service (ERS) Prior to Declaration of Energy Emergency Alert (EEA). Staff recommends approval to implement the direction provided by the Commission and enhance ERCOT’s operational tools to address potential reliability outcomes as provided by NPRR 1106.

- PGRR092, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs.  Staff recommends approval in support of the extension of the self-limiting facility to SOGs consistent with NPRR1077.

- RRGRR029, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs. Staff recommends approval in support of the extension of the self-limiting facility to SOGs consistent with NPRR1077.

Included for your review are the Board Report and ERCOT Impact Analysis.  These documents are intended to provide a comprehensive overview describing the revisions, including ERCOT’s market impact statement.

Finally, ERCOT has requested approval of an Alignment NOGRR, NOGRR238, Alignment Changes for December 17, 2021 Nodal Operating Guide – NPRR1094, NPRR1105, NPRR1106.  Alignment NOGRRs are not considered through the stakeholder process.  Instead, an Alignment NOGRR allows ERCOT to make modifications to the Operating Guides for the purpose of maintaining duplicate language between the Protocols and the related sections of the Operating Guides.  ERCOT must post the Alignment NOGRR and distributed to Reliability and Operations Subcommittee (ROS) within five Business Days of ERCOT Board approval of the related NPRR.  NPRR1094, NPRR1105, and NPRR1106 were approved by the Board on December 10, 2021 and NOGRR238 was posted the same day.  Therefore, Staff recommends approval of NOGRR238 consistent with the recommendations for NPRR1094, NPRR1105, and NPRR1106. The NOGRR is included for your review.

Please find attached a proposed order for your consideration consistent with Staff's recommendation in this memo.

ERCOT Nodal Operating Guide, Section 1, Overview (May 1, 2021).

Id.