TO:		Chairman Peter Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

FROM:	Rebecca Zerwas, Market Analysis

DATE:		October 6, 2021

RE:	October 7, 2021 Open Meeting – Item No. 13

Project No. 52307 – Review of Rules Adopted by the Independent Organization in Calendar Year 2021 (Discussion and possible action)

Senate Bill (SB) 2 (87th Legislature, Regular Session) requires both the Commission and the Electric Reliability Council of Texas (ERCOT) to establish processes for Commission approval of any rules or protocols adopted under authority delegated from the Commission to the independent organization.  Commission Staff will utilize Project No. 52307, Review of Rules Adopted by the Independent Organization in Calendar Year 2021, to facilitate this review and approval.  Staff continues to work with ERCOT on amendments to the revision request approval process in anticipation of Project No. 52301, ERCOT Governance and Related Issues, and a full implementation of SB2.

Since the Commission adopted an order approving the last set of ERCOT rules at the August 19, 2021 Open Meeting, the Technical Advisory Committee (TAC) has met twice and passed three additional rules through the stakeholder process.  These include two Nodal Operating Guide Revision Requests (NOGRRs) and a Retail Market Guide Revision Request (RMGRR). These matters are now pending at the Commission prior to ERCOT implementation.

First, Staff requests consideration of two matters approved by TAC at its August 27, 2021 meeting:

- RMGRR167, Switch Hold Removal Documentation Clarification.  Staff recommends approval to specify the documentation options available to customers and provide efficiencies in the retail market.

- NOGRR227, Add Phasor Measurement Recording Equipment Location for Main Power Transformer for Intermittent Renewable Resource (IRR).  Staff recommends approval to better reflect the operational realities of IRRs and allow the measurement to be made at the main power transformer level for all resources under that transformer.

Included for your review are the TAC Report and ERCOT Impact Analysis.  These documents are intended to provide a comprehensive overview describing the revisions, including ERCOT’s market impact statement.

Staff also requests consideration of NOGRR223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process, as approved by TAC at its September 29, 2021 meeting. Staff recommends approval in support of the added reliability provided by expanding phasor measurement equipment to certain existing resources seeking to modify a generator or storage device over 20 MVA.  Included for your review are the TAC Report and ERCOT Impact Analysis for NOGRR223. These documents are intended to provide a comprehensive overview describing the NOGRR, including ERCOT’s market impact statement.

Please find attached a proposed order for your consideration consistent with Staff's recommendation in this memo.