TO:		Chairman Peter Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

FROM:	Rebecca Zerwas, Market Analysis

DATE:		October 27, 2021

RE:	October 28, 2021 Open Meeting – Item No. 22

Project No. 52307 – Review of Rules Adopted by the Independent Organization in Calendar Year 2021 (Discussion and possible action)

Senate Bill (SB) 2 (87th Legislature, Regular Session) requires both the Commission and the Electric Reliability Council of Texas (ERCOT) to establish processes for Commission approval of any rules or protocols adopted under authority delegated from the Commission to the independent organization.  Commission Staff will utilize Project No. 52307, Review of Rules Adopted by the Independent Organization in Calendar Year 2021, to facilitate this review and approval.  Staff continues to work with ERCOT on amendments to the revision request approval process in anticipation of Project No. 52301, ERCOT Governance and Related Issues, and a full implementation of SB2.

Since the Commission adopted an order approving the last set of ERCOT rules at the October 7, 2021 Open Meeting, the ERCOT Board of Directors (BOD) met and passed twelve additional rules through the stakeholder process.  These include two Planning Guide Revisions Requests (PGRRs), one Resource Registration Glossary Revision Request (RRGRR), two system change controls (SCRs), four Nodal Protocol Revision Requests (NPRRs), one Nodal Operating Guide Revision Request (NOGRR) and two Other Binding Document Revision Requests (OBDRRs). These matters are now pending at the Commission prior to ERCOT implementation.

Staff requests consideration of twelve matters approved by BOD at its October 22, 2021 meeting:

- PGRR093, Replace Inadvertent Deletions in Section 5.  Staff recommends approval to provide ERCORT accurate and timely information requirements for both transmission planning and resource adequacy studies.

- PGRR094, Clarify Notification Requirement for Generator Construction Commencement or Completion. Staff recommends approval to provide clarity to market participants regarding submission of data pending updated functionality in the Resource Integration and Ongoing Operations (RIOO) – Integration Services system.

- RRGRR031, Related to NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage.  Staff recommends approval to create consistency between the registration requirements for Settlement Only Energy Storage Systems (SOESSs) and Energy Storage Resources.

- SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation.  Staff recommends approval to bring additional awareness and increased coordination between Transmission and/or Distribution Service Providers (TDSPs) where service areas interface.

- SCR814, Point-to-Point (PTP) Obligation Bid Interval Limit.  Staff recommends approval to optimize Day-Ahead Market (DAM) performance by mitigating the volume of PTP Obligations affecting DAM runtime.

- NPRR1082, Emergency Response Service (ERS) Test Exception for Co-located ERS Loads. Staff recommends approval to prevent unnecessary testing and delays where an ERS Generator is capable of reliably meeting the combined obligations of both the ERS Generator and the ERS Load.

- NPRR1087, Prohibit Participation of Critical Loads as Load Resources or ERS Resources.  Staff recommends approval in support of the required Resource Entity and Qualified Scheduling Entity attestations and to ensure Critical Loads, including critical natural gas, do not participate in Load Resource programs.

- NPRR1090, ERS Winter Storm Uri Lessons Learned Changes and Other ERS Items.  Staff recommends approval to address issues with the ERS program identified during URI, including removing limits on deployments and eliminating scheduled unavailability, prior to the December-March 2022 ERS Standard Contract Term.

- NPRR1093, Load Resource Participation in Non-Spinning Reserve.  Staff recommends approval to allow Load Resource participation in Non-Spin and ensure additional capacity is available to ERCOT Operators by summer 2022.

- NOGRR232, Related to NPRR1093, Load Resource Participation in Non-Spinning Reserve.  Staff recommends approval to align the Nodal Operating Guide with NPRR 1093 for the participation of Load Resource in Non-Spin.

- OBDRR032, Non-Spin Changes Related to NPRR1093, Load Resource Participation in Non-Spinning Reserve.  Staff recommends approval to align the deployment and recall procedures with NPRR 1093 to facilitate Load Resources participation in Non-Spin by summer 2022.

- OBDRR033, ORDC Changes Related to NPRR1093, Load Resource Participation in Non-Spinning Reserve.  Staff recommends approval to align the Operating Reserve Demand Curve (ORDC) methodology with NPRR 1093 for the participation of Load Resource in Non-Spin.

Included for your review are the BOD Report and ERCOT Impact Analysis.  These documents are intended to provide a comprehensive overview describing the revisions, including ERCOT’s market impact statement.

Please find attached a proposed order for your consideration consistent with Staff's recommendation in this memo.