TO:		Floyd Walker, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		December 3, 2021

RE:	Docket No. 52309 – Application of the City of Copperas Cove to Amend its Certificate of Convenience and Necessity in Coryell and Bell Counties

- Application

On July 9, 2021, the City of Copperas Cove (Copperas Cove) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 10449 in Bell and Coryell Counties, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.  The requested area includes 36 customer connections and approximately 673 acres, comprised of 673 acres of uncertificated area.  All the requested area is inside the city limits of Copperas Cove.

The application proposes the addition of approximately 673 acres to CCN No. 10449.

The initial application indicated that the total acreage being requested was approximately 711 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, and in coordination with the Copperas Cove, it was determined the requested area is approximately 673 acres.

- Notice

The deadline to intervene was September 27, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, I considered the following factors in making this recommendation.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Copperas Cove has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as 0500001.  Copperas Cove does not have any violations listed in the TCEQ database.  No additional construction is necessary for Copperas Cove to serve the requested area.  The Commission’s complaint records, which go back to 2014, show 25 complaints against Copperas Cove that have been resolved.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 36 existing customers in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Copperas Cove will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Copperas Cove has a TCEQ approved PWS registered as 0500001.  Copperas Cove does not have any violations listed in the TCEQ database.  No additional construction is necessary for Copperas Cove to serve the requested area.  The Commission’s complaint records, which go back to 2014, show 25 complaints against Copperas Cove.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Copperas Cove is already serving customers in the requested area and does not need to a physically separate water system to service the area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Copperas Cove is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division is addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division is addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Copperas Cove will continue to provide water service to the existing customers in the area with no change to the cost to customers.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review, I recommend that the Commission find that Copperas Cove’s application meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, and that Copperas Cove is capable of providing continuous and adequate service to the requested area.  I further recommend that approving this application to amend a water CCN No. 10449 is necessary for the service, accommodation, convenience and safety of the public.

Copperas Cove consented to the attached map and certificate on November 11, 2021.

See Copperas Cove’s Supplemental Mapping Materials (Jul. 19, 2021)