TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	May 2, 2022

RE:	Docket No. 52317 - Application of Bastrop West Water Supply and K & K Water Company for Sale, Transfer, or Merger of Facilities and Certificate Rights in Bastrop County

1.	Application

Bastrop West Water Supply (Bastrop West) and K & K Water Company (K & K Water) filed an application for the sale and transfer of facilities and certificate rights in Bastrop County under the provisions of Texas Water Code § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, K&K Water, Certificate of Convenience and Necessity (CCN) No. 11836, seeks approval to acquire facilities and to transfer all of the water service area from Bastrop Water under water CCN No. 12050.

The requested area includes 117 customer connections and approximately 289 acres, comprised of 289 acres of transferred area (from CCN No. 12050).  The application indicates that the total acreage being requested is approximately 900 acres.  However, the mapping review by Gary Horton, Infrastructure Division, determined the requested area is approximately 289 acres

2.	Notice

K&K Water provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was March 21, 2022; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Bastrop West has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Bastrop West Water Supply, PWS ID No. 0110047.  The last TCEQ compliance investigation of the Bastrop West system was on January 25, 2018.  Bastrop West has resolved all violations listed in the TCEQ database.  The Commission’s complaint records, which date back to 2017, show no complaints against Bastrop West.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 117 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

K&K Water will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

K&K Water will have licensed operators to run the system operations.  A Class C operator will be the responsible operator for the system.

K&K Water has the ability to provide adequate service in the requested area.  K&K Water has a TCEQ approved public water system registered as K&K Water, PWS ID No. 0110045.  K&K Water has resolved all violations listed in the TCEQ database. In addition, the Commission’s complaint records, which date back to 2017, show one complaint against K&K Water.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for K&K Water to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Bastrop West is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for the Bastrop County West & Bastrop County West Oaks subdivisions.  Reliability and quality of water service is expected to improve under K&K Water’s management.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and all of the water service area of the water CCN No. 12050, from Bastrop West to K&K Water and cancelling CCN No. 12050 of Bastrop West and amending water CCN No. 11836 of K&K Water and is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Bastrop West for the customers being served by Bastrop County West & Bastrop County West Oaks subdivisions. I further recommend that a public hearing is not necessary.