TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		March 1, 2023

RE:	Docket No. 52384 – Application of Samuel Sledge to Cancel an Exempt Utility Registration and Sharon Peach to Obtain an Exempt Utility Registration

On August 2, 2021, Sharon Peach (Ms. Peach), Executrix of the Estate of Verna B. Sledge, and Samuel Sledge (Mr. Sledge) filed a letter requesting the cancellation of an exempt utility in Harris County.  The application was reviewed under 16 Texas Administrative Code (TAC) § 24.229(e), a utility is exempt from the requirement to possess a certificate of convenience and necessity (CCN) in order to provide retail water service if it has less than 15 potential service connections.  The exempt utility, Samuel Sledge dba 1118-1/2 SO Main Street Highlands (Highlands) registration N0078, originally served 14 connections.  Ms. Peach asserts there are six active non-metered water connections.

On January 19, 2023, an amended application including revised maps.  The revised application indicated that Highlands had ceased charging for water on April 2020 and ceased operations in December 2022 including turning off the water supply main.

Based on the mapping review by Tracy Montes, Infrastructure Division, the maps submitted with Item 28 on January 19, 2023 are sufficient.

Under 16 TAC § 24.229(e)(8), “an exempt water utility may not discontinue service to a customer with or without notice except in accordance with its commission approved exempt-utility tariff.” The tariff issued by the Commission indicates “The utility may permanently disconnect service to an existing customer only if authorized to in writing by the Commission after notice has been issued.”  I will need some additional information to make the determination on the discontinuance of service provided to the requested area.  Please provide a statement regarding how previous customers are receiving currently receiving water service and if they were provided notice.