TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		June 3, 2022

RE:	Docket No. 52391 – Application of Liberty County Utilities, LLC for Water and Sewer Certificates of Convenience and Necessity in Liberty County

- Application

On August 5, 2021, Liberty County Utilities, LLC (Liberty County) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) water Certificate of Convenience and Necessity (CCN) No. 13300 and sewer CCN No. 21129 in Liberty County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Liberty County is seeking to obtain water and sewer CCN(s) for the service area containing the requested area includes 0 customer connections and approximately 2,035.5 acres of uncertificated area.

The application proposes the addition of approximately 2,035.5 acres to Liberty County Utilities, LLC’s new water and sewer CCN’s.

- Notice

The deadline to intervene was December 29, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

The Santa Fe subdivision, in Liberty County, is currently comprised of Sections 1-6. Colony Ridge Development is the developer and has contracted with Utilities Investment Company to solely serve those sections. Colony Ridge Development now wishes to create a new company, Liberty County Utilities which will be owned by Colony Ridge Development owners as well as Shannon Marsh, owner of Utilities Investment Company.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Liberty County will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water and sewer provider available when they need to request water and sewer service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Liberty County has a Texas Commission on Environmental Quality (TCEQ) approved public water system(s) (PWS) registered a Liberty County Utilities, PWS ID No. 1460197., and a wastewater treatment plant (WWTP) registered as Liberty County Utilities, Wastewater Discharge Permit No. WQ - 0015967001.

A TCEQ approval letter was provided for the public water system/water treatment plant distribution system that will provide water service to the Santa Fe Subdivision.

A TCEQ approval letter was provided for the wastewater system that will provide sewer service to the Santa Fe Subdivision.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

TCEQ has approved plans for Liberty County to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Currently, there are no other water and sewer providers in the area.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water and sewer service.

During the Commission’s January 27, 2022, open meeting, the tap fee for Docket No. 50944 was discussed.  The resulting ruling was to not use the standard residential tap fees agreed to in the settlement and instead include a provision in the tariff to charge for the actual cost of each individual tap.  Docket No. 50944 is for the Monarch I LP (Monarch) multi-county rate case. Monarch is a Class A utility with more than 30,000 customers. Currently there are only five Class A utilities regulated in Texas.  There are many more Class C utilities such as Liberty County, that are not as large and do not cover more than one county.  Therefore, there is usually little difference between residential tap installations as the type of ground formations in their service areas and the parts, labor and equipment rental costs do not vary significantly. In the case of Liberty County, water service will be provided to approximately 6,405 customers in Liberty County.  The proposed a tap fee for Liberty County’s customers is based on the average cost of similar investor-owned utilities.  As a reference, Liberty County has proposed a $1000.00 tap fee.  In order to true-up the proposed tap fees and rates, I recommend that Liberty County file a rate application with actual financial information with the Commission within 18 months from the date service begins per 16 TAC § 24.25(b)(1)(C).

The Rate Regulation Division will be addressing the cost to customers in a separate memo.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review, I recommend that Liberty County meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to obtain a water CCN No. 13300 and sewer CCN No. 21129 is necessary for the service, accommodation, convenience and safety of the public.

Liberty County consented to the attached maps, tariffs, and certificates on March 2, 2022.

Road bores are an exception to a standard tap fee. This additional construction is addressed in a utility’s tariff, such as the one included in the settlement in this docket, by a provision that allows the actual cost of the road bore and the tap fee. If the utility’s main water line is across a public road, it is likely that a road bore is necessary to install a tap for a new customer.