TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		September 7, 2021

RE:	Docket No. 52391 – Application of Liberty County Utilities, LLC for Water and Sewer Certificates of Convenience and Necessity in Liberty County

On August 5, 2021, Liberty County Utilities, LLC (Liberty County) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water and sewer certificate of convenience and necessity (CCN) in Liberty County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by Liberty County, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Mapping Content:

Liberty County must submit the following item to resolve the mapping deficiencies:

Based on the mapping review by Tracy Montes, Infrastructure Division, the digital mapping data, detailed and general location maps submitted with Item 1 on 8/6/2021 are deficient. The digital mapping data for the requested area does not accurately align with the existing CCN boundaries of the Quadvest LP (CCN Nos. 11612 and 20952). The digital mapping data must be revised to remove overlaps between the requested area and Quadvest LP’s existing CCNs. The requested area does not appear to follow parcel boundaries or other verifiable man-made and natural landmarks. There are acreage discrepancies between the requested area as stated in the application, the metes and bounds and shapefile provided.

Applicant must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

- Indicate the approximate total acreage for the requested area. The acreage indicated should be the same as stated in the application, metes and bounds and the shapefile.

Staff recommends the Applicant obtain additional mapping guidance from the PUC’s

mapping staff, Ms. Tracy Montes by email at tracy.montes@puc.texas.gov to resolve the

mapping deficiencies.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by Liberty County and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).