TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	March 11, 2022

RE:	Docket No. 52427 – Application of Patterson Water Supply LLC and Myra Water System for Sale, Transfer, or Merger of Facilities and Certificate Rights in Cooke County

1.	Application

On August 13, 2021, Patterson Water Supply LLC (Patterson) and Myra Water System (Myra) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Cooke County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Patterson, certificate of convenience and necessity (CCN) No. 13248, seeks approval to acquire facilities and to transfer all of the water service area from Myra under water CCN No. 12514.  The requested area includes 116 customer connections and approximately 982 acres, comprised of 982 acres of transferred area from CCN No. 12514.

The application proposes the addition of approximately 982 acres to CCN No. 13248.

The application indicates that the total acreage being requested is approximately 990 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 982 acres.

2.	Notice

Patterson provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was January 19, 2022; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Myra has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Myra Water System under PWS ID: 0490019.  The last TCEQ compliance investigation of the Myra system was on October 29, 2020.  No violations or concerns were noted as a result of that investigation.  In addition, the Commission’s complaint records, which date back to 2017, show no complaints against Myra.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer Myra Water System’s water treatment plant, distribution system, and customers to Patterson.  The customers are currently receiving water service from Myra’s water system.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Patterson will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Patterson has the ability to provide adequate service in the requested area.  Patterson operates and has purchased several TCEQ approved public water systems some which were previously under poor management.  As a result of the previous management at some of these water systems, Patterson has a few violations listed in the TCEQ databases.  Patterson has been working with the TCEQ regional offices to address the violations at the public water systems.  The Commission’s complaint records, which date back to 2017, show 13 complaints against Patterson.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Patterson to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Myra Water System is currently serving customers and has sufficient capacity.  Patterson has already invested in the construction of a new water line to ensure the system can meet demand in the future and not suffer from the failure of aging infrastructure.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

Patterson will continue to provide water service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and all of the water service area of the water CCN No. 12514 to Patterson and amending water CCN No. 13248 of Patterson, is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction.  There are deposits held by Myra for the some of the customers being served by the Myra Water System.  I further recommend that a public hearing is not necessary.