TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	September 13, 2021

RE:	Docket No. 52427 – Application of Patterson Water Supply LLC and Myra Water System for Sale, Transfer, or Merger of Facilities and Certificate Rights in Cooke County

On August 13, 2021, Patterson Water Supply LLC (Patterson) and Myra Water System (Myra) (collectively, Applicants) filed an application for approval of the sale, transfer, or merger (STM) of facilities and certificate rights in Cooke County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Patterson, water certificate of convenience and necessity (CCN) No. 13248, seeks approval to acquire facilities and to transfer all of the water service area from Myra under water CCN No. 12514.

The requested area includes 116 customer connections and approximately 982 acres transferred area from CCN No. 12514.

The application proposes the addition of approximately 982 acres to CCN No. 13248.

The application indicates that the total acreage being requested is approximately 990 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 982 acres.

Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

- Please provide a copy of the organizational chart for Patterson, if available.

- Some of Patterson’s public water systems have active violations in the TCEQ’s Drinking Water Watch and Central Registry databases.  Please provide an explanation on how these violations will be resolved.

- The application noted that there have been enforcement cases against Patterson.  Please provide the status of the enforcement cases (i.e. active, agreed order filed, resolved, etc.)

Application, Question 18, at 8.