TO:		Scott Miles, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		August 18, 2022

RE:	Docket No. 52440 – Application of Crystal Springs Water Company, Inc. to Amend its Water Certificate of Convenience and Necessity in Montgomery County

- Application

On August 17, 2021, Crystal Springs Water Company, Inc. (Crystal Springs) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11373 and sewer CCN No. 20906 in Montgomery County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The application was severed on July 21, 2022 to process the water and sewer requested areas separately as the wastewater permit is pending approval by the Texas Commission on Environmental Quality (TCEQ), however the water treatment plant and distribution system have been approved by the TCEQ.  This docket will consider the requested area on the water application.

Crystal Springs is seeking to amend its water CCN for the service area containing zero customer connections and approximately 2,364 acres of uncertificated area.  The application proposes the addition of approximately 2,364 acres to CCN No. 11373.

- Notice

The deadline to intervene was October 25, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are nine developers requesting water service for each of their developments in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Crystal Springs will be the certificated entity for the requested areas and will be required to provide continuous and adequate service to the requested areas.

The landowners in the areas will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  There are three utility providers within a half mile of the requested area. Crystal Springs sent letters to the three utility providers asking if they would be able to provide service to the requested area.  Two utilities did not respond, and one indicated that they could not provide service to the requested area.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Crystal Springs has several TCEQ approved public water systems (PWS).  The PWS that will provide service to the requested areas is registered as White Rock Water Plant #1, PWS ID No. 1700931.  The PWS was approved by the TCEQ on November 8, 2021.  The distribution system for the water system was approved by the TCEQ on July 8, 2022.  The Commission’s complaint records, which go back to 2017, show 16 against Crystal Springs, all of which have been resolved.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

There are three utility providers are within a half mile of the requested area. Crystal Springs sent letters to the three utility providers asking if they would be able to provide service to the requested area.  Two utilities did not respond, and one indicated that they could not provide service to the requested area.

Additionally, TCEQ has approved plans for Crystal Springs to build facilities in the requested areas to serve future customers and will have sufficient capacity to serve the areas.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Crystal Springs received requests for service for the requested area from nine developers.  Service was requested from neighboring utilities.  One indicated they were unable to provide service.  Two of the neighboring utilities did not respond to requests for service or the notice provided by Crystal Springs in this docket.  TCEQ has approved plans for Crystal Springs to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned developments will have water service.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review, I recommend that Crystal Springs meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 11373 is necessary for the service, accommodation, convenience and safety of the public.

Crystal Springs consented to the attached map, tariff, and certificate on August 8, 2022.