TO:		Scott Miles, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		September 16, 2021

RE:	Docket No. 52440 – Application of Crystal Springs Water Company, Inc. to Amend its Certificates of Convenience and Necessity in Montgomery County

On August 17, 2021, Crystal Springs Water Company, Inc. (Crystal Springs) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11373 and sewer CCN No. 20906 in Montgomery County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.  The requested area includes 0 customer connections and approximately 2,364 acres, comprised of 2,364 acres of uncertificated area.

The application proposes the addition of approximately 2,364 acres to CCN Nos. 11373 and 20906.

The application indicates that the total acreage being requested is approximately 2,672 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 2,364 acres.

Based on the mapping review by Mr. Horton, the maps submitted on August 17, 2021 and August 25, 2021 are sufficient.  Based on my technical and managerial review of the information filed by Crystal Springs, I recommend that the application be deemed administratively complete.  I further recommend that Crystal Springs be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc (CCN No. 13203)

- C & R Water Supply Inc (CCN Nos. 13098 & 20987)

- David Lee Sheffield (CCN No. 11997)

- East Montgomery County Improvement District

- Highline Oaks Water Utility (CCN No. 13006)

- Montgomery County Municipal Utility District (MUD) 30

- Montgomery County MUD 163

- Montgomery County MUD 164

- Nerro Supply Investors LLC (CCN No. 10336)

- San Jacinto River Authority

- Town of Cut and Shoot (CCN No. 11615)

- Undine Texas LLC (CCN No. 13260)

- Utilities Investment Company Inc (CCN No. 12671)

  - The county judge of each county that is wholly or partially included in the requested area:

- Montgomery County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Lone Star Groundwater Conservation District

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained by Crystal Springs from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at http://www14.tceq.texas.gov/iwud/.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Crystal Springs must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

- Supplement the application with a copy of the approval letter for the plans and specifications, distribution system, and the Texas Pollutant Discharge Elimination System permit from the TCEQ once they are received. Crystal Springs must file the approval letters prior to Staff making a final recommendation on the application.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Crystal Springs.  Crystal Springs will have 20 days from the receipt of the RFI to respond.