TO:		Scott Miles, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		November 4, 2021

RE:	Docket No. 52453 – Application of Skyline Drive Landowners Association to Amend its Certificate of Convenience and Necessity in Johnson County

On August 20, 2021, Skyline Drive Landowners Association (Skyline Drive Landowners) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12479 by decertifying a portion of the service area in Johnson County, Texas.  On September 21, 2021, Skyline Drive Landowners filed supplemental information clarifying its intent that it is only requesting to decertify a portion of its water CCN.  This application was reviewed under Texas Water Code (TWC) § 13.250 and 16 Texas Administrative Code (TAC) § 24.245.  The application proposes the subtraction of approximately 22 acres from Skyline Drive Landowners’ water CCN No. 12479.

The requested area includes 0 customer connections and approximately 22 acres, comprised of 22 acres to be decertified from CCN No. 12479.

The application indicates that the total acreage being requested is approximately 85 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area (portion to be decertified) is approximately 22 acres.  On September 21, 2021, Skyline Drive Landowners filed supplemental information to address this discrepancy.

Based on the mapping review by Gary Horton, Infrastructure Division, the maps submitted on August 20, 2021 are sufficient.  Based on my technical and managerial review of the information filed by Skyline Drive Landowners, I recommend that the application be deemed administratively complete.  I further recommend that Skyline Drive Landowners be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Skyline Drive Landowners.  Skyline Drive Landowners will have 20 days from the receipt of the RFI to respond.