STANDARD APPLICATION FOR A CERTIFICATE OF CONVENIENCE AND NECESSITY FOR A PROPOSED TRANSMISSION LINE

DOCKET NO. 52455

Submit seven (7) copies of the application and all attachments supporting the application.  If the application is being filed pursuant to 16 Tex. Admin. Code §25.101(b)(3)(D) (TAC) or 16 TAC §25.174, include in the application all direct testimony.  The application and other necessary documents shall be submitted to:

Public Utility Commission of Texas 
Attn: Filing Clerk 
1701 N. Congress Ave.

Austin, Texas 78711-3326

Note:  As used herein, the term “joint application” refers to an application for proposed transmission facilities for which ownership will be divided.  All applications for such facilities should be filed jointly by the proposed owners of the facilities.

1.	Applicant (Utility) Name:

For joint applications, provide all information for each applicant.

Applicant (Utility) Name:	Oncor Electric Delivery Company LLC (“Oncor”)

Certificate Number:	30043

Street Address:	1616 Woodall Rodgers Freeway

Dallas, Texas 75202

Mailing Address: 	1616 Woodall Rodgers Freeway

Dallas, Texas 75202-1234

2.	Please identify all entities that will hold an ownership interest or an investment interest in the proposed project but which are not subject to the Commission’s jurisdiction.

Oncor will hold the sole ownership interest in the Old Country Switch 345 kilovolt (“kV”) Tap Transmission Line Project (“Proposed Transmission Line Project”).

3.	Person to Contact: 	Ifeoluwa Adetoro
Title/Position:	Regulatory Project Manager Sr.
Phone Number:	(214) 486-4918
Mailing Address:	1616 Woodall Rodgers Fwy, Suite 6A-014

Dallas, Texas  75202-1234

Email Address:	Ifeoluwa.Adetoro@oncor.com

3a.	Alternate Contact:	Thomas Yamin
Title/Position:	Director of Regulatory, Transmission and Planning
Phone Number:	(214) 486-3512
Mailing Address:	1616 Woodall Rodgers Fwy, Suite 6B-005		Dallas, Texas  75202-1234

Email Address:	Thomas.Yamin@oncor.com

3b.	Legal Counsel:	Jaren A. Taylor

Jared M. Jones

Phone Number:	(214) 220-7754
Mailing Address:	Vinson & Elkins LLP

Trammell Crow Center

2001 Ross Avenue, Suite 3900

Dallas, Texas 75201

Email Address:	jarentaylor@velaw.com

jjones@velaw.com

Please contact Jaren Taylor with any inquiries regarding the project.

4.	Project Description:

Provide a general description of the project, including the design voltage rating (kV), the operating voltage (kV), the CREZ Zone(s) (if any) where the project is located (all or in part), any substations and/or substation reactive compensation constructed as part of the project, and any series elements such as sectionalizing switching devices, series line compensation, etc.  For HVDC transmission lines, the converter stations should be considered to be project components and should be addressed in the project description.

If the project will be owned by more than one party, briefly explain the ownership arrangements between the parties and provide a description of the portion(s) that will be owned by each party.   Provide a description of the responsibilities of each party for implementing the project (design, Right-Of-Way acquisition, material procurement, construction, etc.).

If applicable, identify and explain any deviation in transmission project components from the original transmission specifications as previously approved by the Commission or recommended by a PURA §39.151 organization.

Name or Designation of Project:		Old Country Switch 345 kV Tap Transmission Line Project

Design Voltage Rating (kV):		345 kV

Operating Voltage Rating (kV):		345 kV

Normal Peak Operating Current (A):	5138 A

The Proposed Transmission Line Project is a new single-circuit, 345 kV transmission line, to be built on double-circuit capable structures, between the proposed Oncor Old Country Switch station and the proposed Oystercatcher Solar Substation, both located in Ellis County.  The proposed Oncor Old Country Switch station will be located along the existing Oncor Venus Switch – Navarro Switch 345 kV transmission line approximately two miles to the west of Interstate Highway 35 East (“I-35E”) and approximately 0.3 miles to the east of Farm to Market Road (“FM”) 876.  The Oystercatcher Solar Substation is located proximal to the intersection of Iola Lane and L R Campbell Road approximately 3.5 miles to the north-northwest of Italy, Texas.  The Proposed Transmission Line Project will be approximately 5 miles to the northwest of downtown Italy, Texas.

The length of the overall Proposed Transmission Line Project ranges between approximately 3.2 to 4.9 miles, depending on which route is selected by the Public Utility Commission of Texas (“PUCT” or “Commission”).

The Proposed Transmission Line Project includes the construction of the proposed Oncor Old Country Switch station.

5.	Conductor and Structures:

Conductor Size and Type:	1926.9 kcmil ACSS/TW

Number of conductors per phase:	2

Continuous Summer Static Current Rating (A):	5138 A

Continuous Summer Static Line Capacity

at Operating Voltage (MVA):	3070 MVA

Continuous Summer Static Line Capacity

at Design Voltage (MVA): 	3070 MVA

Type and composition of Structures:	Tangent Double-Circuit “V” Tower

Height of Typical Structures:	80 – 160 feet*

*This number reflects the approximate visible height of the structure from ground to structure top.  Please see the drawing of a typical structure in Figure 1-2, page 1-7, of the Environmental Assessment and Alternative Route Analysis for the Proposed Old Country Switch 345 kV Tap Transmission Line Project in Ellis County, Texas, (“Environmental Assessment and Routing Study”), prepared by Freese and Nichols, Inc. (“FNI”) and included as Attachment No. 1.

Explain why these structures were selected; include such factors as landowner preference, engineering considerations, and costs comparisons to alternate structures that were considered.

For joint applications, provide and separately identify the above-required information regarding structures for the portion(s) of the project owned by each applicant.

Oncor selected the double-circuit 345 kV tangent “V” tower for numerous reasons including costs, technical specifications, structure footprint, ROW requirements, the specific characteristics of the study area, and other items.

Provide dimensional drawings of the typical structures to be used in the project.

A drawing of the typical structure is shown in Figure 1-2, page 1-7, of the Environmental Assessment and Alternative Route Analysis included as Attachment No. 1.

6.	Right-of-way:

For joint applications, provide and separately identify the above-required information for each route for the portion(s) of the project owned by each applicant.

Miles of Right-of-Way		Approximately 3.2 to 4.9 miles
Miles of Circuit		Approximately 3.2 to 4.9 miles
Width of Right-of-Way		Approximately 160 feet
Percent of Right-of-Way Acquired		0%

Provide a brief description of the area traversed by the transmission line.  Include a description of the general land uses in the area and the type of terrain crossed by the line.

The topography of the project area is dominated by gently rolling hills with streams and channels.  The elevation of the project area ranges from 450 to 650 feet above mean sea level according to most recent USGS topographic maps for the area.  Drainage throughout the project area is primarily toward and occurring within the floodplain of Chambers Creek, which flows through the center of the project area from west to east.

The project area is situated approximately 1.3 miles to the northwest of the City of Italy in Ellis County, Texas.  It is located in a rural area and consists of rural residential and agricultural land uses, utility corridors and facilities, and undeveloped lands.  Hunting, fishing, and other types of outdoor recreation may be integrated with these primary uses.  Additional commercial and residential development is concentrated along the I-35E and United States Highway (“US”) 77 corridors between the City of Italy and the town of Forreston on the east side of the project area.

Specific discussion regarding natural, human, and cultural resources in the project area is set forth in Sections 3.1 through 3.8, pages 3-1 through 3-62, of the Environmental Assessment and Routing Study, included as Attachment No. 1.

7.	Substations or Switching Stations:

List the name of all existing HVDC converter stations, substations or switching stations that will be associated with the new transmission line.  Provide documentation showing that the owner(s) of the existing HVDC converter stations, substations and/or switching stations have agreed to the installation of the required project facilities.

None.  The Proposed Transmission Line Project will tap an existing line and establish two new stations.

List the name of all new HVDC converter stations, substations or switching stations that will be associated with the new transmission line.  Provide documentation showing that the owner(s) of the new HVDC converter stations, substations and/or switching stations have agreed to the installation of the required project facilities.

Oncor Old Country 345 kV Switch Station

Oystercatcher Solar 345 kV Substation (to be built and owned by Oystercatcher Solar, LLC)

8.	Estimated Schedule:

| Estimated Dates of: | Start | Completion |
| --- | --- | --- |
| Right-of-way and Land Acquisition | 08/2022 | 11/2023 |
| Engineering and Design | 08/2022 | 02/2023 |
| Material and Equipment Procurement | 02/2023 | 11/2023 |
| Construction of Facilities | 10/2023 | 04/2024 |
| Energize Facilities | 04/2024 | 04/2024 |

9.	Counties: 
For each route, list all counties in which the route is to be constructed.

Ellis County

10.	Municipalities:

For each route, list all municipalities in which the route is to be constructed.

No route is proposed to be constructed within the city limits or extra-territorial jurisdiction (“ETJ”) of any municipality.

For each applicant, attach a copy of the franchise, permit or other evidence of the city's consent held by the utility, if necessary or applicable.  If franchise, permit, or other evidence of the city's consent has been previously filed, provide only the docket number of the application in which the consent was filed.  Each applicant should provide this information only for the portion(s) of the project which will be owned by the applicant.

Not applicable

11.	Affected Utilities: 
Identify any other electric utility served by or connected to facilities in this application.

No other electric utility will be served by or connected to the Proposed Transmission Line Project.

Describe how any other electric utility will be affected and the extent of the other utilities' involvement in the construction of this project.  Include any other electric utilities whose existing facilities will be utilized for the project (vacant circuit positions, ROW, substation sites and/or equipment, etc.) and provide documentation showing that the owner(s) of the existing facilities have agreed to the installation of the required project facilities.

No other electric utility will be involved in the construction of the Proposed Transmission Line Project.  No other utilities’ existing facilities will be utilized.

12.	Financing:

Describe the method of financing this project.  For each applicant that is to be reimbursed for all or a portion of this project, identify the source and amount of the reimbursement (actual amount if known, estimated amount otherwise) and the portion(s) of the project for which the reimbursement will be made.

Oncor proposes to finance the facilities included in the Proposed Transmission Line Project with a combination of debt and equity, in compliance with its authorized capital structure, which is similar to the means used for previous construction projects.  Oncor plans to utilize internally generated funds (equity) and proceeds received from the issuance of securities.  Oncor will typically obtain short-term borrowings as needed for interim financing of its construction expenditures in excess of funds generated internally.  These borrowings are then repaid through the issuance of long-term debt securities, the type and amount of which are as of yet undetermined.

Oncor is the sole applicant and, therefore, no other party will be reimbursed for any portion of the project.

13.	Estimated Costs:

Provide cost estimates for each route of the proposed project using the following table.  Provide a breakdown of “Other” costs by major cost category and amount.  Provide the information for each route in an attachment to this application.

|  | Transmission Facilities | Old Country Switch Facilities |
| --- | --- | --- |
| Right-of-way and Land Acquisition | * | $393,000 |
| Engineering and Design (Utility) | * | $584,000 |
| Engineering and Design (Contract) | * | $370,000 |
| Procurement of Material and Equipment (including stores) | * | $3,491,000 |
| Construction of Facilities (Utility) | * | $351,000 |
| Construction of Facilities (Contract) | * | $2,636,000 |
| Other (all costs not included in the above categories) | * | - |
| Estimated Total Cost | * | $7,825,000 |

* Refer to Attachment No. 2 for cost estimates for each alternative route presented in the Application.

For joint applications, provide and separately identify the above-required information for the portion(s) of the project owned by each applicant.

Not applicable.

14.	Need for the Proposed Project:

For a standard application, describe the need for the construction and state how the proposed project will address the need.  Describe the existing transmission system and conditions addressed by this application.  For projects that are planned to accommodate load growth, provide historical load data and load projections for at least five years.  For projects to accommodate load growth or to address reliability issues, provide a description of the steady state load flow analysis that justifies the project.  For interconnection projects, provide any documentation from a transmission service customer, generator, transmission service provider, or other entity to establish that the proposed facilities are needed.  For projects related to a Competitive Renewable Energy Zone, the foregoing requirements are not necessary; the applicant need only provide a specific reference to the pertinent portion(s) of an appropriate commission order specifying that the facilities are needed.  For all projects, provide any documentation of the review and recommendation of a PURA §39.151 organization.

The Proposed Transmission Line Project is needed to connect a new solar generating facility to the ERCOT grid.  Oncor was approached by Oystercatcher Solar, LLC to provide facilities necessary to interconnect the Oystercatcher Solar generating facilities, with approximately 223 MW capacity, to Oncor’s transmission system and the ERCOT grid (see Attachment No. 3 – ERCOT Standard Generation Interconnection Request 21INR0362, dated 08/20/2021).  Generation of this capacity requires transmission-level facilities to interconnect to the grid.

The planned site for the proposed generating facilities lies approximately 2.7 miles from the nearest transmission line that can accommodate generating facilities of this capacity.  Accordingly, Oncor proposes to design and construct a new 345 kV switch, named Old Country Switch, and an approximately 3.2 to 4.9-mile 345 kV transmission line, depending on the route selected by the PUCT, to provide a connection between the Oystercatcher Solar generating facilities and the ERCOT grid.

The Old Country Switch will be located adjacent to the existing Oncor Venus Switch – Navarro Switch 345 kV double-circuit transmission line in Ellis County, approximately 16 circuit miles from Venus 345 kV Switch (see Attachment No. 4).  The east circuit of the Venus – Navarro Switch 345 kV transmission line will be looped through the new Old Country Switch.  Oystercatcher Solar LLC will construct, own and operate its equipment and facilities, including the Oystercatcher Solar substation.

ERCOT has reviewed the transmission facilities in the area and identified Oncor’s Venus Switch – Navarro Switch 345 kV Line as the most efficient means of providing transmission service for the Oystercatcher Solar generating facilities. All necessary Generation Interconnection studies are being performed in accordance with ERCOT requirements, and an ERCOT Standard Generation Interconnection Agreement between Oncor and Oystercatcher Solar is included as Attachment No. 3.

15.	Alternatives to Project:

For a standard application, describe alternatives to the construction of this project (not routing options).  Include an analysis of distribution alternatives, upgrading voltage or bundling of conductors of existing facilities, adding transformers, and for utilities that have not unbundled, distributed generation as alternatives to the project.  Explain how the project overcomes the insufficiencies of the other options that were considered.

Due to the location of the proposed generation facilities and the current transmission system configuration in the vicinity of these facilities, alternatives to the Proposed Transmission Line Project are limited.

Interconnecting the Oystercatcher Solar generation facilities requires transmission-level service; so distribution alternatives are insufficient.  The Venus Switch – Navarro Switch 345 kV double-circuit transmission line is the closest 345 kV transmission line in the area that provides a viable transmission-level solution.  The only other transmission line proximal to the proposed generation facility is rated at 69 kV and is not capable of carrying the capacity of the Oystercatcher Solar generating facilities.

ERCOT’s 345 kV transmission system is the backbone for the generation fleet.  ERCOT’s 69 kV transmission is mainly used to serve small loads, and is not generally capable of interconnecting large scale generation.  ERCOT’s review of all transmission facilities in the area identified Oncor’s Venus Switch – Navarro Switch 345 kV Line as the most efficient means of providing transmission service for Oystercatcher Solar generating facilities.

16. 	Schematic or Diagram:

For a standard application, provide a schematic or diagram of the applicant's transmission system in the proximate area of the project.  Show the location and voltage of existing transmission lines and substations, and the location of the construction.  Locate any taps, ties, meter points, or other facilities involving other utilities on the system schematic.

A schematic of the transmission system in the proximate area of the Proposed Transmission Line Project is shown in Attachment No. 5.  The location and voltage of existing transmission lines are included.  There are no existing substations and no taps, ties, meter points, or other facilities involving other utilities in the project area.  A map outlining the project area can be found in Figure 3-1 of the Environmental Assessment and Routing Study, included as Attachment No. 1.

17.	Routing Study:

Provide a brief summary of the routing study that includes a description of the process of selecting the study area, identifying routing constraints, selecting potential line segments, and the selection of the routes.  Provide a copy of the complete routing study conducted by the utility or consultant.  State which route the applicant believes best addresses the requirements of PURA and P.U.C. Substantive Rules.

Oncor retained FNI to prepare the Environmental Assessment and Routing Study.  The objective of the Environmental Assessment and Routing Study was to provide information in support of this Application in addressing the requirements of Section 37.056(c)(4)(A)-(D) of the Texas Utilities Code, the PUCT’s CCN Application form, and 16 Texas Administrative Code (“TAC”) § 25.101 as these apply to the Proposed Transmission Line Project.

By examining existing environmental conditions, including the human and natural resources that are located in the project area, the Environmental Assessment and Routing Study appraises the environmental effects that could result from the construction, operation, and maintenance of the Proposed Transmission Line Project. The Environmental Assessment and Routing Study may also be used in support of any additional local, state, or federal permitting activities that may be required for the Proposed Transmission Line Project.

To assist FNI in its evaluation, Oncor provided FNI with information regarding the project endpoints, the need for the project, engineering and design requirements, construction practices, and ROW requirements for the Proposed Transmission Line Project.

After considering environmental and geographical data, FNI defined a study area that encompassed the provided endpoints with a sufficient area to identify a diverse set of potential routing alternatives.  See Section 3.0 of the Environmental Assessment and Routing Study, included as Attachment No. 1, for a discussion of the study area.  Routing constraints were identified after collection of area data from many sources (e.g., governmental agencies, evaluation of aerial photography) and consideration of the criteria established in Section 37.056(c)(4)(A)-(D) of the Texas Utilities Code, the PUCT’s CCN Application form, and 16 TAC § 25.101.

Potential line segments were identified by evaluating the constraints mapped within the study area and then developing potential areas such as existing corridors and other linear features where constraints were minimal.  Corridors were identified and developed into potentially viable routes.  Potential impacts to both the human and natural environment were evaluated by FNI for each identified preliminary alternative route.

Oncor then evaluated the alternative routes and selected Route 54 as the route that best addresses the requirements of the Texas Utilities Code and the PUCT’s Substantive Rules.

Specific discussions regarding the study area, identification of constraints, selection of potential line segments, and alternative route analysis are set forth in the Environmental Assessment and Routing Study.  Specific discussion regarding the evaluation and selection of routes filed with the Application and the route that Oncor believes best complies with the requirements of the Texas Utilities Code and the PUCT’s Substantive Rules is contained in an office memorandum from Brenda J. Perkins (included as Attachment No. 6).

18.	Public Meeting or Public Open House:

Provide the date and location for each public meeting or public open house that was held in accordance with 16 TAC §22.52.  Provide a summary of each public meeting or public open house including the approximate number of attendants, and a copy of any survey provided to attendants and a summary of the responses received.  For each public meeting or public open house provide a description of the method of notice, a copy of any notices, and the number of notices that were mailed and/or published.

Oncor hosted one public participation meeting in accordance with 16 TAC § 22.52.  It was attended by personnel from Oncor, FNI, and 7Arrows Land Staff, LLC, a contractor assisting Oncor in property abstracting.  The public participation meeting was held May 20, 2021, from 4:00 p.m. to 7:00 p.m., at the City of Italy Community Center in Italy, Texas.

Oncor mailed a total of 24 individual written notices of the meeting to all owners of property within 500 feet of the centerline of the preliminary alternative route links for the Proposed Transmission Line Project.  Also, a public notice was placed in the local newspaper listed below announcing the location, time, and purpose of the meeting.  Oncor provided notice of the public meeting to the Department of Defense Siting Clearinghouse in accordance with 16 TAC § 22.54(a)(4).

Published Notice

| Newspaper | County | Publication Date |
| --- | --- | --- |
| The Ennis News | Ellis | May 9, 2021 |

The meeting was designed to solicit comments and input from residents, landowners, public officials, and other interested parties concerning the Proposed Transmission Line Project.  The objectives of the meeting included promoting an understanding of the Proposed Transmission Line Project, including the purpose, need, and potential benefits and impacts; informing and educating the public with regard to the routing process and schedule; and gathering information about the values and concerns of the public and community leaders.

The meeting was configured in an informal information station format rather than a formal speaker/audience format, with each station assigned to a particular aspect of the project, or routing process and staffed with representatives from Oncor and/or FNI.  Each station had exhibits, maps, illustrations, aerial photography, or other information describing certain project aspects and subject matter information.  Attendees were encouraged at the meeting’s outset to visit each station in order, so the entire process could be explained in the general sequence of project development.  Oncor has found this meeting format valuable due to its informality and because it allows attendees to gather information most important to them and to spend as much time as necessary with those particular project aspects.  Additionally, individual discussions allow for and encourage more interaction from attendees who otherwise might be hesitant to participate in a more formal setting.

Due to COVID-19 public health and safety guidelines, Oncor and FNI also provided a virtual public participation website to solicit feedback from residents, landowners, public officials, and other interested parties concerning the proposed project, preliminary alternative routes, and the overall transmission line routing process.  The virtual website was developed to mirror the in-person public meeting with information sections corresponding to each information station, including electronic versions of the maps, illustrations, aerial photography, and/or text explaining each subject.  Electronic copies of the public meeting handout packet, questionnaire, and landowner bill of rights were also provided prominently on the virtual public meeting website.  Each information section also had a Zoom meeting link to speak directly with an Oncor, FNI, or 7Arrows Land Staff representative.

Six individuals signed in as attendees at the public participation meeting.  One attendee submitted a questionnaire at the meeting.  One questionnaire was submitted via email from the virtual public meeting website.  One additional email was received from an attendee that was submitted in lieu of the questionnaire.  No questionnaires or letters were received by Oncor or FNI via mail at a later date.

Additional discussion concerning the public involvement program and specific information regarding the public participation meeting may be found in the Environmental Assessment and Routing Study, Section 2.5 pages 2-10 through 2-12, and Section 5.0, pages 5-1 through 5-2, included as Attachment No. 1.  A representative copy of the notice that was provided to property owners and a copy of the questionnaire provided to meeting attendees is included in Appendix B of Attachment No. 1.

19.	Routing Maps:

Base maps should be a full scale (one inch = not more than one mile ) highway map of the county or counties involved, or other maps of comparable scale denoting sufficient cultural and natural features to permit location of all routes in the field.  Provide a map (or maps) showing the study area, routing constraints, and all routes or line segments that were considered prior to the selection of the routes.  Identify the routes and any existing facilities to be interconnected or coordinated with the project.  Identify any taps, ties, meter points, or other facilities involving other utilities on the routing map.  Show all existing transmission facilities located in the study area.  Include the locations of radio transmitters and other electronic installations, airstrips, irrigated pasture or cropland, parks and recreational areas, historical and archeological sites (subject to the instructions in Question 27), and any environmentally sensitive areas (subject to the instructions in Question 29).

A one inch = 1,000 feet map (Figure 3-1) is included in the Appendix F map pocket of the Environmental Assessment and Routing Study included as Attachment No. 1.  This base map denotes sufficient cultural and natural features to permit location of all routes in the field.  This map delineates the study area, routing constraints, and all routes and route links considered in the selection of routes.  The map also depicts the approximate locations of radio transmitters and other electronic installations, airstrips, irrigated pasture or cropland, parks and recreational areas, historical and archeological sites, and any environmentally sensitive areas, if any.  Figure 3-1 depicts existing transmission facilities in the area of the Proposed Transmission Line Project, including taps, ties, meter points, or other utility facilities, as applicable.

Provide aerial photographs of the study area displaying the date that the photographs were taken or maps that show (1) the location of each route with each route segment identified, (2) the locations of all major public roads including, as a minimum, all federal and state roadways, (3) the locations of all known habitable structures or groups of habitable structures (see Question 19 below) on properties directly affected by any route, and (4) the boundaries (approximate or estimated according to best available information if required) of all properties directly affected by any route.

Figure 3-1 of the Environmental Assessment and Routing Study included as Attachment No. 1 depicts on an aerial photograph: (1) the location of each link that is used in the alternative routes filed in this CCN, with each link identified; (2) the locations of all major public roads, including all federal and state roadways; (3) the locations of all known habitable structures on properties directly affected by any link used in the alternative routes; and (4) the boundaries (approximate or estimated according to available county tax information) of all properties directly affected by any link used in an alternative route.  In addition, the locations of radio transmitters and other electronic installations, airstrips, irrigated pasture or cropland, parks and recreational areas, historical and archeological sites, and environmentally sensitive areas, if any, are depicted.

For each route, cross-reference each habitable structure (or group of habitable structures) and directly affected property identified on the maps or photographs with a list of corresponding landowner names and addresses and indicate which route segment affects each structure/group or property.

Attachment No. 7 is a table that cross-references each habitable structure and directly affected property identified in Figure 3-1 of Attachment No. 1; the cross-reference table includes corresponding landowner names and addresses and indicates which links and alternative routes affect each structure or property.

20.	Permits: 
List any and all permits and/or approvals required by other governmental agencies for the construction of the proposed project.  Indicate whether each permit has been obtained.

The following permits/approvals will be obtained after PUCT approval of the CCN and prior to beginning construction, if necessary:

- Texas Department of Transportation (“TxDOT”) permit(s) for crossing a state-maintained roadway.

- A Storm Water Pollution Prevention Plan (“SWPPP”) will be prepared and a Notice of Intent will be submitted to the Texas Commission on Environmental Quality under the Texas Pollutant Discharge Elimination System (“TPDES”) program.

- A cultural resources survey plan will be developed with the Texas Historical Commission (“THC”) for the proposed project.

- Consultation with the U.S. Army Corps of Engineers will occur following the Commission’s approval of this Application to determine appropriate requirements under Section 404/Section 10 Permit criteria.

- Consultation with the U.S. Fish and Wildlife Service will occur following the Commission’s approval of this Application to determine appropriate requirements under the Endangered Species Act.

21.	Habitable structures:

For each route list all single-family and multi-family dwellings and related structures, mobile homes, apartment buildings, commercial structures, industrial structures, business structures, churches, hospitals, nursing homes, schools, or other structures normally inhabited by humans or intended to be inhabited by humans on a daily or regular basis within 300 feet of the centerline if the proposed project will be constructed for operation at  230kV or less, or within 500 feet of the centerline if  the proposed project will be constructed for operation at greater than 230kV.  Provide a general description of each habitable structure and its distance from the centerline of the route.  In cities, towns or rural subdivisions, houses can be identified in groups.  Provide the number of habitable structures in each group and list the distance from the centerline of the route to the closest and the farthest habitable structure in the group.  Locate all listed habitable structures or groups of structures on the routing map.

A listing of all habitable structures located within 500 feet of each proposed link centerline used in the alternative routes filed in this CCN, along with a general description of each habitable structure and its distance from the centerline of the link and the alternative routes associated is provided in the table below.

| Habitable Structure | Distance (feet) | Description | Direction1 | Link | Route |
| --- | --- | --- | --- | --- | --- |
| 12 | 94 | SFR3 | SE | A | All Filed Routes |
|  | 131 |  | NE | B | 2, 3, 5, 7, 13, 14, 17, 18, 19, 21, 22, 24, 25 |
|  | 142 |  | NE | T | 31, 54, 55, 57, 58, 59, 60, 61, 62, 64, 65, 69, 70, 71, 72, 73, 74, 100, 130, 131, 133, 134, 139, 140, 144, 145, 147, 149, 150, 151 |
| 2 | 199 | SFR | SW | B | 2, 3, 5, 7, 13, 14, 17, 18, 19, 21, 22, 24, 25 |
| 3 | 434 | SFR | NE | V | 31, 100 |
|  | 443 |  | NE | W | 100 |
|  | 443 |  | NE | X | 31 |
|  | 518* |  | SW | B | 2, 3, 5, 7, 13, 14, 17, 18, 19, 21, 22, 24, 25 |
| 4 | 309 | SFR | SE | X | 31 |
|  | 309 |  | SE | V | 31, 100 |
|  | 309 |  | SE | W | 100 |
| 5 | 294 | SFR | SE | X | 31 |
|  | 343 |  | SE | V | 31, 100 |
|  | 343 |  | SE | W | 100 |
| 6 | 447 | SFR | SE | X | 31 |
|  | 497 |  | SE | V | 31, 100 |
|  | 497 |  | SE | W | 100 |
| 7 | 479 | SFR | SE | X | 31 |
| 8 | 345 | SFR | SE | X | 31 |
|  | 455 |  | SE | V | 31, 100 |
|  | 455 |  | SE | W | 100 |
| 9 | 195 | SFR | SW | V | 31, 100 |
|  | 354 |  | E | U1 | 54, 55, 57, 58, 59, 60, 61, 62, 64, 65, 69, 70, 71, 72, 73, 74, 130, 131, 133, 134, 139, 140, 151 |
|  | 359 |  | E | DDD | 151 |
|  | 359 |  | E | V1 | 54, 55, 57, 58, 59, 60, 61, 62, 64, 65, 69, 70, 71, 72, 73, 74, 130, 131, 133, 134, 139, 140 |
|  | 434 |  | NW | W | 100 |
|  | 487 |  | NW | X | 31 |
| 10 | 218 | SFR | SW | W2 | 130, 131, 133, 134, 139, 140 |
| 11 | 275 | SFR | SW | W2 | 130, 131, 133, 134, 139, 140 |
| 12 | 505* | SFR | SW | F | 2, 3, 5, 7 |
| 13 | 275 | SFR | NW | JJ | 5, 13, 14, 17, 18, 31, 54, 55, 57, 58, 73, 74, 100 |
|  | 382 |  | SW | EE | 17, 18, 57, 58 |
|  | 483 |  | NE | HH | 7, 19, 59, 60 |
| 14 | 279 | SFR | NE | RR | 147, 149 |

Notes:

1 Represents the direction from the habitable structure to the provided alternative route link.

2 Owned by Oystercatcher Solar.

3  Denotes single family residence with a permanent foundation.

* The aerial photography used to determine the distance of habitable structures within 500 feet of the centerline of each alternative route link has a horizontal accuracy of +/- 20 feet. To account for this level of accuracy, FNI identified all habitable structures within a measured distance of 520 feet of each alternative route link centerline.

Figure 3-1 (Appendix F map pocket), located in Application Attachment No. 1, depicts the locations of all known habitable structures directly affected by the links used in the proposed alternative routes.

22.	Electronic Installations:

For each route, list all commercial AM radio transmitters located within 10,000 feet of the center line of the route, and all FM radio transmitters, microwave relay stations, or other similar electronic installations located within 2,000 of the center line of the route.  Provide a general description of each installation and its distance from the center line of the route.  Locate all listed installations on a routing map.

There are no known AM radio transmitters located within 10,000 feet of the centerline of any of the alternative route links and no known FM radio transmitters located within 2,000 feet of the centerline of any of the alternative route links.

There are no other known communication towers located within 2,000 feet of the centerline of any of the alternative route links.

Please refer to Section 3.7.7, page 3-54, and Section 7.6.6, pages 7-21 through 7-22, of the Environmental Assessment and Routing Study included as Attachment No. 1.

23.	Airstrips:

For each route, list all known private airstrips within 10,000 feet of the center line of the project.  List all airports registered with the Federal Aviation Administration (FAA) with at least one runway more than 3,200 feet in length that are located within 20,000 feet of the center line of any route.  For each such airport, indicate whether any transmission structures will exceed a 100:1 	horizontal slope (one foot in height for each 100 feet in distance) from the closest point of the closest runway.  List all listed airports registered with the FAA having no runway more than 3,200 feet in length that are located within 10,000 feet of the center line of any route.  For each such airport, indicate whether any transmission structures will exceed a 50:1 horizontal slope from the closest point of the closest runway.  List all heliports located within 5,000 feet of the center line of any route.  For each such heliport, indicate whether any transmission structures will exceed a 25:1 horizontal slope from the closest point of the closest landing and takeoff area of the heliport.  Provide a general description of each listed private airstrip, registered airport, and heliport; and state the distance of each from the center line of each route.  Locate and identify all listed airstrips, airports, and heliports on a routing map.

FNI’s review of federal and state aviation/airport maps and directories, aerial photo interpretation, and reconnaissance survey identified no FAA-registered airports with a runway greater than 3,200 feet in length within 20,000 feet of any alternative route.

FNI’s review also identified: no FAA-registered airports without a runway greater than 3,200 feet in length within 10,000 feet of any alternative route; no heliports within 5,000 feet of any alternative route; and no private airstrips within 10,000 feet of any alternative route.

Please refer to Section 3.7.6, page 3-53 and Section 7.6.5, pages 7-20 through 7-21 of the Environmental Assessment and Routing Study included as Attachment No. 1.

24.	Irrigation Systems: 
For each route identify any pasture or cropland irrigated by traveling irrigation systems (rolling or pivot type) that will be traversed by the route.  Provide a description of the irrigated land and state how it will be affected by each route (number and type of structures etc.).  Locate any such irrigated pasture or cropland on a routing map.

Results of aerial photography interpretation and field reconnaissance surveys did not identify any pasture or cropland irrigated by traveling irrigation systems (rolling or pivot type) that will be traversed by any of the alternative routes of the Proposed Transmission Line Project.

Please refer to Table 7-2 in Appendix D of the Environmental Assessment and Routing Study included as Attachment No. 1.

25.	Notice: 
Notice is to be provided in accordance with 16 TAC §22.52.

A.	Provide a copy of the written direct notice to owners of directly affected land.  Attach a list of the names and addresses of the owners of directly affected land receiving notice.

A copy of the written direct notice, with attached map, that will be provided to the owners of the directly-affected land is included as Attachment No. 8.  The names and addresses of the owners of the directly-affected land, to whom notice will be mailed by first-class mail, are included as Attachment No. 7.

B.	Provide a copy of the written notice to utilities that are located within five miles of the routes.

A copy of the written direct notice, with attached map, that will be provided to Brazos Electric Power Cooperative is included as Attachment No. 9.

C.	Provide a copy of the written notice to county and municipal authorities, and the Department of Defense Siting Clearinghouse. Notice to the DoD Siting Clearinghouse should be provided at the email address found at http://www.acq.osd.mil/dodsc/.

osd.dod-siting-clearinghouse@mail.mil

A representative copy of the written notice, with attached map, that will be provided to county authorities is included as Attachment No. 9.  The following county authorities will be provided the requisite notice on or before the filing date as required by Commission rules:

- Ellis County, County Judge

- Ellis County, County Commissioners – Precincts 1, 2, 3, and 4

A representative copy of the written notice, with attached map, that will be provided to municipal authorities is included as Attachment No. 9.  The following municipal authorities will be provided the requisite notice on or before the filing date, as required by Commission rules:

City of Italy, Mayor

City of Italy, Mayor Pro Tem

City of Italy, City Secretary

City of Italy, Director of Public Works

City of Italy, Council Members

A representative copy of the written notice, with attached map, that will be provided to the Department of Defense Siting Clearinghouse at the email address specified above, and by first-class mail to the address below, is included as Attachment No. 9.

DOD Siting Clearinghouse

3400 Defense Pentagon, Room 5C646

Washington, DC 20301-3400

D.	Provide a copy of the notice that is to be published in newspapers of general circulation in the counties in which the facilities are to be constructed.  Attach a list of the newspapers that will publish the notice for this application.  After the notice is published, provide the publisher's affidavits and tear sheets.

Notice of this Application will be published in The Ennis News, a newspaper of general circulation in Ellis County.  A representative copy of the general public notice to be published is included as Attachment No. 10.

Proof of publication will be provided in the form of publisher’s affidavits and tear sheets following publication of this notice.

For a CREZ application, in addition to the requirements of 16 TAC § 22.52 the applicant shall, not less than twenty-one (21) days before the filing of the application, submit to the Commission staff a “generic” copy of each type of alternative published and written notice for review.  Staff’s comments, if any, regarding the alternative notices will be provided to the applicant not later than seven days after receipt by Staff of the alternative notices,  Applicant may take into consideration any comments made by Commission staff before the notices are published or sent by mail.

Not applicable.

A copy of the application and all attachments will also be provided to the Texas Office of Public Utility Counsel (“OPUC”).  A representative copy of the written notice, with attached map, that will be provided to OPUC is included as Attachment No. 9.

26.	Parks and Recreation Areas:

For each route, list all parks and recreational areas owned by a governmental body or an organized group, club, or church and located within 1,000 feet of the center line of the route.  Provide a general description of each area and its distance from the center line.  Identify the owner of the park or recreational area (public agency, church, club, etc.).  List the sources used to identify the parks and recreational areas.  Locate the listed sites on a routing map.

After review of federal, state, and local websites and maps, as well as field reconnaissance surveys, no parks or recreational areas owned by a government body or an organized group, club, or church were identified within 1,000 feet of the centerline of any alternative route  Proposed Transmission Line Project.

Please refer to Section 3.7.2, page 3-50, and Section 7.6.2, page 7-18 through 7-19 of the Environmental Assessment and Routing Study, included as Attachment No. 1.

27.	Historical and Archeological Sites:

For each route, list all historical and archeological sites known to be within 1,000 feet of the center line of the route.  Include a description of each site and its distance from the center line.  List the sources (national, state or local commission or societies) used to identify the sites.  Locate all historical sites on a routing map.  For the protection of the sites, archeological sites need not be shown on maps.

Research and a records review were conducted of the Texas Historic Commission (“THC”) Historic Sites Atlas and the THC Archaeological Sites Atlas, to locate known cultural resources within 1,000 feet of the centerline of any route for the Proposed Transmission Line Project.  THC records indicated no historical sites known to be within 1,000 feet of any alternative route centerline.  THC records indicated no National Register of Historic Places (“NRHP”), State Antiquities Landmarks (“SALs”), or cemeteries recorded within 1,000 feet of any alternative route centerline.  One archaeological site was located within 1,000 feet of the alternative route centerlines. The distances from this cultural resource to the closest route links and the corresponding routes are provided in the table below.

| Feature ID | Routes | Links | Distance to Link (feet) | Direction to Link |
| --- | --- | --- | --- | --- |
| ***THERE ARE NO CEMETERIES WITHIN 1,000 FEET OF A ROUTE*** |  |  |  |  |
| ***THERE ARE NO OFFICIAL TEXAS HISTORICAL MARKERS WITHIN 1,000 FEET OF A ROUTE*** |  |  |  |  |
| ARCHAEOLOGICAL SITES WITHIN 1,000 FEET OF ROUTE |  |  |  |  |
| 41EL23 | 19,21,22,24,25,59,60,61,62,64,65,130,131,133,134 | AA | 186 | SE |
|  | 19,21,22,59,60,61,62,130,131 | BB | 849 | NE |
|  | 24,25,64,65,133,134 | CC | 863 | NE |

Please refer to Section 3.8, pages 3-54 through 3-62, and Section 7.7, pages 7-22 through 7-24 of the Environmental Assessment, included as Attachment No. 1.

28.	Coastal Management Program:

For each route, indicate whether the route is located, either in whole or in part, within the coastal management program boundary as defined in 31 T.A.C. §503.1.  If  any route is, either in whole or in part, within the coastal management program boundary, indicate whether any part of the route is seaward of the Coastal Facilities Designation Line as defined in 31 T.A.C. §19.2(a)(21).  Using the designations in 31 T.A.C. §501.3(b), identify the type(s) of Coastal Natural Resource Area(s) impacted by any part of the route and/or facilities.

The Proposed Transmission Line Project is not located, either in whole or in part, within the coastal management program boundary as defined in 31 TAC §503.1.

29.	Environmental Impact:

Provide copies of any and all environmental impact studies and/or assessments of the project.  If no formal study was conducted for this project, explain how the routing and construction of this project will impact the environment.  List the sources used to identify the existence or absence of sensitive environmental areas.  Locate any environmentally sensitive areas on a routing map.  In some instances, the location of the environmentally sensitive areas or the location of protected or endangered species should not be included on maps to ensure preservation of the areas or species.

The Environmental Assessment and Routing Study prepared by FNI is included as Attachment No. 1.

Within seven days after filing the application for the project, provide a copy of each environmental impact study and/or assessment to the Texas Parks and Wildlife Department (TPWD) for its review at the address below.  Include with this application a copy of the letter of transmittal with which the studies/assessments were or will be sent to the TPWD.

Wildlife Habitat Assessment Program

Wildlife Division

Texas Parks and Wildlife Department

4200 Smith School Road

Austin, Texas 78744

The applicant shall file an affidavit confirming that the letter of transmittal and studies/assessments were sent to TPWD.

A copy of the Environmental Assessment and Routing Study will be provided to the Texas Parks and Wildlife Department (“TPWD”) for review within seven days following the filing of the Application for the Proposed Transmission Line Project.  Please refer to Attachment No. 12 for a copy of the transmittal letter which will be sent to the TPWD.

30.	Affidavit

Attach a sworn affidavit from a qualified individual authorized by the applicant to verify and affirm that, to the best of their knowledge, all information provided, statements made, and matters set forth in this application and attachments are true and correct.

31.	List of Attachments to the CCN Application

Attachment No. 1:   	Environmental Assessment and Routing Study

Attachment No. 2:	Cost Estimates

Attachment No. 3:	ERCOT Standard Generation Interconnection Agreement dated 			August 20, 2021

Attachment No. 4:   	Project Location Map referenced in Application Response #14

Attachment No. 5:	Schematic of Transmission System in Proximate Area of Project

Attachment No. 6:	Routing Memorandum of Brenda J. Perkins

Attachment No. 7:	Listing of Directly Affected Land Owners for Notice

Attachment No. 8:	Copy of Notice to Directly Affected Land Owners

Attachment No. 9:	Copy of Notice to Counties, Municipalities, OPUC, and Department of Defense Siting Clearinghouse

Attachment No. 10:	Copy of Newspaper/Public Notice

Attachment No. 11:	Copy of Courtesy Notice to Pipeline Owners/Operators

Attachment No. 12:	Transmittal Letter to TPWD

Attachment No. 13:     Affidavit