Request. Please refer to Oncor’s response to Chambers Creek RFI 1-12. a. Please provide all information, studies, reports, analyses, etc., that support Oncor’s decision to not construct the substation at Option 3. b. Please confirm that Oncor owns or has an easement along the ROW of the existing Venus Switch – Navarrao Switch 345 kV transmission Line. c. Please confirm that Oncor could access Substation Option 3 via the ROW of the existing Venus Switch – Navarro Switch 345-kV transmission line. d. Please provide any and all photographs Oncor has of the site near Substation Option 3. e. Please provide any topographical maps Oncor has of the site near Substation Option 3, that would support Oncor’s characterization of the site have “undesirable topography.” f. Please provide a detailed narrative explaining what makes the topography of Substation Option 3 “undesirable.” g. Please confirm that Substation Option 3 is not in a FEMA floodplain. If this cannot be confirmed, please provide a detailed narrative explaining the response. h. Please provide the Google Earth files used to create ATTACHMENT 1 - Old Country Switch Station Locations Map..

Response. The following response was prepared by or under the direct supervision of Oscar Rodriguez, the sponsoring witness for this response. a. The information requested is Highly Sensitive and will be made available only after execution of certificate to be bound by the modified protective order in this docket. An index of the confidential information is included in Attachment 1. The Site Visit Meeting Notes document was created following field reconnaissance of potential station sites conducted on June 15, 2020. The attendees of this visit included a team of Oncor specialists in civil engineering, transmission services, substation development, and field construction, whose combined observations and feedback formed the basis of Oncor’s decision not to construct the station at Option 3. b. Confirmed. Oncor has a non-exclusive transmission line easement along the right-of-way of the existing Venus Switch – Navarro Switch 345 kV transmission line. c. Denied. Oncor could not access Substation Option 3 via the right-of-way of the existing Venus Switch – Navarro Switch 345 kV transmission line, as noted on page 2 of Attachment 1 hereto. Oncor’s easement does not permit Oncor to construct an access road through the right-of-way. d. Oncor does not have photographs of the site near Substation Option 3. e. Please see the Federal Emergency Management Agency (“FEMA”) floodplain map included as Attachment 2 hereto. f. As shown in Attachment 2, Substation Option 3 is surrounded on three sides by FEMA flood hazard areas, including a sizeable valley that lies directly between Substation Option 3 and Bill Lewis Road. In order to reliably access Substation Option 3, Oncor would need to construct an access road that circumnavigated the valley, resulting in a longer, more circuitous route, which would add to the expense of the project. g. As shown in Attachment 2, Substation Option 3 is in an area of minimal flood hazard, but is surrounded on three sides by FEMA flood hazard areas. h. Attachment 1 – Old Country Switch Station Locations Map was created using the shapefiles provided to Chambers Creek Ranch in Oncor’s response to Chamber Creek Ranch’s RFI Set 1, Question No. 1-01. The proposed transmission line and potential station locations were drawn on a PDF version of the map. ATTACHMENTS ATTACHMENT 1 – Highly Sensitive Protected Material Index – 1 page ATTACHMENT 2 – Federal Energy Management Agency (“FEMA”) floodplain map – 1 page.