Request. Please refer to Oncor’s response to Chambers Creek RFI 1-19b. a. Please confirm that Route 160 is $2.1 million (20%) less expensive than Route 54, the least expensive route included in Oncor’s Application. b. Please provide all studies and/or analyses that support Oncor’s claim that the hypothetical substation location would result in “substantial additional costs.” c. Please provide a detailed narrative explaining the “unique topography” of the hypothetical substation location. d. Please provide Oncor’s estimate of the cost of the hypothetical substation such that it can be directly compared to the $7.825 million cost estimate of Oncor’s proposed location of the Old Country Switch. e. Please confirm that Oncor has access to the ROW on the Venus Switch – Navarro Switch 345-KV transmission line. f. Please explain why this substation location would require a different layout than the location selected by Oncor. g. Please provide the detailed engineering design/layout of the Old Country Switch at the location selected by Oncor..

Response. The following response was prepared by or under the direct supervision of Oscar Rodriguez, the sponsoring witness for this response. a. The transmission line costs for Route 160 are less expensive than for Route 54. However, this route does not terminate at Oncor’s Old Country Switch and would involve other, non-quantified costs associated with the station. b. Please see (1) the Site Visit Meeting Notes provided in Oncor’s response to Chambers Creek Ranch’s RFI Set No. 2, Question No. 2-01, and (2) Oncor’s response to Chambers Creek Ranch’s RFI Set No. 2, Question No. 2-01f. Additionally, the property for this hypothetical substation location has not been acquired and there is no guarantee it can be timely acquired to allow construction to proceed as scheduled. c. Please see Oncor’s response to Chambers Creek Ranch’s RFI Set No. 2, Question No. 2-01f. d. Oncor does not have a cost estimate of the hypothetical substation. Creating such an estimate would require Oncor to conduct on-the-ground surveying and engineering designs for the station, which have not been performed. e. Confirmed. Oncor has access to the right-of-way on the Venus Switch – Navarro Switch 345 kV transmission line. f. The layout of a substation is determined by several factors, including (i) the station’s position and orientation relative to the incoming and exiting transmission lines, jumpers, tap lines, and/or points of interconnection; (ii) the local topography and grading; and (iii) the location and direction of access roads and points of entry. The hypothetical substation is in a different location, presumably with distinct topography (although Oncor has not conducted surveys of the hypothetical station site), from the chosen location for the Old Country Switch. Furthermore, Oncor has not evaluated potential routes for access roads to this location in any detail. Therefore, at a minimum, the grading layout and access points of the hypothetical substation would differ from those at the chosen location for the Old Country Switch. g. The information requested is highly sensitive protected material and will be made available only after the execution of a certification to be bound by the modified protective order in this docket. An index of the highly sensitive confidential information is included in Attachment 1. ATTACHMENTS ATTACHMENT 1 – Highly Sensitive Confidential Index, 1 page.