TO:		Jenna Keller, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		September 23, 2021

RE:	Docket No. 52460 – Application of Mountain Peak Special Utility District to Amend its Certificate(s) of Convenience and Necessity in Ellis and Johnson Counties

On August 23, 2021, Mountain Peak Special Utility District (Mountain Peak SUD) filed with the Public Utility Commission of Texas an application to amend its water certificate of convenience and necessity (CCN) No. 10908 in Ellis and Johnson Counties, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by Mountain Peak SUD, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Mapping Content:

Mountain Peak SUD must submit the following items to resolve the mapping deficiencies:

Based on the mapping review by Tracy Montes, Infrastructure Division, the digital mapping data, detailed maps, and general location maps submitted on August 23, 2021 are deficient.  The existing facilities plus two hundred feet service area for Mountain Peak SUD (CCN No. 10908) overlaps with a portion of the requested area. If Mountain Peak SUD is seeking to decertify the portion of its existing facilities plus two hundred feet CCN that overlaps with the requested area, it must revise its general location and detailed maps to identify the portion to be decertified from CCN No. 10908.

Applicant must submit the following items to resolve the mapping deficiencies:

- A general location map identifying the requested area to be added to Mountain Peak SUD’s CCN and the portion of the facilities line plus 200 feet CCN to be decertified, in reference to the nearest county boundary, city, or town.

- A detailed map identifying the requested area to be added to Mountain Peak SUD’s CCN and the portion of the facilities line plus 200 feet CCN to be decertified, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends that Mountain Peak SUD obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by Mountain Peak SUD and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).