TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	December 1, 2021

RE:	Docket No. 52464 – Application of Creekwood Ranches Water Supply Corporation and East Medina Special Utility District for Sale, Transfer, or Merger of Facilities and Certificate Rights in Medina County

1.	Application

On August 24, 2021, East Medina Special Utility District (East Medina SUD) and the Creekwood Ranches Water Supply Corporation (Creekwood Ranches WSC) (collectively the Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Medina County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, East Medina SUD, Certificate of Convenience and Necessity (CCN) No. 10217, seeks approval to acquire facilities and to transfer all of the water service area from Creekwood Ranches WSC under water CCN No. 11897.  The requested area includes 161 customer connections and approximately 355 acres, comprised of 355 acres of transferred area from CCN No. 11897.

The application proposes the transfer of approximately 355 acres from CCN No. 11897 to CCN No. 10217.

2.	Notice

East Medina SUD provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was November 3, 2021; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Creekwood Ranches WSC has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Creekwood Ranches WSC, PWS ID No. 1630029.  The last TCEQ compliance investigation of the Creekwood Ranches WSC system was on July 7, 2020.  No violations or concerns were noted as a result of that investigation.  In addition, the Commission’s complaint records, which date back to 2014, show no complaints against Creekwood Ranches WSC.

No additional construction is necessary for the East Medina SUD to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer Creekwood Ranches WSC public water system to East Medina SUD.  The customers are currently receiving water service from Creekwood Ranches WSC’s water system.

There are currently 161 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

East Medina SUD will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

East Medina SUD has the ability to provide adequate service in the requested area.  East Medina SUD has three Texas Commission on Environmental Quality (TCEQ) approved public water systems.  East Medina SUD does not have any violations listed in the TCEQ database for any of their public water systems. In addition, the Commission’s complaint records, which date back to 2014, show no complaints against East Medina SUD.  No additional construction is necessary for East Medina SUD to serve the requested area.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for East Medina SUD to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Creekwood Ranches WSC is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

East Medina SUD will continue to provide water service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and the water service area of the water CCN No. 11897 to East Medina SUD and amending water CCN No. 10217 of East Medina SUD is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Creekwood Ranches WSC for the customers being served.  I further recommend that a public hearing is not necessary.