TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	September 23, 2021

RE:	Docket No. 52464 – Application of Creekwood Ranches Water Supply Corporation and East Medina Special Utility District for Sale, Transfer, or Merger of Facilities and Certificate Rights in Medina County

On August 24, 2021, East Medina Special Utility District (East Medina SUD) and the Creekwood Ranches Water Supply Corporation (WSC) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Medina County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, East Medina SUD, certificate of convenience and necessity (CCN) No. 10217, seeks approval to acquire facilities and to transfer all of the water service area from Creekwood Ranches WSC under water CCN No. 11897.  The requested area includes 161 customer connections and approximately 355 acres, comprised of 355 acres of transferred area from CCN No. 11897.

The application proposes the transfer of approximately 355 acres from CCN No. 11897 to CCN No. 10217.

Based on the mapping review by Gary Horton, Infrastructure Division, the maps submitted on September 3, 2021 are sufficient.  Based on my technical and managerial review of the additional information filed on September 3, 2021, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Nueces River Authority

- Old Highway 90 Water Service (CCN No. 12975)

- Yancey WSC (CCN No. 11463)

  - The county judge of each county that is wholly or partially included in the requested area:

- Medina County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Edwards Aquifer Authority

- Medina County Groundwater Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at http://www14.tceq.texas.gov/iwud/.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.