## FF_Base
Table 1: Financial Forecast – Base Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | 135 | 7 | 239 | 7
SDA on all units | 346 | 8 | 449 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | 13 | 3 | 117 | 3
Convert one unit to gas + DSI on remaining units | 79 | 6 | 183 | 6
Retire two units + DSI on remaining unit | 70 | 4 | 126 | 4
Retire one unit + DSI on remaining units | 74 | 5 | 160 | 5
Cease Coal Operations
Convert all units to gas | -80 | 1 | 24 | 2
Retire all units | 0 | 2 | 0 | 1
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -108 |  | -83
Convert all units to gas + Solar | -126 |  | -55

## PF_Base
Table 2: Planning Forecast – Base Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | 188 | 7 | 283 | 7
SDA on all units | 397 | 8 | 492 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | 70 | 3 | 165 | 4
Convert one unit to gas + DSI on remaining units | 136 | 5 | 231 | 6
Retire two units + DSI on remaining unit | 80 | 4 | 121 | 3
Retire one unit + DSI on remaining units | 146 | 6 | 224 | 5
Cease Coal Operations
Convert all units to gas | -26 | 1 | 69 | 2
Retire all units | 0 | 2 | 0 | 1
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -47 |  | -28
Convert all units to gas + Solar | -71 |  | -4

## FF_High
Table 3: Financial Forecast – High Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | -62 | 5 | 42 | 7
SDA on all units | 144 | 8 | 248 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | -98 | 2 | 6 | 3
Convert one unit to gas + DSI on remaining units | -78 | 3 | 25 | 6
Retire two units + DSI on remaining unit | -2 | 6 | 14 | 4
Retire one unit + DSI on remaining units | -69 | 4 | 17 | 5
Cease Coal Operations
Convert all units to gas | -133 | 1 | -29 | 1
Retire all units | 0 | 7 | 0 | 2
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -180 |  | -199
Convert all units to gas + Solar | -220 |  | -191

## PF_High
Table 4: Planning Forecast – High Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | -14 | 4 | 81 | 7
SDA on all units | 190 | 8 | 285 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | -43 | 2 | 52 | 4
Convert one unit to gas + DSI on remaining units | -27 | 3 | 68 | 5
Retire two units + DSI on remaining unit | -3 | 5 | 37 | 3
Retire one unit + DSI on remaining units | 0 | 6 | 77 | 6
Cease Coal Operations
Convert all units to gas | -78 | 1 | 17 | 2
Retire all units | 0 | 6 | 0 | 1
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -114 |  | -136
Convert all units to gas + Solar | -163 |  | -137

## FF_Low
Table 5: Financial Forecast – Low Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | 250 | 7 | 354 | 7
SDA on all units | 469 | 8 | 573 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | 54 | 3 | 158 | 3
Convert one unit to gas + DSI on remaining units | 161 | 6 | 265 | 6
Retire two units + DSI on remaining unit | 106 | 4 | 187 | 4
Retire one unit + DSI on remaining units | 153 | 5 | 239 | 5
Cease Coal Operations
Convert all units to gas | -83 | 1 | 21 | 2
Retire all units | 0 | 2 | 0 | 1
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -79 |  | -27
Convert all units to gas + Solar | -96 |  | 3

## PF_Low
Table 6: Planning Forecast – Low Gas
| 2040 |  | 2054
Scenario | PVRR | Rank | PVRR | Rank
Fully Maintain Coal Operations
DSI on all units | 305 | 7 | 400 | 7
SDA on all units | 523 | 8 | 618 | 8
Partially Maintain Coal Operations
Convert two units to gas + DSI on remaining unit | 112 | 3 | 207 | 4
Convert one unit to gas + DSI on remaining units | 219 | 5 | 315 | 6
Retire two units + DSI on remaining unit | 127 | 4 | 168 | 3
Retire one unit + DSI on remaining units | 227 | 6 | 305 | 5
Cease Coal Operations
Convert all units to gas | -29 | 1 | 66 | 2
Retire all units | 0 | 2 | 0 | 1
SPP Generator Replacement / Surplus Interconnection Options
Convert 2 units to gas + convert 1 unit to SC + solar | -19 |  | 26
Convert all units to gas + Solar | -41 |  | 53