## Sheet1
TPWD Recommendation in November 2021 Letter | Letter Page | ETI Response
Please review the TPWD correspondence in Attachment 1 [of the Environmental Assessment] and consider the recommendations provided, as they remain applicable to the project as proposed. | 3 | ETI followed the recommendations in the May 29, 2020 letter from TPWD to avoid and minimize impacts during the initial project siting and design. The recommendations from TPWD in the May 29, 2020 letter were the basis for developing the EA.
TPWD recommends the judicious use and placement of sediment control fence to exclude wildlife from the construction area where practical. In many cases, sediment control fence placement for the purposes of controlling erosion and protecting water quality can be modified minimally to also provide the benefit of excluding wildlife access to construction areas. For linear projects, fencing can be limited to active-construction areas within the project site. The exclusion fence should be buried at least six inches and be at least 24 inches high. The exclusion fence should be maintained for the life of the project and only removed after the construction is completed and the disturbed site has been revegetated. | 3 | ETI plans to use 24” silt fencing for wildlife exclusion during the construction of OCAPS.
For soil stabilization and/or revegetation of all disturbed areas within the project area, TPWD recommends erosion and seed/mulch stabilization materials that avoid entanglement hazards to wildlife species. Because the mesh found in many erosion control blankets or mats pose an entanglement hazard to wildlife, TPWD recommends the use of no-till drilling, hydromulching and/or hydroseeding rather than erosion control blankets or mats due to a reduced risk to wildlife. If erosion control blankets or mats will be used, the product should contain no netting or contain loosely woven, natural fiber netting in which the mesh design allows the threads to move, therefore allowing expansion of the mesh openings. Plastic mesh matting and hydromulch containing microplastics should be avoided. | 3 | ETI will use erosion control blankets (“ECBs”) primarily in areas in ditches, roadways, or highly sloped areas. Most of the site will be stabilized using crushed aggregate base fill or hydroseeding. Preliminary design includes the use of a Federal Highway Administration-approved photodegradable product limited to the highly sloped areas where other stabilization methods are not feasible. ETI will continue to evaluate erosion control options to minimize the impact of the project.
Any mulched vegetation left in place to provide soil remediation should be less than 2 inches thick. The mulch that is left in place should not inhibit revegetation of right-of-way (ROW) or other greenspace within the ETI property. | 4 | Current plans do not include spreading of mulched vegetation for soil remediation. If spreading mulched vegetation is deemed necessary, ETI will endeavor to limit the thickness of such mulched vegetation to less than two inches.
Inappropriately timed trimming and/or clearing can contribute to oak wilt, a disease that has killed over 1 million trees in Texas. TPWD advises against vegetation clearing between February 1 and June 15, which is the highest risk season for oak wilt. The use of a rotary mower along ROW borders leaves splintered, jagged cuts and adjacent vegetation communities become vulnerable to disease and infestations (e.g. oak wilt, oak decline). Regardless of season, all trimming cuts or other wounds to oak trees, including freshly cut stumps and damaged surface roots, should be treated immediately with a wound or latex paint to prevent exposure to contaminated insect vectors. TPWD's primary recommendation is to avoid impacts to native woodlands; if impacts are unavoidable, TPWD recommends hand-clearing within areas of native oaks. | 4 | The Commission should not include this recommendation in the order in this docket. This recommendation is not applicable because almost all vegetation within the OCAPS construction area will be permanently cleared.
Maintenance mowing should be timed to occur between September and December. If the conditions are too dry and pose a fire or other safety hazard, mowing should be postponed until conditions allow for safe mowing. | 4 | The Commission should not include this recommendation in the Order in this docket. The mowing that may be necessary will be limited to only those areas where mowing is necessary to ensure security and safety at the OCAPS facility. As previously stated, most of the area will be constructed with crushed aggregate and vegetated areas will be limited.
During construction, operation, and maintenance of the proposed facility, TPWD recommends observing slow (25 miles per hour, or less) speed limits within the project site. Reduced speed limits would allow personnel to see wildlife in the vehicle path and avoid harming them. | 4 | A speed limit of 15 miles-per-hour or lower will be observed during the construction, operation, and maintenance of OCAPS.
TPWD recommends any PUC certificate preclude vegetation clearing activities during the general bird nesting season, March 15 through September 15, to avoid adverse impacts to birds. If clearing vegetation during bird nesting season is unavoidable, TPWD recommends ETI survey the proposed route for active nests (nests with eggs or young). TPWD recommends that a minimum 150-foot buffer of vegetation remain around any nests that are observed prior to disturbance and occupied nests and buffer vegetation not be disturbed until the eggs have hatched and the young have fledged. | 4-5 | The Commission should not include these recommendations in the Order in this docket. ETI will work to clear vegetation outside of the general bird nesting season, when possible. However, if site clearing is delayed and must be conducted in the bird nesting period, ETI will conduct pre-construction clearance surveys for nests and wildlife.
TPWD recommends minimizing electrocution hazards to perching birds and marking lines in areas of high bird use to minimize collision risks. For additional information, please see the guidelines published by USFWS and the Avian Power Lines Interaction Committee (APLIC) in the updated guidance document Reducing Avian Collisions with Power Lines: State of the Art in 2012. This manual, released on December 20, 2012, identifies beneficial practices and provides specific guidance to help electric utilities and cooperatives reduce bird collisions with power lines. A companion document, Suggested Practices for Avian Protection on Power Lines, was published by APLIC and the USFWS in 2006. | 5 | ETI will adhere to the Federal Migratory Bird Treaty Act and review the guidelines published by United States Fish and Wildlife Service (“USFWS”) and the Avian Power Lines Interaction Committee in the guidance document titled Reducing Avian Collisions with Power Lines: State of the Art in 2012 and the companion document, published by the Avian Power Lines Interaction Committee and the USFWS in 2006 as recommended by TPWD.
Please review the Federal Law: Migratory Bird Treaty Act section above for recommendations as they would also serve to minimize potential impacts to federally listed birds. | 5 | TPWD will review the Migratory Bird Treaty Act as recommended by TPWD.
The black rail and presence of its habitat within the proposed OCAPS project site is discussed briefly within Section 3.12.1.4 of the EA in the context of the MBTA; however, there is no discussion regarding impacts to the black rail in relation to the ESA. The black rail was officially listed under the ESA on November 9, 2020. TPWD recommends ETI conduct a thorough black rail occupancy assessment and evaluation of potential impacts relative to the ESA to the black rail and any potential suitable habitat within the project area. | 6 | The Commission should not include this recommendation in the order in this docket. Although the black rail species is not currently listed by either TPWD or the USFWS as occurring in Orange County, Texas, recent information indicates that the black rail species occurs in the County. ETI identified estuarine marsh on the east and west sides of the Sabine facility and the OCAPS site that would be crossed by a relocated transmission line and the proposed dredging of the discharge canal. ETI does not anticipate impacts to the black rail or its habitats based on planned or proposed construction activities. ETI will use temporary matting in marsh areas to limit impacts to the area identified as potential habitat for the black rail species during construction of the transmission line and dredging activities will only affect open water habitats not associated with the black rail. ETI will coordinate with the USFWS Clear Lake Field Office to further evaluate potential impacts and avoidance/mitigation strategies for the black rail species.
TPWD recommends that potential impacts to West Indian manatee should not be totally discounted and be granted further consideration in consultation with the USFWS. | 6 | As ETI clarified in the December 17, 2021 discussion with TPWD, the Sabine intake canal has barriers that would preclude a wayward West Indian manatee from reaching the construction area along the intake canal. However, there is a slight potential for manatees to occur within the Sabine discharge canal that is scheduled to undergo maintenance dredging as part of the construction of OCAPS. During the construction of OCAPS, ETI will inform dredge vessel operators of the potential for West Indian manatees and require that dredge vessels be operated at slow speeds within the discharge canal to minimize the potential for vessel strikes during the maintenance dredging. Dredging activities are currently planned to occur outside of the documented periods when the West Indian manatee is known to occur in the region of the OCAPS project. ETI will coordinate with the USFWS Clear Lake Field Office to further evaluate potential impacts and mitigation strategies for the West Indian manatee.
Since wetland impacts associated with the proposed project would be permitted through a U.S. Army Corps of Engineers' Nationwide Permit, TPWD believes Section 7 consultation is appropriate and should be pursued for the black rail and West Indian manatee. | 6-7 | ETI will coordinate with USFWS regarding the black rail and West Indian manatee.
Please review the Federal Law : Migratory Bird Treaty Act section above for recommendations as they are also applicable for chapter 64 of the PWC compliance. | 7 | ETI will review the Migratory Bird Treaty Act as recommended by TPWD and implement measures where feasible and applicable.
To avoid or minimize potential adverse impacts to aquatic species, TPWD recommends implementing additional construction methodologies and beneficial management practices (BMP), including constructing stream crossings that do not obstruct flow and ensuring that permanent or temporary fills do not smother freshwater mussels. | 8 | The Commission should not include this recommendation in the order in this docket. OCAPS has been designed to avoid and minimize impacts to aquatic habitat because project fill impacts will occur within man-made drainages that do not have significant riparian zones or sensitive aquatic organisms. Wetland delineations identified man-made drainage ditches within the OCAPS site that were unnaturally straight and engineered to facilitate the drainage of excess surface water off-site. The man-made drainages were observed during the survey as supporting aquatic life including snakes, small fish, waterfowl, and frogs. However, freshwater mussels were not observed . Construction of OCAPS will result in some fill impacts to surface waters that will be permitted in accordance with the USACE and Texas Commission on Environmental Quality (“TCEQ”) requirements. ETI will utilize industry standard construction best management practices such as silt fencing, erosion controls, hydroseeding, and revegetation to stabilize soils and minimize potential erosion and sedimentation into onsite and offsite waterbodies.
To minimize disturbance to streams and to minimize impacts to aquatic life, TPWD recommends allowing personnel and equipment to enter streams only when essential to the work being done. If work would be conducted within riparian areas, only vegetation impeding construction should be removed, equipment should not be driven over vegetation when it is wet, and heavy machinery should not be stored on vegetative cover for long periods of time. Protective mats should be utilized during construction to reduce the amount of soil and root disturbance and aid in the recovery of plants. | 8 | The Commission should not include this recommendation in the order in this docket. There are no natural streams or associated aquatic resources or natural riparian areas associated with the project. Aquatic resources consist of man-made drainage ditches used for stormwater runoff. Impacts from OCAPS will not result in losses to riparian zones as there are not significant riparian zones associated with the man-made ditches. There are not any natural streams within the OCAPS project site. OCAPS has been designed to avoid and minimize impacts to aquatic habitat because project fill impacts will occur within man-made drainages that do not have significant riparian zones or sensitive aquatic organisms. Construction of OCAPS will result in some fill impacts to surface waters that will be permitted in accordance with USACE and TCEQ requirements. ETI will utilize industry standard construction best management practices such as silt fencing, erosion controls, hydroseeding, and revegetation to stabilize soils and minimize potential erosion and sedimentation into onsite and offsite waterbodies. Protective mats will be utilized during installation of the transmission line within the marsh areas along the eastern OCAPS boundary.
TPWD recommends avoiding and minimizing impacts to bottomland/riparian woodlands. Healthy and intact riparian zones are an integral component to stream health. Riparian zones reduce sedimentation by stabilizing sediment. Sediments within the water can reduce the capacity of downstream reservoirs, clog fish gills, bury mussels and their preferred habitats, and reduce instream habitat, creating homogenized flat, sandy topography that benefits few species. Healthy riparian zones also contribute to instream structural habitat by providing woody debris. Tree canopy cover from the riparian zone moderates and cools water temperature, supporting more fish and mussel species than sunny, warm water. Allochthonous nutrient input from riparian plant leaf litter contribute large amounts of energy into stream systems and form the basis of healthy, diverse, and robust food webs and aquatic communities. | 8 | The Commission should not include this recommendation in the order in this docket. The man-made drainage ditches that will be impacted by OCAPS will not result in impacts to riparian zones as there are not significant riparian zones associated with the man-made ditches. There are not any natural streams within the OCAPS project site. OCAPS has been designed to avoid and minimize impacts to bottomland forest and forested wetlands where possible.
If construction or maintenance related activities within water resources are anticipated to occur, then TPWD recommends ETI coordinate with TPWD Kills and Spills Team (KAST) to develop a plan to avoid impacts to aquatic resources and, in some instances, relocate aquatic resources outside of the project area. The coordination process should include the development of a written Aquatic Resources Relocation Plan (ARRP) to control and limit the impacts of construction, operation or maintenance related projects on aquatic resources. An ARRP for this project can be submitted to Ms. Claire Iseton at (281) 534-0137 or Claire.Iseton@tpwd.texas.gov. | 9 | The Commission should not include this recommendation in the order in this docket. OCAPS has been designed to avoid and minimize impacts to aquatic habitat because project fill impacts will occur within man-made drainages that do not have significant riparian zones or sensitive aquatic organisms. No protected aquatic resources requiring relocation are known to occur within the OCAPS impact areas. In the event that protected species are identified, ETI will coordinate with TPWD and USFWS.
If construction occurs during times when water is present in streams and dewatering activities or other harmful construction activities are involved, then TPWD recommends relocating potentially impacted native aquatic resources in conjunction with the Permit to Introduce Fish, Shellfish or Aquatic Plants into Public Waters and an ARRP. The ARRP should be completed and approved by the department 30 days prior to dewatering and/or resource relocation and submitted with the application for a no - cost Permit to Introduce Fish, Shellfish, or Aquatic Plants into Public Waters. ETI must receive formal approval of the ARRP by TPWD prior to initiating dewatering, maintenance, or construction related activities. | 9 | The Commission should not include this recommendation in the order in this docket. There are no natural streams within the OCAPS project site. OCAPS has been designed to avoid and minimize impacts to aquatic habitat because project fill impacts will occur within man-made drainages that do not have significant riparian zones or sensitive aquatic organisms. No protected aquatic resources requiring relocation are known to occur within the OCAPS impact areas. In the event that protected species are identified, ETI will coordinate with TPWD and USFWS.
TPWD recommends use of BMPs for riparian areas to minimize potential impacts to sensitive aquatic organisms. BMPs would include measures such as avoiding construction during spawning periods and use of double silt fences and doubling soil stabilization measures along the banks to avoid increasing the turbidity of the creek. If dewatering activities and other project-related activities cause mortality to fish and wildlife species, then the responsible party would be subject to investigation by the TPWD KAST and will be liable for the value of the lost resources under the authority of PWC sections 12.0011(b)(1) and 12.301. | 9 | The Commission should not include this recommendation in the order in this docket. The man-made drainage ditches that will be impacted by OCAPS will not result in impacts to riparian zones as there are not significant riparian zones associated with the man-made ditches. There are not any natural streams within the OCAPS project site. OCAPS has been designed to avoid and minimize impacts to aquatic habitat because project fill impacts will occur within man-made drainages that do not have significant riparian zones or sensitive aquatic organisms. In the event that protected species are identified, Entergy will coordinate with TPWD and USFWS.
Due to the lack of information on how ETI will not impact state listed species, TPWD recommends review of the information and implementation of the BMP pertaining to state listed species provided in the May 29,2020, correspondence from this agency. | 10 | Prior to construction of OCAPS, ETI will evaluate the state-listed species with potential to occur in the project and will follow, where practical, the recommended best management practices in the May 29, 2020 letter to reduce impacts.
Please review the TPWD RTEST Orange County species list since other species in addition to those discussed in this letter could be present within the project area depending upon habitat availability. Please note that the TPWD RTEST application undergoes regular updates. Please routinely review the RTEST county species lists for this and all other proposed projects. The USFWS should be contacted for species occurrence data, guidance, permitting, survey protocols, and mitigation for federally listed species. Determining the actual presence of a species in an area depends on many variables including daily and seasonal activity cycles, environmental activity cues, preferred habitat, transiency, and population density (both wildlife and human). The absence of a species can be demonstrated only with great difficulty and then only with repeated negative observations, considering all the variable factors contributing to the lack of detectable presence. If encountered during construction, TPWD recommends that measures be taken to avoid impacting all wildlife, regardless of federal or state listing status. | 11 | Prior to construction of OCAPS, ETI will review the TPWD RTEST Orange County species list and consult with USFWS for species occurrence data, guidance, permitting, survey protocols, and mitigation for state and federally listed species.
TPWD recommends ETI reduce the amount of vegetation proposed for clearing and minimize clearing of native vegetation, particularly mature native trees, riparian vegetation, and vegetation characteristic of protected species' habitats to the greatest extent practicable. TPWD also recommends ETI prepare a site reclamation plan if one has not been prepared to date. TPWD recommends off-site mitigation for removed trees. For losses determined to be unavoidable, TPWD recommends a 1:1 acreage replacement of high-quality habitat lost or a replacement ratio of three trees for every mature tree lost. For trees in the project area determined to be old timber (100+ years and/or with a diameter breast height >25 inches) the value of each tree should be estimated using current insurance schedules or replaced at a ratio of 10 trees for each tree lost. A three to five-year maintenance plan that ensures an 85 percent survival rate should be developed for the replacement vegetation. Mitigation should be planned for unavoidable loss of native vegetation disturbed by project activities and should be developed in coordination with TPWD. TPWD recommends utilizing online resources concerning vegetation, clearing, and revegetation, available at the TPWD Wildlife Habitat Assessment Program: Planning Tools and Best Management Practices webpage. Specific requirements apply to impacts to wetlands; please reference the above State Law: Aquatic Resources section and previous correspondence ( May 2020 ) for information on coordination for wetland mitigation with federal and state agencies. Alternatively, mitigation could be coordinated with a local land trust or other conservation organization. | 11-12 | The Commission should not include these recommendations in the order in this docket. These recommendations are not applicable to the project because almost all vegetation within the OCAPS construction area will be permanently cleared.
TPWD believes the "species management plan" mentioned in Section 3.12.3 of the EA is appropriate and necessary to include as an appendix to the EA. Detailed recommendations were provided by this agency in prior correspondence, and therefore, could have been used in the development of such a document. It is possible that the inclusion of the "species management plan" in the EA would have addressed a number of concerns and subsequent recommendations discussed in this letter had it been submitted for review by TPWD. | 12 | ETI understands the request, however, at the time of the development of the EA, ETI did not have the project details to complete a species management plan. ETI is currently working to develop the species management plan prior to construction. ETI will provide the species management plan to TPWD after it has been completed.
Based upon interagency correspondence regarding the OCAPS project, it appears that the USFWS has not yet been provided an opportunity to offer recommendations. TPWD recommends ETI and ERM consult with the USFWS to garner valuable input related to natural resource conservation. | 12 | Under the federal process, the lead federal agency (USACE for the OCAPS project) is responsible for correspondence with USFWS with regards to protected species. At this time, a USACE permit application has not been submitted, therefore formal consultation has not taken place.
TPWD recommends ETI and the PUC utilize the following summarized BMP, which are more fully described in TPWD's May 29, 2020 letter, when specifically applicable to the project: • Survey for active bird nests and avoid disturbance until fledged • Utilize a biological monitor during construction • Allow wildlife to safely leave the site on their own, without harassment or harm • Use a TPWD-permitted individual to translocate state-listed threatened species that will not readily leave the site on their own • Use wildlife escape ramps in trenches and inspect trenches for trapped wildlife prior to backfilling • Avoid the use of erosion control blankets containing polypropylene fixed intersection mesh • Utilize minimal lighting required for safety and security, including utilization of features such as cutoff luminaries • Implement specific practices to avoid or minimize potential negative impacts to state listed species that have appropriate habitat documented in the project area, such as Rafinesque's big-eared bat (Corynorhinus rafinesquii) and alligator snapping turtle (Macroclemys temminckii) • Coordinate with the USFWS regarding federally listed threatened and endangered species and their habitat that may occur within the project area • Report encounters of threatened, and endangered species and SGCN to the Texas Natural Diversity Database • Prepare an Aquatic Resource Relocation Plan and coordinate with TPWD Kills and Spills Team to obtain a Permit to Introduce Fish , Shellfish or Aquatic Plants into Public Waters if working in inland waters e Search for and avoid disturbance of SGCN species, special features, and natural communities tracked by the TXNDD • Prepare a mitigation plan for any unavoidable loss of native vegetation. | 13 | The Commission should not include this "catch-all," duplicative recommendation in the order in this docket. ETI will address TPWD’s specific recommendations as stated above to the extent applicable and practical to ensure the safe and efficient construction, operation, and maintenance of OCAPS in a manner that is responsible to the surrounding environment.
The TXNDD is updated continuously based on new or updated records; therefore, TPWD recommends requesting the most recent TXNDD data on a regular basis. | 14 | ETI will continue to monitor available data on protected species occurrences.
To aid in the scientific knowledge of a species' status and current range, TPWD encourages reporting encounters of protected and rare species to the TXNDD according to the data submittal instructions found at the TPWD Texas Natural Diversity Database: Submit Data webpage. | 14 | ETI will continue to monitor available data on protected species occurrences. In the event that protected species are observed onsite, ETI will notify the TPWD and/or USFWS as applicable.