## Exhibit ABW-2
Overview of ETI's Current Generation Portfolio
Generating Assets Owned or Controlled by ETI in 2021
| Plant | Unit | Megawatt Capability* | Technology Type | Fuel | COD Month/Year | Region | Age of Unit in 2021**
| Big Cajun 2 | 3 | 102.7803 | Coal | Coal | 1983-01-01 | Central | 38
| Hardin | 1 & 2 | 146 | CT | Gas | 2010-01-01 | WOTAB | 11
| HEB Backup Generator |  | 1.2264 | Other Gas | Gas | 2019-10-23 | Western | 2
| Lewis Creek | 1 | 249 | Other Gas | Gas | 1970-12-01 | Western | 51
| Lewis Creek | 2 | 254 | Other Gas | Gas | 1971-05-01 | Western | 50
| Montgomery County Power Station |  | 853.3135 | CCCT | Gas | 2021-01-01 | Western | 0
| Perryville | 1 | 168.384 | CCCT | Gas | 2002-07-01 | Central | 19
| Perryville | 2 | 48.544 | CT | Gas | 2001-07-01 | Central | 20
| River Bend | 1 | 287.6825 | Nuclear | Nuclear | 1986-01-01 | Central | 35
| Roy Nelson | 6 | 156.0685 | Coal | Coal | 1982-05-01 | WOTAB | 39
| Sabine | 1 | 211.6 | Other Gas | Gas | 1962-03-01 | WOTAB | 59
| Sabine | 3 | 359 | Other Gas | Gas | 1966-12-01 | WOTAB | 55
| Sabine | 4 | 512.5 | Other Gas | Gas | 1974-08-01 | WOTAB | 47
| Sabine | 5 | 447.4 | Other Gas | Gas | 1979-12-01 | WOTAB | 42
| Total Owned + Affiliated PPAs |  | 3797.4992
| Unaffiliated PPAs |  | 438.7
| Total Capacity |  | 4236.1992
*Megawatt capability based on Installed Capacity (“ICAP”)
** Prior to 2010, Hardin combustion turbines and generators were located at the Warren Power site in Vicksburg, Mississippi.