DOCKET NO. 52487

| APPLICATION OF ENTERGY TEXAS, INC. TO AMEND ITS CERTIFICATE OF CONVENIENCE AND NECESSITY TO CONSTRUCT ORANGE COUNTY ADVANCED POWER STATION | § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

commission STAFF’S PROPOSED LIST OF ISSUES

On September 16, 2021, Entergy Texas, Inc. (ETI) filed an application to amend its certificate of convenience and necessity (CCN) to construct, own, and operate the Orange County Advanced Power Station (OCAPS), a new combined-cycle combustion turbine facility in Bridge City, Texas.

On November 9, 2021, the Commission Counsel filed an Order requesting lists of issues.  The Order required ETI and allowed interested parties to file a list of issues to be addressed in this proceeding, along with identifying any issues that should not be addressed in the docket, and any threshold legal and/or policy issues which should be briefed for purposes of a preliminary order by November 19, 2021.  Therefore, this pleading is timely filed.

- LIST OF ISSUES

The Staff (Staff) of the Public Utility Commission of Texas (Commission) recommends that the Commission adopt the following list of issues to be addressed in this docket:

- Is this amendment of ETI’s certificate of convenience and necessity (CCN) necessary for the service, accommodation, convenience, or safety of the public? In answering this issue, the following factors must be considered:

  - The adequacy of existing service;

  - The need for additional service;

  - The effect of granting the CCN on ETI and any electric utility serving the proximate area;

  - Other factors such as:

    - Community values;

    - Recreational and park areas;

    - Historical and aesthetic values;

    - Environmental integrity;

    - The probable improvements of service or lowering of cost to consumers in the area if the certificate is granted; and

    - To the extent applicable, the effect of granting the certificate on the ability of this state to meet PURA's goals of adding renewable energy resources established by PURA 39.904(a).

- Did the Texas Parks and Wildlife Department provide any recommendations or informational comments regarding this application in accordance with Section 12.0011(b) of the Texas Parks and Wildlife Code?

  - What modifications, if any, should be made to the proposed project as a result of any recommendations or comments?

  - What conditions or limitations, if any, should be included in the final order in this docket as a result of any recommendations or comments?

  - What other disposition, if any, should be made of any recommendations or comments?

    - If any recommendations or comment should not be incorporated in this project or the final order, or should not be acted upon, or is otherwise inappropriate or incorrect in light of the specific facts and circumstances presented by this application or the law applicable to contested cases, please explain why that is the case.

- Describe how hydrogen works as a fuel source.

- What are the benefits of using hydrogen as a fuel source?

- How does ETI plan to procure or produce and supply hydrogen fuel in its plant?

- Can the hydrogen supply be considered as a renewable source of energy today?

- Describe ETI’s plans to store hydrogen gas and the cost and technology associated with it and provide a comparison to natural gas storage.

- Describe how ETI plan to build the pipelines for hydrogen gas and the cost and technology associated with it and provide a comparison to natural gas pipeline.

- Does Commission have authority to approve building pipelines?

- Provide the cost analysis of building a plant and all associated items, e.g., pipeline, storage, dual fuel delivery and processing, etc. with and without hydrogen gas.

- Explain how the current hydrogen supply chain and availability is independent on the natural gas supply chain and availability for OCAPS. Please explain how OCAPS could operate at the time of commissioning on hydrogen gas without natural gas being used to make the hydrogen gas.

- Explain how ETI plans to use best efforts to implement weather emergency preparation measures intended to ensure the sustained operation of all cold weather critical components during winter weather conditions.

- ISSUES NOT TO BE ADDRESSED

Staff has not identified any issues that should not be addressed in this docket.

- THRESHOLD LEGAL/POLICY ISSUES

Staff has not identified any legal or policy issues that should be briefed for the purposes of a preliminary order.

Dated: November 19, 2021

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Rachelle Nicolette Robles

Division Director

/s/Mildred Anaele______________

Mildred Anaele

State Bar No. 24100119

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7245

(512) 936-7268 (facsimile)

Mildred.Anaele@puc.texas.gov

DOCKET NO. 52487

CERTIFICATE OF SERVICE

I certify that, unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record on November 19, 2021 in accordance with the Order Suspending Rules, issued in Project No. 50664.

/s/Mildred Anaele________________

Mildred Anaele