TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	January 12, 2022

RE:	Docket No. 52494 – Application of R&N Enterprises and Monarch Utilities I L.P. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Cooke County

1.	Application

Monarch Utilities I L.P. (Monarch Utilities) and the R&N Enterprises (R&N) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Cooke County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Monarch Utilities, certificate of convenience and necessity (CCN) No. 12983, seeks approval to acquire facilities and to transfer all of the water service area from R&N under water certificate of convenience and necessity (CCN) No. 11644.

Pleasant Ridge Addition:

The requested area includes 68 current customers and approximately 476 acres, comprised of transferred area from Karen Reeves dba R & N Enterprises (CCN No. 11644).

Timber Creek Addition:

The requested area includes 41 current customers and approximately 155 acres, comprised of transferred area from Karen Reeves dba R & N Enterprises (CCN No. 11644).

The application proposes the total requested area includes 109 current customers and approximately 631 acres, comprised of transferred area from Karen Reeves dba R & N Enterprises (CCN No. 11644) to Monarch Utilities I LP (CCN No. 12983).

The application indicates that the total acreage being requested is approximately 474.3 for the Pleasant Ridge Addition and approximately 156.4 acres for the Timber Creek Addition.  Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the requested area is approximately 476 acres for the Pleasant Ridge Addition and approximately 155 acres for the Timber Creek Addition.

2.	Notice

Monarch provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was December 6, 2021; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

R&N Enterprises has several Texas Commission on Environmental Quality (TCEQ) approved public water system(s) (PWS) registered as Timber Creek Addition, PWS ID No. 0490030, and Pleasant Ridge Addition, PWS ID No. 0490041.  The last TCEQ compliance investigation of the R&N Enterprises system was on May 22, 2019.  Several violations or concerns were noted as a result of that investigation and have since been resolved.  In addition, the Commission’s complaint records, which date back to 2017, show 17 complaints against R&N Enterprises.

No additional construction is necessary for the Monarch Utilities to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 109 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Monarch Utilities will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Monarch Utilities has the ability to provide adequate service in the requested area.  Monarch Utilities has several Texas Commission on Environmental Quality (TCEQ) approved public water systems.  The Commission’s complaint records, which date back to 2014, show no complaints against.  No additional construction is necessary for Monarch Utiilties to serve the requested area.

SouthWest, the parent company of Monarch, has the necessary financial, managerial, and technical resources to continue providing quality services to the systems and customers to be transferred. SouthWest, through its subsidiaries, has been successfully operating in Texas for over 50 years. Besides Monarch Utilities I LP (a Class A utility), SouthWest's subsidiaries in Texas also include SWWC Utilities, Inc. and Midway Water Utilities, Inc. In addition to experienced, licensed operators, SouthWest's management and operations staff includes engineers, environmental health and safety managers, financial managers, and experienced customer service agents.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Monarch Utilities to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Monarch Utilities is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

Monarch Utilities will continue to provide water and sewer service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and all of the water service area of the water CCN No. 11644  to Monarch Utilities and amending water CCN No. 12983 of Monarch Utilities is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are deposits held by R&N Enterprises for the customers being served by Timber Creek and Pleasant Ridge. I further recommend that a public hearing is not necessary.