TO:		Jenna Keller, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		November 8, 2021

RE:	Docket No. 52502 - Application of Texas Water Systems, Inc. and Undine Development, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Gregg, Henderson, Smith, and Upshur Counties

On September 2, 2021, Undine Development, LLC (Undine) and Texas Water Systems, Inc. (TWS) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Gregg, Henderson, Smith, and Upshur Counties, pursuant to Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.239.

Specifically, Undine, water certificate of convenience and necessity (CCN) No. 12407, seeks approval to acquire facilities and to transfer a portion of the water service area from TWS under water CCN No. 12473.  Additionally, Undine is seeking a CCN amendment to add uncertificated service area and decertify area.  In the area to be added, it appears that Undine is seeking dual certification with two utilities in addition to obtaining uncertificated area.  Staff will be requesting clarification on this below.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the additional information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

The following deficiencies must be remedied.  Please provide:

- Responses to Question Nos. 24-27 for the following public water systems (PWS):

| PWS Name | PWS ID: |
| --- | --- |
| Cape Tranquility System | 1070176 |
| Country Club Estates | 2300021 |
| Friendship Water System | 2300020 |
| Garden Acres System | 0920031 |
| Garden Valley Resort | 2120081 |
| Mount Sylvan Water System | 2120034 |
| Rosewood Water System | 2300026 |
| Stallion Lake Ranch | 2120104 |

- Proof that the Texas Commission on Environmental Quality (TCEQ) violations have been resolved or that TWS is working towards resolution of the violations for the following public water systems:

| PWS Name | PWS ID: |
| --- | --- |
| Brookshires Camp Joy Water System | 2300015 |
| Country Club Estates | 2300021 |
| Rosewood Water System | 2300026 |
| Stallion Lake Ranch | 2120104 |

- Any approval letters from the TCEQ for plans for facilities needed to provide service to the areas that are proposed to be added to Undine’s CCN area.

Mapping Content:

The mapping documentation submitted on September 2 and 27, 2021 is deficient. Please clarify if the intent of the application is to transfer portions of TWS’s, CCN No. 12473, to be amended to Undine, CCN No. 12407.  In addition, clarify if Undine is also seeking to amend its CCN No. 12407 by obtaining dual certification with portions of Pritchett Water Supply Corporation, CCN No. 10478, and Crystal Systems Texas, CCN No. 10804.

In addition, the requested area appears to overlap with the corporate boundaries of the City of Gilmer.  Undine may either remove the overlap with Gilmer’s corporate boundaries by filing revised mapping as requested below, or provide written consent allowing Undine to provide retail water service within Gilmer’s corporate boundaries.

Undine may need to submit the following items to resolve the mapping deficiencies:

- Revised general location maps identifying only the requested areas, in reference to the nearest county boundary, city, or town.

- Revised detailed maps identifying only the requested areas, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested areas, provided as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

- If seeking dual certification with Crystal Systems Texas, CCN No. 10804, then submit a revised need for service map identifying the requested area and dual certification with CCN No. 10804.

Staff recommends that the Applicants obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes, by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Additional Information:

Undine is proposing to amend uncertificated area to its CCN.  Staff will require additional information to determine whether there is a need for service in the requested area.  In order to show that there is a need for service, Staff requests that the Applicants also provide the following:

- A copy of executed developer agreements to serve the requested area, along with the date development is expected to begin.

- Detailed maps identifying the location of each of the following items and the acreage, current customer count, and potential customer count for items a and b:

  - Boundary of existing water CCN;

  - Boundary of the requested areas in the current docket;

  - Potential customers requesting service within the requested areas; and

  - Existing customers within the requested area.

- Detailed maps identifying the location of the following items within the boundaries of the existing CCN and requested areas:

  - Existing water facilities for production, transmission, distribution, collection, and treatment; and

  - Proposed water facilities for production, distribution, collection, and treatment.

Note: Facilities should be identified on subdivision plats, engineering planning maps, or detailed maps. Please use color coding to distinguish different types of facilities and boundaries.

- A copy of each map that the Applicant uses to respond to item numbers 4, 5, 7, 9, and 10 in an Adobe PDF file format.  Electronically file a copy of each map and the digital mapping data responding to item number 6 to the Commission Interchange Filer and email to CentralRecords@puc.texas.gov.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by the Applicants and to draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).