TO:		Andrew Aus, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		June 2, 2022

RE:	Docket No. 52533 – Petition of E Real Estate, LLC to Amend Marilee Special Utility District’s Certificate of Convenience and Necessity in Collin County by Expedited Release (Tract 2)

On September 8, 2021, E Real Estate, LLC (E Real Estate) filed a petition for streamlined expedited release from Marilee Special Utility District's (Marilee SUD) water certificate of convenience and necessity (CCN) No. 10150 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). E Real Estate asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Collin County, which is a qualifying county.

E Real Estate submitted a sworn affidavit attesting that the tract of land was not receiving water service from Marilee SUD and a warranty deed confirming ownership of the landowner’s total property.  E Real Estate included a statement indicating a copy of the petition was sent via certified mail to Marilee SUD on the date the petition was filed with the Commission.

Based on the mapping review by Tracy Montes, Infrastructure Division, the maps and digital data submitted with Item 20 on April 20, 2022 are sufficient. The petitioner’s response submitted with Item 16 on April 4, 2022 indicates that County Road (CR) 101 divides the landowner’s total property. Staff confirms the landowner’s total property is 530.295 acres that is divided into two non-contiguous tracts of land, each of which meet the 25 acre-requirement. The tract located on the west of CR 101 includes 316.322 acres and is not included in the petitioner’s request for streamlined expedited release.  The tract located on the east of CR 101 includes 213.973 acres and is included in the petitioner’s request for streamlined expedited release. The petitioner is only seeking the release of 154.08 acres, a portion of the tract of land, of which approximately 154 acres overlap Marilee SUD (CCN No. 10150) and would be decertified from CCN No. 10150.

Based on my technical and managerial review and the mapping review by Tracy Montes of the information provided by E Real Estate on April 20, 2022, I recommend the petition be deemed administratively complete and accepted for filing.