TO:		Merritt Lander, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		March 30, 2022

RE:	Docket No. 52536 – Petition of E Real Estate, LLC to Amend Marilee Special Utility District’s Certificate of Convenience and Necessity in Collin County by Expedited Release (Mesquaokee Ranch)

On September 8, 2021, E Real Estate, LLC (E Real Estate) filed a petition for streamlined expedited release from Marilee Special Utility District’s (Marilee SUD) water Certificate of Convenience and Necessity (CCN) No. 10150 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). E Real Estate asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Collin County, which is a qualifying county.

E Real Estate provided a warranty deed confirming ownership of the tract of land within Marilee SUD’s certificated service area.  In addition, E Real Estate submitted a sworn affidavit attesting that the tract of land was not receiving water service from the CCN holder. Marilee SUD requested to intervene.

Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the landowner’s total property is approximately 156.7 acres. The tract of land in the petition for streamlined expedited release is approximately 156.4 acres, of which approximately 156.4 acres overlap Marilee SUD (CCN No. 10150) and would be decertified from CCN No. 10150.

Marilee SUD provided documentation showing that there are two water lines along the outer edges of the property owned by E Real Estate.  Additionally, there are two inactive meters located inside the tract of land being requested for release.  The water lines and inactive meters do not provide service to the tract of land being requested for release.

In accordance with TWC § 13.2541 and 16 TAC § 24.245(h), E Real Estate has met the Commission’s requirements to allow for the release of the tract of land from Marilee SUD’s CCN No. 10150. Therefore, I recommend approval of the petition.  Enclosed is a final map and certificate for Commission approval.

Additionally, I recommend that a final map and certificate be provided to the CCN holder.