TO:		Jenna Keller, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		October 11, 2021

RE:	Docket No. 52551 – Joint Petition of Blackland Water Supply Corporation and the City of Rockwall for Approval of Service-Area Contract Under Texas Water Code § 13.248 and to Amend Certificate of Convenience and Necessity Under Texas Water Code § 13.254(a) in Rockwall County

On September 10, 2021, Blackland Water Supply Corporation (Blackland WSC) and the City of Rockwall (Rockwall) (collectively, Petitioners) filed a petition for approval of a service area contract under Texas Water Code (TWC) § 13.248 and to amend Blackland WSC’s water certificate of convenience and necessity (CCN) No. 11305 under TWC § 13.254(a) in Rockwall County, Texas.

The Petitioners filed several agreements requesting that Rockwall be permitted to continue to provide retail water utility service to customer connections that are located within Rockwall’s city limits.  Rockwall does not have a CCN and is not required to have one.

Specifically, Blackland WSC and Rockwall entered into contractual agreements that permit Rockwall to provide water services within the agreed upon service areas that are located in the portions of Blackland WSC’s CCN that overlap with Rockwall’s city limits. The petition was submitted in order to remove the requested areas from Blackland WSC’s CCN area.

Based on the mapping review by Gary Horton, Infrastructure Division and my technical review of the additional information filed by the Petitioners on September 14, 2021, I recommend that the petition be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Petition Content:

The petition appears to be requesting approval of decertification of Blackland WSC’s CCN under TWC §§ 13.248, 13.254(a), and 13.255.  Staff recommends that the most appropriate way to process this petition is under TWC §§ 13.255 and 13.254(a). Because they do not involve the transfer of customers or facilities, the agreement between Blackland WSC and a developer (Exhibit D-1) and the mediated settlement agreement resulting from TCEQ Docket No. 2004-1736-UCR. (Exhibit B-3) can be processed as CCN amendments to decertify service area under TWC § 13.254(a). The remaining agreements can be processed under TWC § 13.255.

For the agreements that will be processed under TWC § 13.255, Petitioners must submit evidence, such as city ordinances, demonstrating that the areas subject to these agreements were annexed by Rockwall.

Mapping Content:

The maps submitted on September 10, 2021 are deficient. A portion of the requested area that is identified as Phase VI-C, is actually certificated to R C H Water Supply Corporation (E C H) under CCN No. 10087. This area must be removed from the requested area or Petitioners must submit written documentation from R C H consenting the decertification of his area.

In addition, Blackland WSC’s facilities line plus 200 feet CCN overlaps with the requested area in two places, but the agreements do not appear to specifically address the decertification of  this CCN area. Further, Staff requests clarification about whether Blackland WSC intends to decertify the remaining facilities line plus 200 feet CCN.

Petitioners must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet); OR metes and bounds survey sealed or embossed by either a licensed state surveyor or a registered professional land surveyor.

Staff recommends that the digital mapping data clearly indicate which polygons correspond to each agreement. While the original data includes some notations, it is not entirely clear which areas are addressed in each agreement.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by the Petitioners and draft a recommendation.