TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		October 22, 2021

RE:	Docket No. 52632 – Application of Town of Lakeside and City of Forth Worth for Sale, Transfer, or Merger of Facilities and Certificate Rights in Tarrant County

City of Fort Worth (Fort Worth) and the Town of Lakeside (Lakeside) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Tarrant County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Fort Worth, certificate of convenience and necessity (CCN) No. 12311, seeks approval to acquire facilities and to transfer a portion of the water service area from Lakeside under water certificate of convenience and necessity (CCN) No. 10073.

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review of the information filed by Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

The following deficiencies must be remedied:

- Dual Certification with Lakeside

The Fort Worth is currently dually certified with the Lakeside for a portion of the requested STM area. Therefore, Fort Worth cannot request that portion of its requested STM area as part of its application.

Applicants must either:

- File an amended STM application requesting decertification by Lakeside (CCN No. 10073) for the portion of the requested STM area where it is dually certificated with Fort Worth. This amended STM application must be accompanied by an agreement for decertification; or

- File an amended STM application that does not request the area that is dually certificated to Lakeside and Fort Worth.

Mapping Content:

Maps submitted with Item 3 on 9/30/2021 are deficient.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).