TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		June 28, 2022

RE:	Docket No. 52646 – Petition of the City of New Boston and Central Bowie County Water Supply Corporation for Approval of Service Area Contract Under Texas Water Code §§ 13.248 and 13.255 and to Amend Certificate of Convenience and Necessity in Bowie County

On September 27, 2021, City of New Boston (New Boston) and Central Bowie County Water Supply Corporation (Central Bowie County WSC) (collectively, Petitioners) filed a petition for approval of a service area contract under Texas Water Code (TWC) § 13.248 and to amend New Boston’s water Certificate of Convenience and Necessity (CCN) No. 10525 and Central Bowie County WSC’s water CCN No. 13164 in Bowie County, Texas. The Petitioners’ TWC § 13.248 service area contract is being reviewed in accordance with 16 Texas Administrative Code (TAC) § 24.253.

Specifically, New Boston and Central Bowie County WSC entered into a contractual agreement which permits each utility to provide water services within the agreed upon water certificated service area.  The Petitioners will not transfer assets or facilities under the terms of the agreement.

Based on the mapping review by Tracy Montes, Infrastructure Division, the maps submitted with Item 13 on February 17, 2022, and the clarification provided with Item 19 on May 6, 2022, are sufficient.

- The requested area for New Boston (CCN No. 13164) includes 0 customer connections and approximately 2,294 total acres, comprised of:

  - 2,288 acres of transferred area from Central Bowie County WSC (CCN No. 10525) includes [RA 1A, 1B, 3, 7 as referenced on maps filed February 17, 2022]

  - 6 acres of dual certificated area with CCN No. 10525, includes [RA 4 as referenced on maps filed February 17, 2022]

- The requested area for Central Bowie County WSC (CCN No. 10525) includes 0 customer connections and approximately 769 total acres, comprised of:

  - 56 acres of transferred area from New Boston (CCN No. 13164), includes [RA 2 and 6 as referenced on maps filed February 17, 2022]

  - 713 acres of dual certificated area with CCN No. 13164, includes [RA 5 and 8 as referenced on maps filed February 17, 2022]

- The petition proposes the subtraction of approximately 2,288 acres from Central Bowie County WSC (CCN No. 10525) and the addition of approximately 2,288 acres to New Boston (CCN No. 13164).

- The petition proposes the subtraction of approximately 56 acres from New Boston (CCN No. 13164) and the addition of approximately 56 acres to Central Bowie County WSC (CCN No. 10525).

- 719 acres will be dually certificated between Central Bowie County WSC (CCN No. 10525) and New Boston (CCN No. 13164).

On September 27, 2021, the Petitioners submitted documentation to satisfy the notice requirements under 16 TAC § 24.253(c). Specifically, New Boston and Central Bowie County WSC submitted copies of their meeting minutes approving the agreement and agendas that were posted prior to each of their meetings. Both Petitioners also provided affidavits attesting to the dates meeting notice was posted and the dates that the respective meetings approving the agreement transpired.

Based on mapping review and my technical and managerial review of the additional information filed by the Petitioners on December 3, 2021, February 17, 2022, and May 6, 2022, I recommend that the petition be deemed administratively complete.