TO:		Jenna Keller, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		October 29, 2021

RE:	Docket No. 52661 – Application of Tri-County Point Property Owners Association and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Jackson County

CSWR-Texas Utility Operating Company, LLC (CSWR) and Tri-County Point Property Owners Association (Tri-County) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Jackson County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR, water certificate of convenience and necessity (CCN) No. 13290 and sewer CCN No. 21120, seeks approval to acquire facilities and to transfer all of the water and sewer service area from Tri-County under water CCN No. 11786 and sewer CCN No. 20616.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Mapping Content:

The maps submitted on September 30, 2021 are deficient. Please e-file each individual PDF map identifying the requested water and requested sewer areas to be transferred. CSWR did not include a detailed map clearly indicating it is seeking to transfer the facility line CCN plus 200 feet held under CCN No. 11786.

The Applicants must submit the following items to resolve the mapping deficiencies:

- Revised detailed general location maps identifying only the requested water and sewer areas, in reference to the nearest county boundary, city, or town.

- Revised detailed maps identifying only the requested water and sewer areas, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Provide descriptions of location information, acreage, and customer connections information as requested in No. 30 of the application for each portion of the requested water and sewer areas according to each subdivision name and Public Water System ID Number.

Staff recommends that the Applicants obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes, by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by the Applicants and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).