TO:		Chairman Peter Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

FROM:		R. Floyd Walker, Market Analysis Division

Therese Harris, Infrastructure Division

DATE:		June 1, 2022

RE:	Docket No. 52689 - Expedited Petition of CenterPoint Energy Houston Electric, LLC for Approval of Interim Load Management Programs for Nonresidential Customers and for an Accounting Order (Jan. 12, 2022)

This memorandum summarizes Commission Staff’s findings regarding the interim load management programs authorized in Docket No. 52689.

# Background

On October 8, 2021, AEP Texas Inc. (AEP), CenterPoint Energy Houston, LLC (CenterPoint) and Texas-New Mexico Power Company (TNMP) filed an expedited petition (Petition) to approve their respective interim load management programs for the period from December 1, 2021 through February 28, 2022 (Program Period). On October 15, 2021, Oncor Electric Delivery Company LLC (Oncor) filed comments concerning the Petition, but did not seek to intervene in this proceeding.

On November 9, 2021, AEP, CenterPoint and TNMP filed a settlement agreement. On December 1, 2021, AEP, CenterPoint, and TNMP filed a revised settlement agreement.

On January 12, 2022, the Commission issued a final order approving the Petitioners’ respective interim load management programs and further directed AEP, CenterPoint, TNMP, and Oncor (Participating Utilities) to confer and coordinate with Commission Staff concerning their interim load management programs. Attached to this memorandum are submissions from each of the Participating Utilities concerning their respective interim load management programs.

# Summary

The chart below provides a high-level summary of some of the features of each Participating Utilities’ interim load management plan.

| Party | Budget | Incentive ($ / kW) | Procurement Goal |
| --- | --- | --- | --- |
| AEP | $350,000 | $35 | 10 MW |
| CenterPoint | $4,500,000 | $30 | 100 MW |
| Oncor | $2,000,000 | $40 | 50 MW |
| TNMP | $60,000 | $40 | 1.5 MW |

The following chart compares the projected budget and procurement of load management resources with the actual cost and procurement of resources.

| Party | Budget | Actual | Procurement (Goal) | Procurement (Actual) | Start Date |
| --- | --- | --- | --- | --- | --- |
| AEP | $350,000 | $97,905 | 10 MW | 2.797 MW | Jan. 24, 2022 |
| CenterPoint | $4,500,000 | $2,984,948 | 100 MW | 102.24 MW | Jan. 12, 2022 |
| Oncor | $2,000,000 | $1,388,879 | 50 MW | 35 MW | Dec. 1, 2022 |
| TNMP | $60,000 | $42,180 | 1.5 MW | 1.054 MW | Jan. 1, 2022 |

# Program Testing

ERCOT did not declare an Energy Emergency Alert Level 2 condition during the Program Period, which would have triggered the activation of these interim load programs. However, each participant performed at least one test during the program period as identified in the chart below.

| Party | Test #1 | Test #2 |
| --- | --- | --- |
| AEP | January 24, 2022 (10:08 – 11:08) [partial 67%] | February 15, 2022 (10:04 – 11:04) [partial 33%] |
| CenterPoint | February 10, 2022 (8:30 – 11:30) | February 24, 2022 (18:00 – 21:00) |
| Oncor | December 15, 2021 (7:00 – 10:00) | N/A |
| TNMP | January 5, 2022 (10:00 – 14:00) [partial 50%] | January 5, 2022 (16:00 – 20:00) [partial 50%] |

# Comparison with ERS

Because the respective programs provided different incentives and had different program participation dates, it is helpful to compare these costs in terms of dollars per MW per hour of obligation. Based on the information provided by the Participating Utilities, the program costs ranged from $18.58 to $41.67 per MW per hour of obligation, as shown in the table below. The weighted average cost for all programs was $24.20 per MW per hour of obligation. For sake of comparison, an equivalent value of $9.65 per MW per hour of obligation has been provided for the ERCOT-administered Emergency Response Service (ERS) program. Commission Staff notes that the actual program costs were higher than they would have been if all programs had started on December 1, 2021, as requested by AEP, CenterPoint, and TNMP, because the program incentives were not pro-rated based on a shorter period of obligation. The second column illustrates the cost per MW per hour of obligation had the program begun on December 1, 2021 as originally anticipated by the Participating Utilities assuming that procurement would not have been affected by a longer program period.

| Party | $ per MW per hour of obligation (actual program term) | $ per MW per hour of obligation (12/01/2021 – 02/28/2022) |
| --- | --- | --- |
| AEP | $41.67 | $16.39 |
| CenterPoint | $25.88 | $13.67 |
| Oncor | $18.58 | $18.58 |
| TNMP | $28.75 | $18.74 |
| ERS | $9.65 | $9.65 |

# Recommendation

The cost benefit and design of these programs needs to be evaluated in the scope of other load programs available to ERCOT. If these programs continue, Commission Staff recommends that the Participating Utilities coordinate with ERCOT to address the lessons learned from their interim programs to improve the cost benefit and program design.

The settlement agreement was also signed by the Alliance for Retail Markets and Commission Staff.

Even though Oncor did not join the Petition or intervene in this proceeding, it was included in the final order.

CenterPoint expressed its goal as between 100 MW and 150 MW.

The programs were all scheduled to begin on December 1, 2021 but had different actual start dates. All programs ended on February 28, 2022.

This value was provided in ERCOT’s Response to Commissioner Request for Information Concerning Utility Load Management Program Proposals, filed in this docket on November 29, 2021.

Actual start dates shown above on page 2.

ERS costs include an additional $5M beyond the amount originally budgeted for ERS from December 2021 to March 2022, as directed by the Commissioners. See Work Session at 2:00:24 (Nov. 4, 2021) (available at https://texasadmin.com/tx/puct/work_session/20211104#t=7200). Although ERS runs through March 31, 2022, the Cost per MW per hour is not expected to be materially different from a similar program ending February 28, 2022. Final ERS cost figures for the December 2021 to March 2022 Standard Contract Term will not be available until mid-June.